## Summary
Risk |  | Category | Status | Occurrence | Indicative potential energy at risk (GWh) | [5 empty] | PARR Report? | Activity
Risk number | Risk Title |  |  | Likelihood | Minimum | More Likely (Average or midpoint) | Maximum | % total energy | Settlement Impact type | Potential Impact Rating |  | Relevant activity / mitigation
1 | Theft of Gas (undetected) | Theft of Gas | Live | Certain | 3000 | 6773 | 10982 | 1.158% | Unattributed | 3 | No | PAFA to REC discussions
1a) | Confirmed theft into settlements | Theft of Gas | Live | Certain | 26 | 86 | 199 | 0.01259% | Unattributed | 2 | No | Mod 734S in development
1b) | Theft AQ Corrections | Theft of Gas | Live | Certain | 87 | 127 | 213 | 0.02797% | Allocation | 3 | Yes | No Activity
16 | >732,000 Incorrect Correction Factors | Data / volume | Live | Certain | 36 | 47 | 114 | 0.006095% | Reconciliation | 2 | Yes | MOD 681S
18 | <732,000 Non-Standard Correction Factors | Data / volume | Live | Certain | 3 | 8 | 12 | 0.001676% | Reconciliation | 1 | Yes | MOD 681S
22 | Meter By-pass | Unattributed | Live | Certain | 154 | 206 | 760 | 0.03367% | Unattributed | 3 | No | CDSP shipper exercise
4, 7 | LDZ Offtake | Unattributed | Live | Certain | 9.195 | 36 | 174.705 | 0.008846% | Unattributed | 2 | No | Offtake Regime - Annual report
2 | Use of the AQ Correction Process | Data / volume | Live | Certain | 117.8466 | 176.7699 | 235.6932 | 0.03401% | Allocation | 3 | Yes | PARR Monitoring
5 | Incorrect or missing meter asset data | Meter Read | Live | Certain | 47 | 78 | 127 | 0.008674% | Allocation | 2 | Partial | Partial PARR Monitoring
6 | Site specific winter annual ratio | Meter Read | Live | Certain | 458 | 480 | 503 | 0.1364% | Allocation | 4 | Yes | PARR Monitoring
11 | Derived meter read drift | Meter Read | Live | Certain | 41 | 45 | 51 | 0.01824% | Allocation | 2 | Yes | PARR Monitoring
13 | Transfer Reads | Meter Read | Live | Certain | 20 | 29 | 47 | 0.006223% | Allocation | 2 | Yes | PARR Monitoring
3 | PC1 and PC2 reads | Meter Read | Live | Certain | 1154 | 1793 | 3051 | 0.2156% | Allocation | 5 | Yes | Performance improvement plans
12 | PC3 and PC4 reads difference | Meter Read | Live | Certain | 1675 | 2408 | 3251 | 0.195% | Allocation | 5 | Yes | Performance improvement plans
8 | Unregistered supply points | Unattributed | Live | Certain | 103 | 124 | 128 | 0.00453% | Unattributed | 3 | No | BAU CDSP Process
9 | Shipperless supply points | Unattributed | Live | Certain | 24 | 46 | 57 | 0.004393% | Unattributed | 2 | No | BAU CDSP Process
10 | Meter readings fail validation | Meter Read | Live | Certain | 256 | 333 | 406 | 0.03329% | Allocation | 4 | Partial | Partial PARR Monitoring
14 | No meter read line in the sand | Meter Read | Live | Certain | 296 | 541 | 784 | 0.08932% | Reconciliation | 5 | Yes | 2022 Strategy
29 | DM threshold sites in NDM | Meter Read | Live | Certain | 47 | 78 | 127 | 0.01244% | Allocation | 2 | Yes | PARR Monitoring
15 | Retrospective updates | Data / volume | Live | Certain | 1 | 2 | 3 | 0.02291% | Allocation | 1 | Yes | PARR Monitoring
17 | Standard correction factors | Data / volume | Live | Certain | 555 | 3701 | 7865 | 0.2145% | Allocation | 5 | No | Review group now closed
19 | Late smart meter exchanges | General | Live | Certain | 8 | 11 | 17 | 0.001239% | Allocation | 1 | No | None
21 | AMR data provision | Meter Read | Issue | Certain | 64 | 142 | 303 | 0.03635% | Allocation | 3 | No | Additional PARR reporting
20 | Issues with UK link post Nexus | Central Systems | Issue | Certain | TBC | TBC | TBC | TBC |  |  | No | Monitored through DSC Contract
23 | Delay in finalising 'pot 2' reconciliations | Data / volume | Issue | Certain | TBC | TBC | TBC | TBC |  |  | No | None
26 | Removal of correction equipment | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed
28 | COVID-19 - related UNC modifications | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed
24 | Understated AQs on 177,000 meters | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed
25 | Impact on PARR PC3 process change | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed
27 | COVID-19 - impact on PAC operation | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed | Closed
30 | PARR report delivery delays after mod | General | Live | Certain | N/A | N/A | N/A | N/A |  |  | N/A | Improved industry processes

## Market level
Market level AQ totals kWh (May 2022)
| EUC01 | EUC02 | EUC03 | EUC04 | EUC05 | EUC06 | EUC07 | EUC08 | EUC09 | Total
PC1 | 3 | 83900 |  |  | 28266628 | 319717598 | 875268763 | 3802282387 | 62557278232 | 67582897511
PC2 | 96306 | 2224585 | 17530396 | 152146469 | 204722431 | 1112120955 | 2392163316 | 4716424967 | 970904629 | 9568334054
PC3 | 52674654362 | 6566794378 | 6170903504 | 6480004589 | 3650523550 | 2366800608 | 2557863924 | 2085649643 | 322915217 | 82876109775
PC4 | 271858932778 | 20779043854 | 13430564985 | 15348438362 | 11134290426 | 10287502887 | 9415273156 | 8386571423 | 1119660087 | 361760277958
Total | 324533683449 | 27348146717 | 19618998885 | 21980589420 | 15017803035 | 14086142048 | 15240569159 | 18990928420 | 64970758165 | 521787619298
Indicative potential energy at risk - 12 months (GWh)
[7 empty] | Greater Than | Less Than | Risk Impact Rating
[7 empty] | 0 | 25 | 1
[7 empty] | 25 | 100 | 2
[7 empty] | 100 | 250 | 3
[7 empty] | 250 | 500 | 4
[7 empty] | 500 |  | 5

## Issues
ISSUE NO. | PAC Risk no. | ISSUE date | STATUS | ISSUE Title | Current Status
1 | PACR025 | 2019-08-01 | CLOSED | Impact on performance assurance reporting of change to PC3 settlement process for EUC01 | Closed
2 | PACR023 | 2019-03-18 | OPEN | Post New UK Link implementation reconciliations: delay in finalising 'pot 2' reconciliations | Investigating BAU position
3 | PACR020 | 2018-11-20 | OPEN | Issues with UK link post New UK Link implementation | Monitored through DSC Contract Committee
4 | PACR021 | 2019-03-18 | OPEN | AMR data provision: there is a risk that poor meter read services and data provision will distort settlement accuracy | AMR read and AQ performance superior to standard metering
5 | PACR0026 | 2020-09-09 | CLOSED | Removal and/or non-replacement of correction equipment | Closed

## PACR001
Risk number | PACR001 |  |  |  |  | Relevant UNC obligations and/or references
Title | Theft of Gas |  |  |  |  | Section E, TPD – Daily Quantities, Imbalance & Reconciliation 3.5 Gas illegally taken 3.5.1 Where: (a) gas offtaken from the Total System has been illegally taken at or at a point downstream of the point of offtake (in accordance with Section J3.7) at a Supply Point, insofar as the quantity of gas so taken has not been properly metered, and except as permitted by the Meter By-Pass Policy; and (b) the case is not one in which the Transporter is (pursuant to paragraph 9(2) of the Gas Code) entitled to recover the value of the gas, subject to paragraph 3.5.3, a Consumption Adjustment shall be made as is required to ensure that the quantity of gas so taken is treated as offtaken by the Registered User and an Offtake Reconciliation will be carried out. 3.5.2 In a case referred to in paragraph 3.5.1, the Registered User must: (a) notify the CDSP and determine the Estimated Consumption as soon as it becomes aware of gas illegally taken from the Total System; and (b) if requested to justify the Estimated Consumption, provide the CDSP with all relevant Meter Readings and all information in relation to the consumption or Estimated Consumption of gas at the relevant Supply Point Premises during the period of the illegal offtake of gas, as requested by the CDSP. NOTE: UNC TPD Section G 2.3.20 also describes under what circumstances an AQ correction can be actioned to increase the AQ where a confirmed theft of gas has taken place (using reason code 1), but no obligation exists to do so.
Description | The consumption recorded at and by the meter does not record the actual consumption at the premise because of theft of gas at that premise
There is a risk that | Some energy being consumed at a premise is not being recorded due to theft leading to a higher level of unidentified gas in settlements
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Theft of Gas
Risk Status | Monitoring
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy | N/A | N/A | N/A
Related Reporting | No PARR reporting for undetected theft.
Background |  |  |  |  | Recent and upcoming related industry activity
The processes that govern theft detection in the gas industry sit mainly outside the UNC (the UNC section quoted above refers to ensuring that confirmed theft is entered into settlements - however, the link to supply obligations is not dealt with, and mod 734S bridges that gap). Provisions for theft detection are now incorporated in the REC. REC Co have commissioned a report from Cap Gemini to examine energy theft reporting to try and determine the levels of theft from which the levels of cost of a theft strategy might be justified. The TRAS scheme has been suspended pending this report. This means there are limited direct levers that PAC can use to limit undetected theft. Cross-code collaboration with REC will be important. PAFA have established links with the REC PA Manager and also have a seat on the REC PAB and will look to ensure theft detection schemes are promoted and followed. Periodic updates from governance bodies overseeing theft schemes should take place at PAC periodically. |  |  |  |  | UNC 677R- Shipper and Supplier Theft of Gas Reporting Arrangements (Joint Theft Reporting Review Group)
Joint SPAA / UNC working group formed in January 2019 to review theft reporting - concluded with 33 recommendations identified across SPAA, UNC and DSC to improve theft reporting. Follow up actions taken by DNs (update to reporting), IGTs (amendments to IGT UNC for IGTs to submit info to Ofgem on request) and Gazprom (with Electralink support) have raised UNC mod 734S. Key UNC findings: Not all confirmed theft identified in TRAS by suppliers matches up to settlements. AQ Corrections not often following confirmed theft to increase AQs.
Allocation of Unidentified Gas Expert (AUGE) Statements
In recent years, the Allocation of Unidentified Gas Expert (AUGE) has consistently valued undetected theft as the largest factor contributing to unidentified gas, for the purposes of assigning weighting factors. Valuations in recent years have varied between 3 TWh and 7 TWh in a given gas year.
Mod 734S - Reporting Valid Confirmed Theft of Gas into Central Systems
Mod 734S was raised by Gazprom in August 2020 to follow up one of the key UNC findings from UNC 677R - that not all confirmed theft energy was being updated in settlements. This mod is to be implemented on a yet to be determined date as the solution will require system changes. The solution will pass confirmed theft values from the supplier scheme systems into settlements, allowing shippers to object for errors. PAC will get visibility of any objections.
TRAS
Relevant figures and metrics |  |  |  |  | The TRAS arrangements for both gas and electricity are now under REC governance and TRAS is currently suspended. A report havs been commissioned to determine the levels of theft and to assess the value add that TRAS provides, before determining whether the TRAS should be reprocured as is, the model adjusted or the service permamantlysuspended.
Confirmed theft into settlements is reported by the CDSP and published by JO. Typically, something between 100 - 150 GWh is updated in settlements per year.
Recent PAC activity / mitigating actions
Mod 734S
A PARR report for theft will be delivered as part of the mod solution. Modification 0810S - Amendment of Transportation Principal Document Section V 14.1.1 and Annex-V5 to reflect updated Theft of Gas Process has been raised that will adjust the current theft reporting and is currently out to consultation.
REC
PAFA is tracking theft reporting under the REC.
AQ Corrections for theft tracked against cleared cases - where AQs are not corrected, there will be a lag until rolling AQs catch up.

## PACR002
Risk number | PACR002 |  |  |  |  | Relevant UNC obligations and/or references
Title | Use of the AQ Correction Process |  |  |  |  | Section G TPD - 2.3.20 The Registered User may request a change in the Annual Quantity of a Supply Meter Point on the grounds that the most recently calculated Annual Quantity does not reflect the expected (seasonally adjusted where relevant) consumption of gas over the 12 months following the date of the request due to an eligible cause which occurred after the Read Date of the AQ Opening Reading used in the most recent calculation of the Annual Quantity. 2.3.21 For the purpose of paragraph 2.3.20 “eligible cause” means: (a) the confirmed theft of gas (which resulted in the metered consumption in the AQ Metered Period at the Supply Meter Point being less than the actual consumption); (b) the installation, replacement or removal of Consumer's Plant which results in a material change in the basis on which gas is consumed; or (c) the commencement of a new business activity or discontinuance of an existing business activity at the consumer's premises. 2.3.22 A Registered User may also request a change to the Annual Quantity of a Supply Meter Point where the Uniform Network Code Validation Rules prescribe the wider tolerance band referred to in Section M5.3.4(b) by reference to the Annual Quantity of the Supply Meter Point and; (a) the User submits a Meter Reading (“Rejected Meter Reading”) for such Supply Meter Point which fails validation because it falls outside the wider tolerance band, but which all other respects is Valid; and (b) the User is satisfied that the Meter Reading is valid (and would not fail validation if the Annual Quantity were so changed).
Description | The process to correct AQ's is not used correctly or appropriately thereby applying a bias to the AQ corrections which his not reflective of the AQ corrections needed in any shipper's portfolio
There is a risk that | Shippers do not apply AQ corrections in a fair and consistent way thereby introducing a bias, ultimately leading to inaccurate levels of unidentified gas in settlements
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Data Corrections
Risk Status | Monitoring
| Minimum | Most Likely | Maximum | Comment
Estimated AQ /energy
Related Reporting | PARR 2A.8 AQ correction by reason code tracks AQ correction codes 1 - 4 - showing a count of instances by shipper per month. Additional backing information will be available to PAFA through DDP (scale of energy movements) for additional context later in 2021.
Background |  |  |  |  | Recent and upcoming related industry activity
There are 5 reasons that an AQ correction can be made by a shipper. 1) Theft of Gas. This would most likely involve an increase of the AQ following a confirmed theft of gas. Validation takes place by the CDSP to confirm that there is a valid theft of gas confirmed in the query systems. This code is very infrequently raised in recent times, averaging 1 or 2 instances every month. 2) Change in Consumer Plant. The aim of this reason code is to make a change to the AQ following a change in consumer plant infrastructure leading to a change in gas usage. Supporting information is supplied in free text fields, but no validation is applied. 3) Commencement of new business. The aim of this code is for shippers who have recently taken ownership of a site, but noted that the AQ is not reflective of gas usage at the site. This code allows them to more accurately reflect the AQ, but which can only be changed in the first 3 months following taking ownership. Validation takes the form of checking that the submission of the AQ correction is within the 3 month window. 4) Tolerance Change. This allows a shipper to change a (usually) understated AQ to ensure meter reads are not rejected for outer tolerance. Validation is undertaken on the supplied meter readings. 5) Winter consumption. This allows a shipper to update or change the winter consumption value where calculated between applicable reads (or not calculated when reads not available. Validation ensures a winter ratio can be appropriately calculated. This reason code is not currently monitored through the PARR report. Greater risk centres around reason codes 2 and 3 due to the lower level of validation, and potential for inconsistent activity. Reason code 1 is under utilised, the potential impact here is detailed under PACR001, Theft of Gas. |  |  |  |  | Distribution Network Charging Methodology Forum (DNCMF)
At DNCMF on 23 June 2020, Cadent noted that an internal portfolio move of multiple sites by a shipper, had reduced AQs and this had had an impact on the revenue forecast for 2020/21. Liaising with the CDSP, it transpired that there had been bulk AQ correction activity using reason code 3, the spike of which was later visible in the PARR reporting.
Mod 736S - Clarificatory change to the AQ amendment process within TPD G2.3 (XRN 5237 - Maintenance of a User relationship table)
Investigations from the issue noted above, resulted in mod 736S being raised, which looked to clarify the spirit and intent of reason code 3 of the AQ correction reasons. The mod was implemented in January 2021, and introduced clarification on the rules around internal portfolio moves - namely that shippers could not use this reason code if there was more than 25% affiliation between portfolios (the shipper in question had used the AQ correction reason code after moving sites across internal portfolio codes). DCSP change proposal XRN 5237 subsequently implemented a user relationship table to validate the portfolio affiliations.
Mod 746 - Application of Clarificatory change to the AQ amendment process within TPD G2.3 from 1st April 2020
In addition, Mod 746 has also been raised. This looks to build on the now implemented Mod 736S, and apply the clarified legal text retrospectively, back to April 2020. This modification is with Ofgem for decision.
Mod 0783R - Review of AQ Correction Processes
A review group has been raised to look at the effectiveness of AQ correction reasons and validation, and is focusing on reason codes 2 and 3 which have the loosest validation and widest interpretation of intent.
Recent PAC activity / mitigating actions
Regular monitoring
This is monitored by PAC through the PARR 2A.8 report. Spikes and unusual activity are discussed with customers through CDSP CAMs when relevant. The main area of concern seems to be inconsistent interpretation of rules, particularly related to reason codes 2 and 3.
Relevant figures and metrics
Left; Current and Revised AQ corrections June 21 - June 22.
Left axis - Volume (M) right axis AQ (K)

## PACR003
Risk number | PACR003 |  |  |  |  | Relevant UNC obligations and/or references
Title | Use of estimated meter reads |  |  |  |  | Section M TPD - 5.6 Cyclic Reading: Class 1 Supply Meters 5.6.1 For each Class 1 Supply Meter: (a) a Valid Daily Meter Reading shall be obtained every Day (D); (b) the Daily Meter Reading shall be obtained by the Transporter and provided by the Transporter to the CDSP in time to be provided by the CDSP to the Registered User by 11.00 hours on Day D+1 in accordance with paragraph 6. 5.6.2 If a Valid Daily Meter Reading is not obtained by the time required in paragraph 5.6.1(b), an estimated Meter Reading (in accordance with paragraph 5.4) shall be used, subject to paragraph 5.6.3. 5.6.3 Where a Meter Reading has been estimated under paragraph 5.6.2 for a Day for a Class 1 Supply Meter, a Valid Daily Meter Reading obtained no later than the Exit Close-out Date will replace the estimated Meter Reading for the Day. 5.6.4 The further provisions of paragraph 6 apply in relation to Class 1 Supply Meters. 5.7 Cyclic Reading: Class 2 Supply Meters 5.7.1 For each Class 2 Supply Meter: (a) a Valid Daily Meter Reading shall be obtained every Day (D); (b) the Daily Meter Reading shall be submitted to the CDSP no later than the end of Day D+1; 5.7.2 If a Valid Daily Meter Reading is not submitted by the time required in paragraph 5.7.1(a)), an estimated Meter Reading (in accordance with paragraph 5.4) shall be used, subject to paragraph 5.7.3. 5.7.3 Where a Meter Reading has been estimated under paragraph 5.7.2 for a Day for a Class 2 Supply Meter, a Valid Daily Meter Reading may be submitted no later than the Exit Close-out Date and such Daily Meter Reading will replace the estimated Meter Reading for the Day. 5.7.4 Each User shall secure that the requirement in paragraph 5.7.1 is complied with in respect of at least 97.5% of Relevant Class 2 Supply Meters every Day and the CDSP shall notify each User of its performance in such respect.
Description | Use of estimated daily meter reads for daily metered sites in Product class 1 & 2 due to an actual daily reading not being loaded on to UK Link
There is a risk that | The algorithm used to determine the estimated consumption for a DM site does not reflect the actual consumption at that site leading to inaccurate allocation and settlement
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Meter Reads
Risk Status | Monitoring
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting | PARR 2A.1 report details estimated and check reads
Background |  |  |  |  | Recent and upcoming related industry activity
The risk is based on the idea that where energy is still estimated at D+5, that portion of energy may be less accurate - read obligations stipulate D+1 requirements, but actual reads can be updated up until D+5 when allocation closes out. Currently for Class 1, reads are provided by the transporter, they are validated by the CDSP and then sent to the shipper / supplier. For Class 2, shipper/suppliers procure the read and send to CDSP. The implementation of UNC mod 710S / XRN 5218 will see the CDSP take on the provision of the Class 1 read service from the Distribution Networks, currently expected in 2022. |  |  |  |  | UNC Modification 710S – CDSP provision of Class 1 read service
This modification followed on from on 0647 Opening Class 1 reads to Competition and the Workgroup for Request 0694R - CDSP provision of Class 1 Read service. It was approved by UNC panel in October 2020. The mod proposed that the Class 1 read service previously provided by the Distribution Networks, would be provided centrally by the CDSP.
XRN 5218 - CDSP provision of Class 1 read service
This is the CDSP change proposal to complete the re-procurement of the existing Daily Metered Service Providers, and provide the service. In June 2021 the decision was taken by DNOs to honour exisiting contract up to 31 March 2023. New XRN to be raised in due course.
UNC Modification 664VV
UNC mod 664VV was raised in August 2018. This mod has recently changed as of February 2021, this mod will introduce new reporting for class 2 and 3 sites, with a minimum benchmark for read performance where supply points will have to move into Class 4 if they do not meet that level. Progress has been delayed as the issue of shippers who ship for multiple suppliers was raised. This mod will improve the read performance controls around class 2, introducing an indirect incentive to meet minimum standards. UNC Panel approved implementation in July 2021 with a implementation date TBC.
Relevant figures and metrics |  |  |  |  | Recent PAC activity / mitigating actions
PAC focus
PAC perfomance improvement work from 2018 on, specific shippers continue in discussions.

## PACR004
Risk number | PACR004 |  |  |  |  | Relevant UNC obligations and/or references
Title | Identified LDZ Offtake measurement errors |  |  |  |  | TPD Section V – General TPD Section V12.1 (d) and referenced in Offtake Arrangements Document (OAD) Section D3.1.5 The Measurement Error Notifications Guidelines of which is a UNC related document. The OAD sets out rights and obligations between the Transporters in relation to the connections between, and the planning, maintenance and operation of, their respective Systems, and the implementation of certain provisions of the TPD. Offtake Point (OAD Section A 2.1.1) An "Individual Offtake Point" is an Individual System Point which is the point of connection between: (a) the NTS and an LDZ; or (b) two LDZs which are not comprised in the same Distribution Network; comprising a single pipe at which gas can flow from the NTS into the LDZ or (as the case may be) from one of such LDZs to the other. These Offtake points are specified in the relevant Supplement Agreement. Section 3 of the Offtake Arrangements Document under the UNC states:- 3.1.3 Any validation of Measurement Equipment shall be carried out: (i) by the downstream Party; GDN (ii) in accordance with the provisions of … the Validation Procedures; 3.2.1 The downstream Party shall carry out validation: (a) of the Measurement Equipment installed at an Offtake, no less frequently than once every 12 months; 3.4.2 The downstream Party shall provide the Validation Report to the upstream Party: UKT (i) no later than 14 days after the completion of any Routine Validation 3.1.4 The upstream Party UKT shall be entitled, but shall not be obliged, at its own cost to attend and witness any validation carried out by the downstream Party in accordance with this paragraph 3.
Description | The gas measured into the network has been identified as being incorrect
There is a risk that | The gas being measured into the network is incorrect impacting allocation and shrinkage calculations
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Unattributed
Risk Status | Monitoring
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting | Measurement error report https://www.gasgovernance.co.uk/MER. Related risk PACR007
Background |  |  |  |  | Recent and upcoming related industry activity
There are 3 main types of meter, Orifice Plate, Turbine and USM (Ultrasonic). Measurement errors can be attributed to a number of root causes for each meter type, such as incorrect plate insertion for orifice plates, incorrect K factors for USM and turbine, errors can also be generated by incorrect Flow Computer configuration. Measurement errors can be raised through routes such as meter validation results or errors identified by site staff. Errors above 50 GWh are validated by an independent expert (higher amounts by two experts). As well as the meter validation highlighted in the Offtake document, DNs have an annual maintenance schedule with NTS. They also agree an audit approach with Ofgem and DNs also provide Ofgem with reporting on errors which is linked to performance targets. The identified energy errors will be in essence unattributed, contributing to unidentified gas. |  |  |  |  | Significant Error Report
The last 'high' significant error report (greater than 50 GWh) reported was that of Airewas EM ETD in March 2021, All reports are listed on the Measurement Error Register maintained by the Joint Office (https://www.gasgovernance.co.uk/MER). If the error is believed to be greater than 50 GWh, an independent expert reviews, if it is greater than 500 GWh then two experts review.
Cadent programme
Cadent are currently undertaking a proactive replacement programme over 5 years to reduce reactive maintenance.
Recent PAC activity / mitigating actions
In 2017, PAC decided that the offtake measurement error audit process and regime was robust and fit for purpose, and that quarterly updates on progress would provide additional comfort and visibility.
November 2021 - PAC posed three questions to DNs on leasons learnt and the role out of replacement orafice place meters. Link here to mitigations.
DN update
Relevant figures and metrics |  |  |  |  | SGN presented an update at September 2020 PAC on the Offtake Error Measurement regime.
Audit reporting update
The Distribution Networks are currently collaborating on a new potential common format for an annual report for PAC visibility. PAC decided in June 2019 that regular updates may not be required, but have since agreed that an annual audit report would prove beneficial, in addition to updates on any significant errors.
Orifice Plate meter analysis
PAC analysis in May 2021 pointed to Orifice Plate meters being riskier than other types of meter. To be discussed further, in conjunction with discussions with the Offtake Arrangements Workgroup (OAWG).

## PACR005
Risk number | PACR005 |  |  |  |  | Relevant UNC obligations and/or references
Title | Incorrect or missing meter asset data |  |  |  |  | UNC TPD Section M - 2.1 Supply Meter and other equipment 2.1.1 The Registered User shall secure that at each Supply Meter Point (other than a Supply Meter Point which has been Isolated) there is installed, operated and maintained in proper working order, for registering the volume of gas offtaken from the System at the Supply Meter Point, a Supply Meter Installation. 4 METER INFORMATION 4.1 Meter Information: General 4.1.1 For the purposes of facilitating compliance with the Code, the Shipper Licence and the Transporter's Licence, the Registered User and the Transporter shall (and a Proposing User which is a Registered User may) in accordance with paragraph 4.1 each provide timely and accurate Meter Information to the CDSP in accordance with the requirements in the UK Link Manual. 4.1.2 Meter Information which is: (a) C&D Information will be provided to the CDSP by the Registered User, by means of a Meter Information Notification; (b) not C&D Information will be provided to the CDSP, by a Relevant User, by means of a Meter Information Update Notification. 4.1.3 Within 6 Supply Point Systems Business Days from the Day on which the Registered User receives Meter Information in respect of the installation, removal, exchange or repositioning of a Supply Meter Installation the Registered User shall provide the CDSP with such information by means of a Meter Information Notification and/or Meter Information Update Notification as appropriate.
Description | Consumptions are inaccurately derived from the meter billing attributes provided
There is a risk that | The billing attributes of a meter are incorrectly recorded or missing leading to incorrect or no consumption being derived from meter readings, impacting reconciliations and therefore settlement accuracy
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Meter Reads
Risk Status | Monitoring
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting | PARR reports - 2A.2 No meter recorded, 2A.3 No meter recorded and data flows received. 2A.9 Correction Factors
Background |  |  |  |  | Recent and upcoming related industry activity
Incorrect or missing meter asset data can impact settlements in two ways, firstly by preventing meter reads being loaded into central systems. Secondly, where billing applicable attributes are incorrect, settlement energy calculations can be inaccurate. PAC currently monitors where no meter is recorded on central systems, where no meter is recorded but data flow activity is detected, and also related meter point attribute incorrect correction factors. Shippers currently receive other attributes in the CDSP shipper pack. The CDSP has recently undertook a retrospective adjustments proof of concept exercise. |  |  |  |  | Faster switching
REC v3 and the Faster Switching arrangements go live in July 2022. Domestic customers should be able to switch by midnight the next working day, with non-domestic switches taking slightly longer. It is expected that switches will be more reliable as well as faster, potentially giving more confidence to the market.
Recent PAC activity / mitigating actions
Monitoring
The relevant PARR reports are monitored monthly, instances have reduced.
Relevant metrics and figures

## PACR006
Risk number | PACR006 |  |  |  |  | Relevant UNC obligations and/or references
Title | Site specific winter annual ratio |  |  |  |  | UNC TPD Section M 5.9.16 In respect of a Supply Point with an Annual Quantity greater than 293,000 kWh “Winter Consumption Data” means data which is required by the CDSP to enable it to determine the quantity of gas which is offtaken from the Total System at the Supply Meter Point in the period December to March in a Gas Year. 5.9.17 Where the Registered User of a Supply Point with an Annual Quantity greater than 293,000 kWh is notified by the CDSP in May in a Gas Year that Winter Consumption Data is not available in respect of the Supply Meter, the Registered User shall take all reasonable steps to, no earlier than 14 Supply Point Systems Business Days prior to 1 September in a year and no later than 15 Supply Point Systems Business Days prior to 1 October in that year, send to the CDSP Winter Consumption Data for the Supply Meter. The CDSP shall use such data for the purposes of determining the End User Category for the NDM Supply Point in which the Supply Meter is comprised in accordance with Section H. ALSO: 5.9.7 Each User shall secure, in relation to Monthly Read Meters, that a Valid Meter Reading is obtained: (a) for each Relevant Monthly Read Meter, not less frequently than once every 4 calendar months; (b) in each calendar month, and in compliance with paragraph 5.9.8, for not less than 90% of the number of Monthly Read Meters which are Relevant Supply Meters for the whole of the month
Description | Site specific WAR bands are not available for End User Category (EUC) 03-08 sites
There is a risk that | For daily settlement sites, a site specific WAR band is not available from which more accurate profiles can be derived, leading to more accurate allocation and settlement
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Meter Reads
Risk Status | Monitoring
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting | Mod 652 PARR reporting - periodic reporting to shippers and PAC introduced through this modification
Background |  |  |  |  | Recent and upcoming related industry activity
Where a supply point has an AQ greater then 293,000 kWh (EUC band 3 or greater), demand profiles are assigned based on the ratio between winter consumption and annual consumption. The winter consumption is measured by taking actual reads submitted in two periods, October to November and March to April. The winter annual ratio is the proportion of winter usage compared to the annual (AQ). Where winter reads are not submitted, or a data update not made in September, supply points are given a default demand profile which can be less accurate than a specific winter ratio based one. |  |  |  |  | Modification 652
Modification 652 was implemented in August 2019. Prior to this modification there was no obligation for shippers to submit winter consumption data when reads had not been submitted. Only the general monthly read submission obligation applied. The mod introduced the relevant obligations to submit winter consumption data, and also introduced regular reporting for shippers and PAC distributed 3 times a year based around read windows and the process life cycle. That reporting and information is now available to shippers through the CDSP Data Discovery Platform.
Submission windows
The winter read submission window closes in April, and the summer read submission window is in September.
Recent PAC activity / mitigating actions
Relevant figures |  |  |  |  | Monitoring
PAC reviews the periodic reporting when available at 3 points during the year, deciding what action to take as appropriate.
CDSP education and training
The CDSP has engaged in regular engagement and education on this topic with shippers.
As of March 2022

## PACR007
Risk number | PACR007 |  |  |  |  | Relevant UNC obligations and/or references
Title | Undetected LDZ offtake measurement errors |  |  |  |  | TPD Section V – General TPD Section V12.1 (d) and referenced in Offtake Arrangements Document (OAD) Section D3.1.5 The Measurement Error Notifications Guidelines of which is a UNC related document. The OAD sets out rights and obligations between the Transporters in relation to the connections between, and the planning, maintenance and operation of, their respective Systems, and the implementation of certain provisions of the TPD. Offtake Point (OAD Section A 2.1.1) An "Individual Offtake Point" is an Individual System Point which is the point of connection between: (a) the NTS and an LDZ; or (b) two LDZs which are not comprised in the same Distribution Network; comprising a single pipe at which gas can flow from the NTS into the LDZ or (as the case may be) from one of such LDZs to the other. These Offtake points are specified in the relevant Supplement Agreement. Section 3 of the Offtake Arrangements Document under the UNC states:- 3.1.3 Any validation of Measurement Equipment shall be carried out: (i) by the downstream Party; GDN (ii) in accordance with the provisions of … the Validation Procedures; 3.2.1 The downstream Party shall carry out validation: (a) of the Measurement Equipment installed at an Offtake, no less frequently than once every 12 months; 3.4.2 The downstream Party shall provide the Validation Report to the upstream Party: UKT (i) no later than 14 days after the completion of any Routine Validation 3.1.4 The upstream Party UKT shall be entitled, but shall not be obliged, at its own cost to attend and witness any validation carried out by the downstream Party in accordance with this paragraph 3.
Description | The gas measured into the network is incorrect and remains undetected
There is a risk that | The gas being measured into the network is incorrect due to a measurement error impacting settlement, the levels of unidentified gas and shrinkage, whilst the error is undetected
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Unattributed
Risk Status | Monitoring
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting | Risk PACR004
Background |  |  |  |  | Recent and upcoming related industry activity
There are 3 main types of meter, Orifice Plate, Turbine and USM (Ultrasonic). Measurement errors can be attributed to a number of root causes for each meter type, such as incorrect plate insertion for orifice plates, incorrect K factors for USM and turbine, errors can also be generated by incorrect Flow Computer configuration. Measurement errors can be raised through routes such as meter validation results or errors identified by site staff. Errors above 50 GWh are validated by an independent expert (higher amounts by two experts). As well as the meter validation highlighted in the Offtake document, DNs have an annual maintenance schedule with NTS. They also agree an audit approach with Ofgem and DNs also provide Ofgem with reporting on errors which is linked to performance targets. The identified energy errors will be in essence unattributed, contributing to unidentified gas. |  |  |  |  | Significant error report
The last 'high' significant error report (greater than 50 GWh) reported was that of Airewas EM ETD in March 2021, All reports are listed on the Measurement Error Register maintained by the Joint Office (https://www.gasgovernance.co.uk/MER). If the error is believed to be greater than 50 GWh, an independent expert reviews, if it is greater than 500 GWh then two experts review.
Cadent programme
Cadent are currently undertaking a proactive replacement programme over 5 years to reduce reactive maintenance.
Recent PAC activity / mitigating actions
In 2017, PAC decided that the offtake measuremnt error audit process and regime was robust and fit for purpose, and that quarterly updates on progress would provide additional comfort and visibility.
DN update
Relevant figures |  |  |  |  | SGN presented an update at September 2020 PAC on the Offtake Error Measurement regime.
Audit reporting update
The Distribution Networks are currently collaborating on a new potential common format for an annual report for PAC visibility. Update expected in April 2021 PAC meeting. PAC decided in June 2019 that regular updates may not be required, but have since agreed that an annual audit report would prove beneficial, in addition to updates on any significant errors.
PAC sub-group
Discussion on whether possible to measure this risk accurately.

## PACR008
Risk number | PACR008 |  |  |  |  | Relevant UNC obligations and/or references
Title | Unregistered supply points |  |  |  |  | UNC TPD Section G - 4.4 Unregistered New Supply Meter Points 4.4.1 Each User shall not (and where the User shall not be the supplier its supplier will not) install or procure the installation of a Supply Meter at a New Supply Meter Point created after 1 September 2013 without first having a Supply Contract in place with the consumer. 4.4.2 Each Transporter will from time to time identify any new Supply Meter Point Reference Numbers created after 1 September 2013 and for which there has been no First Supply Point Registration Date in accordance with paragraph 3.2.1(b) for a period greater than 12 calendar months since the Supply Meter Point Reference Number was created and where the Transporter has evidence of a Supply Meter being in place for a period greater than 3 months after the creation of the New Supply Meter Point, which is capable of flowing gas, the Transporter will take steps to establish who requested installation of the Supply Meter which may include making enquiries of the consumer. 4.4.3 Pursuant to paragraph 4.4.2 where the Transporter obtains information that a supplier requested the installation of the Supply Meter and the User subsequently confirms this the Transporter shall notify the CDSP of the date on which it became aware that a Supply Meter had been installed and the CDSP will notify the relevant User that no Supply Point Registration is in place at the New Supply Meter Point and: (a) where the User confirms that a Supply Contract is in place between the supplier and consumer or does not respond within 1 calendar month of being notified by the CDSP the relevant User will register such New Supply Meter Point in accordance with paragraph 2 or take steps to remove the Supply Meter within 1 calendar month, failing which the provisions of paragraph 4.4.4 shall apply; or (b) where the User confirms within 1 calendar month that no Supply Contract exists between the supplier and consumer the User shall ensure the supplier procures a Supply Contract with the consumer and will register such New Supply Meter Point in accordance with paragraph 6 or procure removal of the Supply Meter within 1 calendar month. 4.4.4 Where the User does not comply with the obligation to register such New Supply Meter Point in accordance with paragraph 4.4.3(a) or 4.4.9(a) the User shall be deemed to have granted the CDSP authority to register such New Supply Meter Point on its behalf and: (a) the First Supply Point Registration Date shall be deemed to be the Meter Fix Date or if this is not known the date notified to the CDSP on which the Transporter first became aware that a Supply Meter had been installed
Description | The supply point is not registered, but is consuming gas
There is a risk that | No Shipper is putting gas into the network or paying for gas off-taken thereby directly impacting unidentified gas
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Unattributed
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Key related industry activity
Shippers receive details of potentially unregistered sites (sites that have never previously been registered) in a work queue in CMS, as per the details in the obligation above. If it is not confirmed or a dispute raised within a given timeframe then forced confirmations occur. In addition, the CDSP undertakes an annual meter point reconciliation exercise, introduced by Mod 431 in 2014, which identifies numbers of MPRNs that are unregistered and shipperless (and other categories of mismatch). There is also a shipperless and unregistered sites workgroup which has met since 2007 led by Xoserve and attended by shippers and DNs. |  |  |  |  | UNC modification 410A - Responsibility for gas off-taken at Unregistered Sites following New Network Connections
While this mod was implemented some time ago (2013), it is being referenced here as the obligations introduced are central to the subsequent process.
UNC modification 431 - Shipper/Transporter - Meter Point Portfolio Reconciliation
This modification was implemented in 2014 and introduced an annual meter point reconciliation exercise that highlights, through a cross-reference of CDSP systems and shipper/supplier billing systems, any unregistered and shipperless site counts for action. Results are published for the industry as well as directly to shippers for potential action.
Allocation of Unidentified Gas Expert (AUGE)
This risk is identified as a contributing factor of permanent UIG by the AUGE.
Relevant figures
Recent PAC activity / mitigating actions

## PACR009
Risk number | PACR009 |  |  |  |  | Relevant UNC obligations and/or references
Title | Shipperless supply points |  |  |  |  | UNC TPD Section G - 8.2 Isolation and Re-establishment where same SMP remained connected 8.2.1 Where a Supply Meter Point has been Isolated after 1 April 2013, and is Re-established, and an Effective Supply Point Withdrawal has not occurred and the Supply Meter continues to remain physically connected to a System during the period from the date of Isolation to the date of Re-establishment and the Transporter (in which case it will notify the CDSP) or the CDSP identifies that the previously connected Supply Meter (with the same serial number and number of dials as provided as part of the Meter Information) is physically connected to a System such that gas is capable of being offtaken (without any further action being taken) from the Total System then where gas was or is being offtaken from the Total System during such period (as evidenced by Meter Readings), each Registered User in respect of the period for which it is or was the Registered User shall be liable for: (a) all reasonable costs incurred by the relevant Transporter in accordance with the Siteworks Terms and Procedures (as defined in Annex G-3, paragraph 1.2.2) where the relevant Transporter undertakes a visit to carry out a disconnection in accordance with the Gas Safety (Installation and Use) Regulations 1998 and where the Supply Meter remains connected to a System such that gas is capable of being offtaken (without any further action being taken) from the Total System; and (b) all charges (including without limitation Transportation Charges and Energy Balancing Charges) associated with such Supply Meter Point as if it had not been so Isolated and in respect of Energy Balancing Charges for which the Registered User is liable pursuant to paragraph 8.2.1(b) a reconciliation will be carried out in accordance with Section E6. 8.2.2 Where a Supply Meter Point has been Isolated after 1 April 2013 and an Effective Supply Point Withdrawal has occurred and the Transporter (in which case it will notify the CDSP) or the CDSP identifies that the previously connected Supply Meter (with the same serial number and number of dials as provided as part of the Meter information) is still capable of flowing gas (without any further action being taken) from the Total System then: (a) the Effective Supply Point Withdrawal shall be deemed to be void as if such Effective Supply Point Withdrawal had never been effective, as set out at 8.2.4 below; (b) where gas was or is being offtaken at such Supply Meter Point during such period the CDSP shall notify the party that was the Registered User at the time of Isolation (the “Relevant Registered User”) and such Relevant Registered User: (i) shall be liable for all charges (including without limitation Transportation Charges and Energy Balancing Charges) associated with such Supply Meter Point, as if an Isolation and Effective Supply Point Withdrawal had not occurred;
Description | The supply point exists on the supply point register with no registered Shipper whilst consuming gas
There is a risk that | No Shipper is putting gas into the network or paying for gas off-taken thereby directly impacting unidentified gas
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Unattributed
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Key related industry activity
Shipperless sites are those that have previously been registered but the shipper has subsequently withdrawn. A number of modifications were raised in 2013 and 2014 to introduce additional obligations and processes for shipperless supply points. These processes endure to this day, and are largely seen as a successful set of obligations and processes in improving the situation. |  |  |  |  | UNC mod 424 - Re-establishment of Supply Meter Points – prospective measures to address shipperless sites
Raised in 2013 to introduce the current process and arrangements - where a withdrawal has taken place but the meter is still able to flow gas as identified by the transporter - the previous user remains liable for gas.
UNC modification 431 - Shipper/Transporter - Meter Point Portfolio Reconciliation
This modification was implemented in 2014 and introduced an annual meter point reconciliation exercise that highlights unregistered and shipperless site counts for action.
UNC modification 425
Introduced the process where the last registered shipper should investigate where a meter is flowing gas - in this case a meter which is different to that last registered (different scenario to mod 424).
Relevant figures |  |  |  |  | Recent PAC activity / mitigating actions

## PACR010
Risk number | PACR010 |  |  |  |  | Relevant UNC obligations and/or references
Title | Meter readings fail validation (PC3 and 4) |  |  |  |  | UNC Validation Rules 1.10 On submission of the read communication by the Shipper, the GT will perform a set of validations based on 3 groupings, please see Section 9 for further detail: Set 1: Read Submission Set 2: Asset Set 3: Read Validation
Description | Insufficient meter reads are loaded into UKLink eroding the accuracy of the AQ e.g. Shippers might fail to use or incorrectly using the 'market breaker flag' impacting the accuracy of calculated AQs.
There is a risk that | Actual reads are either sent and fail validation or are not sent so that insufficient reads are provided to maintain the AQ accuracy leading to inaccurate allocation and settlement
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Meter Reads
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Recent PAC activity / mitigating actions
PARR Reporting monitors part of this activity - DDP XRN 4876 will deliver more detail. |  |  |  |  | PARR monitoring
Monitoring of logic check in conjunction with meter read performance.
Relevant figures

## PACR011
Risk number | PACR011 |  |  |  |  | Relevant UNC obligations and/or references
Title | Derived meter read drift |  |  |  |  | UNC TPD Section M - 5.12 Check Reads 5.12.1 This paragraph 5.12 applies in respect of each Class 1 Supply Meter (at which Transporter Daily Read Equipment is installed), and each Class 2, 3 or 4 Supply Meter at which Remote Meter Reading Equipment is installed, except where the Transporter Daily Read Equipment or Remote Meter Reading Equipment provides a direct (rather than a derived) reading of the relevant index and where applicable corrector of the Supply Meter (each such Supply Meter a “relevant” Supply Meter). 5.12.2 For the purposes of the Code a “Check Read” is an Valid On-Site Meter Read carried out in respect of a relevant Supply Meter. 5.12.3 In relation to each relevant Supply Meter: (a) the Transporter, in the case of a Class 1 Supply Meter, and (b) the Registered User, in the case of a Class 2, 3 or 4 Supply Meter shall arrange that a Check Read is carried out with a Read Date which is not more than: (i) in the case of Supply Meter other than an Annual Read Meter, 12 months; (ii) in the case of an Annual Read Meter, 24 months (iii) after the Read Date of the most recent On-Site Meter Read and the CDSP shall, not later than one (1) month prior to the last date on which a next Check Read is required to be submitted in accordance with this paragraph 5.12.3, notify the Registered User of the relevant Supply Point of such date; and the CDSP shall also notify Users where a Check Read is not submitted within three (3) months of such date together with details of the relevant Supply Meter
Description | The consumption derived from automatic reads is not reflective of the actual consumption recorded on the meter and this is not identified.
There is a risk that | Consumption drift is not identified because reads are not obtained to identify the issues, leading to incorrect consumptions being used in settlement
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Meter Reads
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting | PARR Report 2A.1 covers check reads for Product Classes 1 and 2. There is currently no reporting covering PCs 3 and 4.
Background |  |  |  |  | Recent and upcoming related industry activity
UNC obligations relating to check reads are designed to check and correct for meter read drift, where remote reading equipment potentially falls out of sync with the meter. Certain types of technology work by counting pulses that are generated from the pulse enabled meters, then deriving a read from data held about that meter. The risk is that where check reads are not received, drift may occur and the energy not corrected.
No recent activity.
Recent PAC activity / mitigating actions
Monitoring class 1 and 2
Check read performance is monitored by PAC through the monthly PARR report, for class 1 and 2 only.
DDP extension
There is a user story looking to extend the coverage of the reporting in DDP.
Relevant figures
Note on G32: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Status update

## PACR012
Risk number | PACR012 |  |  |  |  | Relevant UNC obligations and/or references
Title | Required meter read frequency for product class 4 meters |  |  |  |  | UNC TPD Section M - 5.9 Cyclic Reading: Class 4, Smart or Advanced Supply Meters 5.9.1 For the purposes of this Section M: (a) the “Meter Read Frequency” in respect of a Class 4, Smart or Advanced Supply Meter is the expected frequency of Meter Reads for the purposes of the Code; (b) the Meter Read Frequency of a Class 4 Supply Meter (a “Monthly Read Meter”) is monthly where: (i) it is installed at a Supply Meter Point comprised in a Supply Point whose Annual Quantity is not less than 293,000 kWh (10,000 therms); or (ii) the Registered User has (in accordance with Section G2.2) so elected; (c) the Meter Read Frequency of a Class 4, Smart or Advanced Supply Meter other than a Monthly Read Meter (an “Annual Read Meter”) is annual; (d) notwithstanding the above, where the Supply Meter Installation at a Supply Meter Point has or is comprised of a Smart or Advanced Meter, the Meter Read Frequency shall be no greater than monthly in any case and the Shipper User shall take all reasonable steps to obtain and submit a Valid Meter Reading at least once per month. (e) in this paragraph Advanced Meter shall have the same construction as that set out in Standard Condition 12.22 of the Gas Suppliers Licence; 5.8.5 Each User shall secure that, in each calendar month, is not less than 0.9, where x is the sum over all Days in the month, and where for each such Day ND is the number of Relevant Class 3 Supply Meters for which the requirements in paragraph 5.8.2 are complied with; MD is the number of Relevant Class 3 Supply Meters and the CDSP shall notify each User of its performance in such respect
Description | The differing required frequency in meter read provision between product class 3 and 4 sites
There is a risk that | The frequency of submission of meter readings for Product class 4 meter points could adversely impact the accuracy of the derived AQ consumption along with the frequency of reconciliation
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Meter Reads
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Recent and upcoming related industry activity
Greater take-up of product class 3 is improving the position in PC4 |  |  |  |  | UNC Modification 692 - Automatic updates to Meter Read Frequency Frequency
This mod was raised through the work of the UIG Task force, addressing supply points that should have a monthly meter read frequency (AQ above 293,000, or where a smart or AMR meter is present) and could be impacting read submission. The Mod was implemented in January 2022.
XRN 4941 - Auto updates to meter read frequency (MOD0692)
This is the change proposal to implement Mod 692 and was implemented in January 2022.
UNC Modification 664VV
UNC mod 664VV was raised in August 2018. This mod has recently changed as of February 2021, this mod will introduce new reporting for class 2 and 3 sites, with a minimum benchmark for read performance where supply points will have to move into Class 4 if they do not meet that level. Progress has been delayed as the issue of shippers who ship for multiple suppliers was raised. This mod will improve the read performance controls around class 2, introducing an indirect incentive to meet minimum standards. UNC Panel approved implementation in July 2021 with a implementation date TBC. (Associated XRN 4990)
Relevant figures
Recent PAC activity / mitigating actions
PAC perfomance improvement work from 2020 on, specific shippers are in discussions. General PC4 monthly targeting is also underway with many Shippers being targeted for poor performance.

## PACR013
Risk number | PACR013 |  |  |  |  | Relevant UNC obligations and/or references
Title | Change of Shipper Reads |  |  |  |  | UNC TPD Section M - 5.13 Opening Meter Readings 5.13.2 The Proposing User, in the case of a Class 2, 3 or 4 Supply Meter, and the Transporter in the case of a Class 1 Supply Meter, shall secure that a Valid Meter Reading (an “Opening Meter Reading”) is: (a) obtained for a Read Date which satisfies the requirement in paragraph 5.13.3; and (b) submitted (as an Opening Meter Reading) to the CDSP by the required time required under paragraph 5.13.4 from the Supply Meter referred to in paragraph 5.13.1, but in the case of a Class 1 or Class 2 Supply Meter, the Meter Reading obtained under paragraphs 5.6 or 5.7 will satisfy this requirement. 5.13.3 For the purposes of paragraph 5.13.2(a) the Read Date must be: (a) where the Supply Meter Point is or (following the Supply Point Confirmation) will be in Class 1, Class 2 or Class 3, the Supply Point Registration Date; (b) except as provided in paragraph (a), a day within the period of 11 Supply Point Systems Business Days commencing 5 Supply Point Systems Business Days before the Supply Point Registration Date. 5.13.4 For the purposes of paragraph 5.13.2(b) the Meter Reading must be submitted not later than: (a) where the Supply Meter Point is or (following the Supply Point Confirmation) will be in Class 1 or Class 2, 16:00 hours on the 5th Day after the Supply Point Registration Date; (b) except as provided in paragraph (a), 16:00 hours on the 10th Business Day after the Supply Point Registration Date. 5.13.5 In relation to a Class 3 Supply Meter Point, an Opening Meter Reading may be a Meter Reading comprised in a Batch Submission (for which the relevant Batch Period includes the Supply Point Registration Date) submitted in accordance with paragraph 5.8.3. 5.13.6 The Proposing User may, by submitting a further Valid Meter Reading no later than the time required under paragraph 5.13.4, replace an Opening Meter Reading submitted before that time, provided that the replacement Meter Reading complies with the requirement in paragraph 5.13.3.
Description | Estimated change of shipper reads are used and rather than actual reads, creating inaccurate reconciliation to the shippers involved
There is a risk that | The opening and closing periods of reconciliation are not accurately reflected for the two shippers when an actual read is not used impacting reconciliation accuracy
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Meter Reads
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Recent and upcoming related industry activity
The obligation in UNC is essentially for users to submit an opening read for all switches. Performance tracks much lower than this and generally more than 50% of transfers start with an initial estimated read provided by the CDSP. There is provision in UNC for charges for estimated reads, but this is not currently used. Independent Gas Transporters (IGTs) do charge for estimated reads however. The current Energy climate has led to a number of Supplier of Last Resort (SoLR) events happening, and a dip in transfer reads due to the volume of sites falling under this process is anticipated. |  |  |  |  | Faster switching
REC v3 and the Faster Switching arrangements go live in July 2022. Domestic customers should be able to switch by midnight the next working day, with non-domestic switches taking slightly longer. It is expected that switches will be more reliable as well as faster, potentially giving more confidence to the market.
Recent PAC activity / mitigating actions
Monitoring
This has been periodically discussed at PAC - while performance remains low, it was felt that as energy will be corrected once subsequent meter reads are received, and any temporary misallocation of energy is between two parties, this will remain slightly lower priority for now, but monitoring will continue, and that approach will be revisited regularly. It is also recognised that where cyclic read history is good for PC1 and 2, an opening read estimate will be good and will have a low to no impact on settlement accuracy.
Faster switching
PAC members have raised the issue of faster switching, and the interaction between this risk and that programme is being discussed. The PAFA and the PA REC Manager plan to collaborate where risk mitigations might be managed through cross-code working.
Relevant figures

## PACR014
Risk number | PACR014 |  |  |  |  | Relevant UNC obligations and/or references
Title | Meter readings not provided within the settlement window |  |  |  |  | UNIFORM NETWORK CODE – GENERAL TERMS SECTION C – INTERPRETATION 1 DEFINED TERMS "Code Cut Off Date" means, in relation to any Day within a Formula Year (t), the Code Cut Off Date is 1st April in Formula Year t-3;
Description | Sites do not have any reads loaded in the settlement window
There is a risk that | Reconciliations will be crystallised based on estimated readings due to the failure to provide a meter reading within the settlement window, impacting settlement accuracy unidentified gas
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Meter Reads
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Recent and upcoming related industry activity
This risk was reopened in December 2021 following outputs from the Risk Evaluation Tool. This showed a large increase in value at risk due to the amount of sites rolling over and not having a valid read up to 3 or 4 years. The annual settlement window cut off date is known to Industry parties as the 'line in the sand' date. |  |  |  |  | Allocation of Unidentified Gas Expert (AUGE)
The current AUGE believe that this risk is a contributing factor to UIG and provide potential contribution estimates in their assessments.
Recent PAC activity / mitigating actions
Monitoring,CAM and PAFA discussions
Part of the PARR reports - reference to aged reads and no reads has been included in some performance assurance communications for read performance. PAFA have deployed a strategy to mitigate this risk prior to the rollover over of the 2023 Line in the Sand.
CDSP
The CDSP are also actively working to lessen the impact of this risk.
Relevant figures

## PACR015
Risk number | PACR015 |  |  |  |  | Relevant UNC obligations and/or references
Title | Retrospective updates |  |  |  |  | UNC Section M - 5.16 Updated Meter Readings 5.16.1 A User may submit to the CDSP an updated Meter Reading (“Updated Meter Reading”) to replace an existing Valid Meter Reading previously submitted by the User pursuant to paragraph 4.3 and this paragraph 5 provided: (a) the Read Date of the Updated Meter Reading and the Meter Reading which it updates are the same; (b) the Read Date of the Updated Meter Reading; (i) is on or after the Code Cut Off Date: (ii) is not a Day in respect of which: (1) an Offtake Reconciliation has been carried out pursuant to paragraph 5.12.7; (2) in respect of which a Consumption Adjustment has been made; (c) the User was the Registered User of the Supply Meter Point on the Read Date of the earlier submitted Meter Reading; and (d) when submitting the Updated Meter Reading the Meter Reading is identified as an updated Meter Reading. 5.16.2 A User may submit an Updated Meter Reading to replace a CDSP estimated Meter Reading determined in accordance with paragraph 5.4.6 provided each of the requirements in paragraph 5.16.1 are satisfied. 5.16.3 An Updated Meter Reading will be Validated in accordance with paragraph 5.3 and following validation by the CDSP the CDSP will notify the User whether or not the Updated Meter Reading is a Valid. 5.16.4 Where the Updated Meter Reading is a Valid the Updated Meter Reading will replace the earlier submitted Meter Reading for the purposes of the Code and any adjustment to an Affected Offtake Reconciliation will be carried out in accordance with Section E6.8.
Description | Application of an inconsistent approach by Shippers and the industry to retrospective updates
There is a risk that | The application of an inconsistent approach to retrospective updates introduces a bias and therefore impacts settlement accuracy
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Data/Volume
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Recent and upcoming related industry activity
This risk was originally raised when it was still envisaged that retrospective adjustments (Project Nexus phase 2) functionality would still be delivered. However, this looks unlikely in the short term. Some retrospective functionality was delivered at Project Nexus implementation, namely the ability to replace meter readings, as well as the continuation of workaround functionality to update incorrect meter asset data. |  |  |  |  | UNC Modification 651 - Changes to the retrospective update provisions retrospective update provisions
This mod followed Review Group 624 which was raised shortly after Project Nexus implementation, to review the later delivery of retrospective update provisions. Mod 651 made changes to what would be delivered: rather than the full ability to retrospectively update some data items such as meter asset data, this was changed to undergoing a data cleanse activity and then delivering a simplified version of the retrospective meter asset time stamp. The mod was approved by Ofgem in March 2019.
XRN 4914
The solution functionality is still undefined from Mod 651 and and there is currently no anticipated date for delivery.
Recent PAC activity / mitigating actions
Monitoring
Replacement reads are monitored through the PARR reports - further detail is visible through the DDP
Relevant figures

## PACR016
Risk number | PACR016 |  |  |  |  | Relevant UNC obligations and/or references
Title | Correction Factors (CF) - incorrect use of standard CF above 732,000kwh |  |  |  |  | NOT IN UNC: Gas (Calculation of Thermal Energy) Regulations 1996 Section 2 - Intepretation and application "temperature and pressure conversion factor”, in relation to any meter for registering the volume of gas conveyed to a take off point, means— (a)where gas is conveyed to the meter at a rate which is reasonably expected not to exceed 25,000 therms or 732,000 kilowatt hours a year (if the conversion factor within the meaning of paragraph (b) below were applied), 1.02264; or (b)where gas is conveyed to the meter at a rate which is reasonably expected to exceed 25,000 therms or 732,000 kilowatt hours a year (if the conversion factor within the meaning of this paragraph were applied) the number given by the following formula, namely— T × P × Z where— T =the standard temperature conversion factor, namely 1.0098; P =the pressure conversion factor calculated in accordance with the provisions of Part I of the Schedule to these Regulations; Z =the compressibility conversion factor calculated in accordance with Part II of that Schedule;
Description | Correction Factors (CF) - incorrect use of standard CF above 732,000kwh
There is a risk that | The standard correction factor is used when a site-specific correction factor should be applied, leading to incorrect consumptions and ultimately inaccurate settlement
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Data/Volume
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Recent and upcoming related industry activity
Incorrect site specific correction factors were included as one of the elements in the pre-Nexus data cleanse exercise. Following the implementation of the new UK Link system, incorrect site specific correction factors reached a peak in mid 2018, when there were over 5,000 instances (partly driven by an increase in supply points having an AQ going over the relevant threshold). Following work undertaken by PAC and the UIG Task force, the number of instances of correction factor issues has been lowered. |  |  |  |  | Mod 681S - Improvements to the quality of the Conversion Factor values held on the Supply Point Register
This modification was implemented in March 2020. An improvement identified through the work of the UIG task force, the mod looked to introduce some automations to the issue of incorrect correction factors on the Supply Point Register (SPR). Where the AQ for a supply point falls below 732,000, automatic updates to the correction factor should follow, converting it to the standard 1.02264 required in the regulations. Where the AQ is above 732,000, the conversion factor should be set to the last available (If available) correction factor on the SPR effective from the next AQ date.
XRN 4932 - Improvements to the quality of the Conversion Factor values held on the Supply Point Register
This was the change to implement the above mod, which was completed in June 2020.
Allocation of Unidentified Gas Expert (AUGE)
This continues to be a factor recognised by the AUGE as contributing to UIG.
Recent PAC activity / mitigating actions
Relevant figures |  |  |  |  | Mod 681S - Improvements to the quality of the Conversion Factor values held on the Supply Point Register
Particular issues have been identified where sites are close to and continually cross the relevant AQ threshold. DDP168 (User story in back log) has been amended to include UNC681 changes.

## PACR017
Risk number | PACR017 |  |  |  |  | Relevant UNC obligations and/or references
Title | Use of standard CF for sites consuming on or below 732,000 kwh |  |  |  |  | NOT IN UNC: Gas (Calculation of Thermal Energy) Regulations 1996 Section 2 - Intepretation and application "temperature and pressure conversion factor”, in relation to any meter for registering the volume of gas conveyed to a take off point, means— (a)where gas is conveyed to the meter at a rate which is reasonably expected not to exceed 25,000 therms or 732,000 kilowatt hours a year (if the conversion factor within the meaning of paragraph (b) below were applied), 1.02264; or (b)where gas is conveyed to the meter at a rate which is reasonably expected to exceed 25,000 therms or 732,000 kilowatt hours a year (if the conversion factor within the meaning of this paragraph were applied) the number given by the following formula, namely— T × P × Z where— T =the standard temperature conversion factor, namely 1.0098; P =the pressure conversion factor calculated in accordance with the provisions of Part I of the Schedule to these Regulations; Z =the compressibility conversion factor calculated in accordance with Part II of that Schedule;
Description | Using a standard correction factor as required in the Thermal Energy Regulations for sites below 732,000 kwh
There is a risk that | Using a standard correction factor as required in the Thermal Energy Regulations introduces inaccuracy to settlements.
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Data/Volume
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting | PARR Report
Background |  |  |  |  | Recent and upcoming related industry activity
PAC has been tracking this risk due to its impact on settlements. However, there are no direct levers PAC can look to influence, as the use of the standard conversion factor is enshrined in primary legislation. Elsewehere, this is a topic under review by the AUGE. |  |  |  |  | 0693R - Treatment of kWh error arising from statutory volume-energy conversion
This review group was raised to understand the options related to the use of a standard correction factor with assumed average pressure, tempertaure and pressure. A number of options were explored with varying levels of merit, but the workgroup was closed with no recommendation for a further modification.
Allocation of Unidentified Gas Expert (AUGE)
The AUGE does now take this issue into account - the previous AUGE attributed around 600 GWH to temperature and pressure variations.
Recent PAC activity / mitigating actions
Relevant figures

## PACR018
Risk number | PACR018 |  |  |  |  | Relevant UNC obligations and/or references
Title | Correction factors (CF) - incorrect use of non-standard CF below 732,000 kwh |  |  |  |  | Gas (Calculation of Thermal Energy) Regulations 1996 Section 2 - Intepretation and application "temperature and pressure conversion factor”, in relation to any meter for registering the volume of gas conveyed to a take off point, means— (a)where gas is conveyed to the meter at a rate which is reasonably expected not to exceed 25,000 therms or 732,000 kilowatt hours a year (if the conversion factor within the meaning of paragraph (b) below were applied), 1.02264; or (b)where gas is conveyed to the meter at a rate which is reasonably expected to exceed 25,000 therms or 732,000 kilowatt hours a year (if the conversion factor within the meaning of this paragraph were applied) the number given by the following formula, namely— T × P × Z where— T =the standard temperature conversion factor, namely 1.0098; P =the pressure conversion factor calculated in accordance with the provisions of Part I of the Schedule to these Regulations; Z =the compressibility conversion factor calculated in accordance with Part II of that Schedule;
Description | The site-specific correction factor is incorrectly used when a standard correction factor should be applied, leading to incorrect consumptions and ultimately inaccurate settlement
There is a risk that | The site-specific correction factor is incorrectly used when a standard correction factor should be applied, leading to incorrect consumptions and ultimately inaccurate settlement
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Data/Volume
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Recent and upcoming related industry activity
A standard correction factor should be used for energy calculations for supply points with an AQ below 732,000 kWh. Where a supply point holds a correction factor that is incorrect, or still site specific if the AQ has previously been above 732,000 kWh, then a standard correction factor should be updated for use in the energy calculation. |  |  |  |  | Mod 681S - Improvements to the quality of the Conversion Factor values held on the Supply Point Register
This modification was implemented in March 2020. An improvement identified through the work of the UIG task force, the mod looked to introduce some automations to the issue of incorrect correction factors on the SPR. Where the AQ for a supply point falls below 732,000 kwh, automatic updates to the correction factor should follow, converting it to the standard 1.02264 as in the regulations. Where the AQ is above 732,000, the conversion factor should be set to the last available (If available) correction factor on the SPR effective from the next AQ date.
XRN 4932 - Improvements to the quality of the Conversion Factor values held on the Supply Point Register
This was the change to implement the above mod, which was completed in June 2020.
Allocation of Unidentified Gas Expert (AUGE)
The AUGE believe this is a contributing factor to UIG.
Recent PAC activity / mitigating actions
Relevant figures |  |  |  |  | PAC activity
Mod 681S should resolve this issue in the main.

## PACR019
Risk number | PACR019 |  |  |  |  | Relevant UNC obligations and/or references
Title | Smart meter exchanges - Late meter exchanges involving smart meters |  |  |  |  | UNC TPD Section M - 2.1 Supply Meter and other equipment 2.1.1 The Registered User shall secure that at each Supply Meter Point (other than a Supply Meter Point which has been Isolated) there is installed, operated and maintained in proper working order, for registering the volume of gas offtaken from the System at the Supply Meter Point, a Supply Meter Installation. 4 METER INFORMATION 4.1 Meter Information: General 4.1.1 For the purposes of facilitating compliance with the Code, the Shipper Licence and the Transporter's Licence, the Registered User and the Transporter shall (and a Proposing User which is a Registered User may) in accordance with paragraph 4.1 each provide timely and accurate Meter Information to the CDSP in accordance with the requirements in the UK Link Manual. 4.1.2 Meter Information which is: (a) C&D Information will be provided to the CDSP by the Registered User, by means of a Meter Information Notification; (b) not C&D Information will be provided to the CDSP, by a Relevant User, by means of a Meter Information Update Notification. 4.1.3 Within 6 Supply Point Systems Business Days from the Day on which the Registered User receives Meter Information in respect of the installation, removal, exchange or repositioning of a Supply Meter Installation the Registered User shall provide the CDSP with such information by means of a Meter Information Notification and/or Meter Information Update Notification as appropriate.
Description | Two considerations: a) Concern that smart meter replacements are happening but are not being recorded on systems, b) The impact on settlement of a continued delay to the Smart meter rollout
There is a risk that | Smart meter exchanges are not updated in UK link at the time of the meter install which could lead to settlement inaccuracy.
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | General
Risk Status | Monitoring
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Recent and upcoming related industry activity
This is in essence a sub-risk of PACR005 - incorrect meter asset data and should be considered alongside that risk. The risk is connected to meter exchange procedures and the accelerated programme |  |  |  |  | Smart roll-out
Smart meter rolll-out reached the 10 million mark in Feb 2021. All suppliers must take all reasonable steps to roll out smart meters to their domestic and small non-domestic customer.
Faster switching
REC v3 and the Faster Switching arrangements go live in July 2022. Domestic customers should be able to switch by midnight the next working day, with non-domestic switches taking slightly longer. It is expected that switches will be more reliable as well as faster, potentially giving more confidence to the market.
Recent PAC activity / mitigating actions
PAC
No specific mitigations other than those applied for general meter asset data accuracy.
Relevant figures
BEIS Smart Statistics end of Q1 2022

## PACR020
Risk number | PACR020 |  |  |  |  | Relevant UNC obligations and/or references
Title | Issues with UK link post New UK Link implementation |  |  |  |  | Not applicable.
Description | Raised soon after Nexus, as there were a number of immediate issues post UK Link implementation.
There is a risk that | system or data issues as a result of UK link implementation could impact settlement accuracy.
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Central Systems - Issue
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Recent and upcoming related industry activity
The Nexus / UKLINK system went live in 2017. The system may have acted contrary to the solution and design. Examples of system issues that might impact are: preventing valid data being loaded, allowing inaccurate data to be loaded, calculating incorrectly. |  |  |  |  | UK Link issues in DSC Contract meeting.
Any UKLink issues in the public domain are taken to the relevant DSC Committee or Group (https://www.gasgovernance.co.uk/DSC-CDSP). No relevant issues are known ciurrently.
Recent PAC activity / mitigating actions
No recent activity. With each passing year the risk likelihood is decreasing.
Relevant figures
See DSC Contract updates - link above.

## PACR021
Risk number | PACR021 |  |  |  |  | Relevant UNC or other related industry obligations and/or references
Title | AMR data provision |  |  |  |  | Gas suppliers Licence: Standard Conditions – Consolidated to 02 February 2021 - Gas and Electricity Markets Authority GAS ACT 1986 Standard conditions of gas supply licence Advanced meters for Non-Domestic Premises 12.24 As from 6 April 2014, the licensee must not supply gas to any relevant premises [non-domestic above 732,000] other than through an advanced meter. 12.25 The prohibition imposed by paragraph 12.24 does not apply where the licensee is unable to install or arrange for the installation of an advanced meter at the relevant premises in question despite taking all reasonable steps to do so. Advanced meters – Domestic Premises 12.28 This paragraph has effect from the date specified by the Secretary of State in a direction issued to the licensee under this paragraph and applies where the licensee installs or arranges for the installation of a Large Gas Meter at any Domestic Premises. 12.29 If paragraph 12.28 applies, the Large Gas Meter installed or arranged to be installed at the Domestic Premises must be an advanced meter. Large Gas Meters from 2021 12.30 After the ARS Specified Date, the licensee must not supply gas to any Designated Premises or Domestic Premises through a Large Gas Meter which is not also an advanced meter. UNC TPD Section M 5.9 Cyclic Reading: Class 4, Smart or Advanced Supply Meters 5.9.1 For the purposes of this Section M: (d) notwithstanding the above, where the Supply Meter Installation at a Supply Meter Point has or is comprised of a Smart or Advanced Meter, the Meter Read Frequency shall be no greater than monthly in any case and the Shipper User shall take all reasonable steps to obtain and submit a Valid Meter Reading at least once per month.
Description | Problems with AMR data provision could be and is distorting settlement accuracy
There is a risk that | Underlying issues with equipment, software and processes related to AMR is leading to poor read submission in class 2 and 3, incorrect settlement energy being potentially recorded at D+5 and delays in identification and correction.
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Meter Read - Issue
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Recent and upcoming related industry activity
Most non-domestic supply points should have AMR equipment or meter installed as per the standard gas supply licence conditions. AMR equipment will also be installed on other supply point types as shipper/suppliers elect to do so. Where AMR is present, the UNC obligation for Class 4 is to take all reasonable steps to provide a meter reading at least once a month. Where a shipper elects to use Class 2 or 3 for an AMR equipped supply point, the daily and batched daily read provision obligations will apply. This risk puts forward the idea that AMR data provision problems impact settlement accuracy. It is contained on the issue log, as it is essentially a sub-set of meter read submission performance risk. |  |  |  |  | Mod 672
UNC modification 672 introduced reporting on smart and AMR AQ read performance for class 4 supply points in September 2020.
Recent PAC activity / mitigating actions
Monitoring
PAC is now able to monitor combined smart and AMR monthly performance through modification 672 reporting.
Class 4 Monthly
While AMR has not been specifically targeted, PC4 monthly read submission as a whole has been discussed with shippers - any AMR issues would be addressed by shippers as part of addressing overall meter read submission concerns.
Relevant figures
While AMR monthly read performance is slightly below target, AMR performance for both monthly and annual is better than standard meters.

## PACR022
Risk number | PACR022 |  |  |  |  | Relevant UNC obligations and/or references
Title | Use of meter by-pass |  |  |  |  | UNC TPD Section M M2.3: Interference with meters and meter by-pass utilisation – Shipper must take reasonable steps to ensure no person improperly utilises a meter by-pass other than permitted by GDN/PM/GT2 (see next slides) – Shipper must promptly report any evidence of improper meter by-pass utilisation to Transporter • M2.4: Meter by-pass – When a meter by-pass is installed, shipper to notify CDSP “as soon as reasonably practicable” (i.e. via ONJOB) – When a by-pass is ‘Closed’, shipper to notify CDSP of the status change “within 2 Supply Point Systems Business Days” (i.e. via ONUPD) – When a by-pass is ‘Closed’, Shipper to notify CDSP of Consumption Adjustment, where estimate is 10,000 kWh or greater, “within 15 Supply Point Systems Business Days” (i.e. via RFA query) – Shipper to ensure that a closed by-pass is “resealed promptly”. 2.4.4 Where a meter by-pass is installed, or a temporary alternative arrangement utilised, at a Supply Meter Point then where the meter by-pass is closed or the temporary alternative arrangement ceases (as the case may be): (a) within 2 Supply Point Systems Business Days following the Day on which such closure or cessation occurred, the Registered User shall notify the CDSP of the following information: GDN/PM/GT2 Provision of a meter by-pass • A by-pass should only be considered for the following types of premises: – Hospitals or hospice – Institutionalised accommodation (e.g. homes for the elderly, schools, and prisons) – Large or complex plant supporting continuous processes (e.g. agricultural, baking processes) • And at meter installations connected to: – Exceptionally complex pipework and gas consuming plant – Multi-occupied premises (e.g. a single meter installation serving a block of flats) GT Authorisation • Where the Gas Supplier has identified the need for a by-pass, the MAM shall: – Submit a written request to the GT including justification for the by-pass by using the form in Appendix F) – Not install the by-pass until the approved form has been returned
Description | Inappropriate use of meter by-pass and/or inaccurate records kept
There is a risk that | Gas consumption is not accurately measured at sites where meter by-pass is possible
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Unattributed
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Recent and upcoming related industry activity
in 2020, a risk was raised around the area of meter bypasses. The CDSP has undertaken analysis and engaged shippers. In July 2020, there were 153 meters flagged with an open bypass status, with 13,526 flagged as closed. Since then, the CDSP has begun to engage shippers to investigate their portfolios. |  |  |  |  | UNC Review Group 0763R - Review of Gas Meter By-Pass Arrangements
In March 2021, PAC instigated a UNC review group, to widen the investigation and potentially include other industry codes and parties to understand the issue in greater detail. Review group has found the issue to be wider than UNC and invited Metering experts to the Workgroup. Draft guidelines are being drafted by the proposer and metering expert. The work continues through 2022.
Recent PAC activity / mitigating actions
PAC
PAC have been receiving monthly updates on the by-pass status and now believe that the level of their scrutiny can be reduced (but not cease) as the risk level has reduced.
Shipper exercise
CDSP issued information to shippers in October 2020 and requested them to investigate all sites with an Open bypass status, and up to 5 sites with a Closed bypass sites. This exercise has continued over many months resulting in the current statistics that support that the risk has reduced. CDSP actions and continuous engagement has seen the bypass statistics refreshed with reductions in the number of bypasses open and in particular those open for long periods.
Relevant figures
Consumption adjustments as a result of Meter bypass work - May 2022
CDSP Meter Bypass work - May 2022

## PACR023
Risk number | PACR023 |  |  |  |  | Relevant UNC obligations and/or references
Title | Post New UK Link implementation reconciliations: delay in finalising 'pot 2' reconciliations |  |  |  |  | Section M - Supply Point Metering 1.9 Consumption Adjustment 1.9.1 In the circumstances provided in the Code, an adjustment (“Consumption Adjustment”) to metered consumption shall be made in determining the amount of gas offtaken from the Total System at a Supply Meter Point. 1.9.2 Where any provision (the “relevant provision”) of the Code requires a Consumption Adjustment, the Registered User (in the case of a Class 2, 3 or 4 Supply Meter Point) or the Transporter (in the case of a Class 1 Supply Meter Point) shall: (a) estimate the volume of gas offtaken at the Supply Meter Point (“Estimated Consumption”) in the period or periods for which the Consumption Adjustment is to be made, in accordance with the relevant provision; and (b) submit the Estimated Consumption to the CDSP. 1.10 Meter error 1.10.1 Where a meter examiner finds (in accordance with paragraph 4(3) of the Gas Code) or the Transporter or a User believes that a Supply Meter is or has been registering erroneously, and the Transporter or User notifies the CDSP then a Consumption Adjustment shall be made and (except where paragraph 1.9.4 applies) and an Offtake Reconciliation shall be carried out.
Description | Following the roll out of Project Nexus, a number of sites have remained unreconciled following a period of no actual meter read provision.
There is a risk that | Misalignment of data leads to issues with AQ correction and consumption adjustments
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Data/Volume - Issue
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Recent and upcoming related industry activity
Raised post Nexus when a number of DM consumption adjustments were delayed being completed following read submission issues. Not reviewed recently.
Relevant figures
Recent PAC activity / mitigating actions

## PACR024
Risk number | PACR024 |  |  |  |  | Relevant UNC obligations and/or references
Title | Understated AQs on 177,000 PC3 meters
Description | Following 2019 AQ review 177,000 PC3 meters have received an understated AQ
There is a risk that
Risk Effective from | 2017-09-25
Last Updated | 2020-09-02
RAG
Category | Closed
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Recent and upcoming related industry activity
Outlook and next steps
Recent PAC activity / mitigating actions

## PACR025
Risk number | PACR025 |  |  |  |  | Relevant UNC obligations and/or references
Title | Impact on performance assurance reporting of change to PC3 settlement process for EUC01
Description | UNC700 to be implemented 28 September 2019 and will create a new process for EUC01 sites that wish to move into PC3
There is a risk that
Risk Effective from | 2017-09-25
Last Updated | 2020-09-02
RAG
Category | Closed
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Recent and upcoming related industry activity
Outlook and next steps
Recent PAC activity / mitigating actions

## PACR026
Risk number | PACR026 |  |  |  |  | Relevant UNC obligations and/or references
Title | Removal and/or non replacement of correction equipment |  |  |  |  | Non applicable.
Description | There is a risk that Suppliers (at customer request) remove onsite correction equipment, relying on standard/non-standard correction factors
There is a risk that
Risk Effective from | 2019-02-14
Last Updated | 2022-07-01
RAG
Category | Data/Volume
Risk Status | Closed
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Recent and upcoming related industry activity
This was raised at Feb 2019 PAC - questions raised around where the obligation to have a corrector installed at a site v the appropriate correction factor being recorded in central systems sits.
PAFA to seek evidence to understand the level of risk. No evidence identified to date.
Mod 0681 - Improvements to the quality of the Conversion Factor values held on the Supply Point Register
Moved to issue log. There is no obligation to install a corrector and correction factors are available. Mod 0681 - Improvements to the quality of the Conversion Factor values held on the Supply Point Register will also encourage updating of data.
Outlook and next steps
Recent PAC activity / mitigating actions
None

## PACR027
Risk number | PACR027 |  |  |  |  | Relevant UNC obligations and/or references
Title | COVID-19 - impact on the operation of the PAC
Description | During the COVID-19 pandemic there is the possibility that the PAC will not be able to effectively function if PAC members, PAFA and CDSP were negatively impacted.
There is a risk that | There is a risk that PAC will not be able to reach quoracy should a number of members or alternates are impacted by the virus. There is also a risk that the deliverables in to the PAC from PAFA or CDSP could be impacted.
Risk Effective from | 2020-03-01
Last Updated | 2022-07-01
RAG
Category | Closed
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Recent and upcoming related industry activity
Outlook and next steps
Recent PAC activity / mitigating actions

## PACR028
Risk number | PACR028 |  |  |  |  | Relevant UNC obligations and/or references
Title | COVID-19 - related UNC modifications |  |  |  |  | ALLOW USERS TO SUBMIT ESTIMATED METER READINGS DURING COVID-19 TRANSITION DOCUMENT Add new paragraph 3 to Part VI to read as follows: 3 Meter Readings 3.1 Where a User is unable to obtain and submit to the CDSP a Meter Reading for a Class 3 or 4 Supply Meter for a Read Date which falls within the Relevant Period ) (due to the obtaining of a Meter Reading being prevented) the User may instead submit an estimated Meter Reading. 3.2 Where a User submits an estimated Meter Reading in accordance with paragraph 3.1: (a) the Meter Reading will be estimated by the User on the basis of the User's reasonable estimate of the expected Metered Volume offtaken at the Supply Meter Point during the relevant Meter Reading Period; (b) the User shall keep a record of the basis on which it made its reasonable estimate under paragraph (a) for a period of not less than two (2) years following the end of the Relevant Period and make such record available to the relevant DN Operator where so requested. USE OF THE ISOLATION FLAG TO INDENTIFY SITES WITH ABNORMAL LOAD REDUCTION DURING COVID-19 PERIOD TRANSITION DOCUMENT Add new paragraph 4 to Part VI to read as follows: 4 Deemed Isolation 4.2 A Relevant Supply Meter Point shall be treated for the purposes of the Code as if it were Isolated Point shall be deemed to be Isolated (with effect from the date referred to in paragraph 4.3) where the Registered User submits a notification to the CDSP specifying: (a) the identity of the User; (b) the relevant Supply Point Registration Number and the Supply Meter Point Reference Number of the Supply Meter Point; and (c) evidence of the cessation or reduction in business activities at the consumer's premises due to the impact of coronavirusCOVID-19.
Description | A number of urgent UNC modifications have been raised by industry to attempt to mitigate the impact of COVID-19 measure on customers and therefore on Shippers
There is a risk that | The modifications lead to a negative impact on settlement accuracy, particularly when the UK lockdown COVID measure is lifted and operations begin to return to 'normal'. It is acknowledged that there are limitations to the effectivness and the ability to monitor the temporary changes proposed.
Risk Effective from | 2020-03-23
Last Updated | 2022-07-01
RAG
Category | General
Risk Status | Closed
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Recent and upcoming related industry activity
Key modifications 0722 (Urgent) - Allow Users to submit Estimated Meter Reading during COVID-19 and 0723 (Urgent) - Use of the Isolation Flag to identify sites with abnormal load reduction during COVID-19 period were implemented in May 2020 with implications for energy settlement. It is acknowledged that use of the mods is difficult to monitor but PAC have been tracking high level figures to understand if there has been any increase in isolation activity. |  |  |  |  | UNC Mod 721 - Shipper submitted AQ Corrections during COVID-19
Not implemented
UNC Mod 722 - Allow Users to submit Estimated Meter Reading during COVID-19
Implemented - allowing users to submit estimated readings where there is a change if usage due to Covid. Difficult to monitor.
UNC Mod 723 - Use of the Isolation Flag to identify sites with abnormal load reduction during COVID-19 period
Implemented - allowing users to use the isolation flag for a change of usage.
UNC Mod 724 - Amendment to Ratchet charges during COVID-19 period
Relevant figures |  |  |  |  | Implemented, but no energy settlement impact.
Recent PAC activity / mitigating actions
PAC mitigation
Regular reporting on isolations (UNC mod 722) has been produced and discussed in PAC. Little evidence of problematic use of the isolation flag has been apparent.

## PACR029
Risk number | PACR029 |  |  |  |  | Relevant UNC obligations and/or references
Title | NDM sites in EUC01, increase AQ above NDM threshold |  |  |  |  | TRANSPORTATION PRINCIPAL DOCUMENT SECTION G – SUPPLY POINTS Amend paragraph 1.6.15 and 1.6.16 to read as follows: 1.6.15 Where it is a condition of a change in classification (under any provision of the Code) of a Supply Point or Supply Meter Point that the Annual Quantity of such System Exit Point is or has become greater than, not less than, less than or not greater than a specified quantity (the “threshold requirement”), the condition shall be treated as satisfied with effect from the first Day of the month following an AQ Calculation Month a relevant month (‘M’), if and only if: (a) except where paragraph (b) applies: (i) each AQ Calculation Month in the preceding period of 6 months is a qualifying AQ Calculation Month; and (ii) there are at least 3 consecutive qualifying AQ Calculation Months (including month M), or if there are fewer than 3 AQ Calculation Months in the preceding period of 18 months, each AQ Calculation Month in that 18 month period is a qualifying AQ Calculation Month;
Description | Sites that are above the Class 1 threshold remain in PC 3 and 4
There is a risk that | very large sites which are above the Class 1 threshold that remain as either Class 3 or Class 4 can contribute to daily UIG volatility as their daily gas allocation will be determined using the NDM algorithm rather than actual meter consumption.
Risk Effective from | 2017-09-25
Last Updated | 2022-07-01
RAG
Category | Meter Reads
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Recent and upcoming related industry activity
The UIG task force identfied sites that were above the Class 1 threshold but remained outside in classes 3 or 4, settling on profiles, and therefore creating UIG volatility. |  |  |  |  | Mod 690 Reduce qualifying period for Class 1 and PARR Reporting
Mod 690 has now been delivered and PARR reporting is being produced on a monthly basis. The mod proposes that the qualifying period for the requirement for a meter point to become Class 1 is reduced, to limit the time period when very large sites are subject to NDM Demand Estimation, as opposed to being Daily Metered. PARR reporting shows sites that have met the qualifying criteria but are in Class 2, 3 or 4.
Recent PAC activity / mitigating actions
Monitoring
Now monitoring through PARR reports.
Relevant figures

## PACR030
Risk number | PACR030 |  |  |  |  | Relevant UNC obligations and/or references
Title | Delay in between UNC mod implementation and PARR report delivery |  |  |  |  | Not applicable
Description
There is a risk that | The delay between UNC modifications being implemented and associated reports being delivered leads to performance in relation to the mod being unmonitored for a period of time which could de detrimental to settlement accuracy
Risk Effective from | 2020-07-01
Last Updated | 2022-07-01
RAG
Category | General
Risk Status
| Minimum | Most Likely | Maximum | Comment
Estimated AQ / energy
Related Reporting
Background |  |  |  |  | Industry activity
There has previously been a lag between PARR report delivery and UNC mod implementations, however, the end to end cycle is becoming more joined up. The detrimental impact cannot be assessed while reports are unavailable. |  |  |  |  | Industry and PAC mitigation
XRN change proposals are now raised earlier in the modification cycle and Performamnce Assurance needs are considered during the devlopment of modifications.
Industry activity
Relevant figures
None.