## Slide 1: Demand Estimation Seasonal Normal
Friday 2nd October 2009

## Slide 2: Increments from EP2 climate change
29 July 2026, E.ON, Page <number>
  Changes in climate from the EP2 work provided:
      A set of forecast years
      Used to produce 31 year averages centred on each year from 2008 onwards
      Output was converted to a single base year and increments
        2010 has a set of increments that specifically relate to the adjustment to raise the base year to a 31 year average centred on 2010
        Each year has a specific set of increments that vary
        Cannot use one years increments with different base years as the two items need to sum to the EP2 forecast output

## Slide 3: Increment changes
29 July 2026, E.ON, Page <number>
  The following chart is from the Met Office EP2 output:
      Lines show the increment needed to move the base year to each year in question
      Increased in increment is not linear
      Therefore to apply to different base years as in the xoserve method requires different increments
      Significant cooling from inappropriate values
      Solid lines are for max
      Dotted lines for min

## Slide 4: Wind Impact
29 July 2026, E.ON, Page <number>
  The following chart uses our calculation of CWV degree days:
      CWV calculated as normal
      CWV calculated with zero windspeed to show maximum warming
      Comparison to average CWV calculated by xoserve using daily and average methods

## Slide 5: Wind Impact Chart
29 July 2026, E.ON, Page <number>

## Slide 6: Wind Impact
29 July 2026, E.ON, Page <number>
      Wind seems to have less impact than xoserve are stating – second order
        7 days impact in June, 2 in July, 1 in August 2008
        Average summer impact 0.04 degree days per day
        Total difference:
        0.2 degree days per day in 2008
        0.18 degree days in 2007
        0.17 degree days in 2006
        On average 40% lower with NO WIND than the daily to average calculation impact stated by xoserve suggesting incorrect increments have as large an impact to understating wind in averages
      Average calculation fits at shoulder months to observed (true for 2005 to date)
      Suggests that the EP2 limitations are not significant particularly with seasonal shape changes warming shoulder months and maximum temps

## Slide 7: Impact of EP2 climate change
29 July 2026, E.ON, Page <number>
  Changes in temperature from the EP2 climate work:
      Increased warming over the period we are applying seasonal normal to
      Warming greatest in shoulder months but also significant for other periods
      EP2 designed to provide view of EXPECTED (normal) climate for each year

## Slide 8: Changes in CWV – to mitigate concern on wind effect
29 July 2026, E.ON, Page <number>
  Changes in CWV between average method and daily method:
      Average change for WM example used 0.09 (xoserve figures)
      Maximum change 0.6 in June (xoserve figures)
      Roughly equivalent to an effective temperature change of 0.12 (max 0.9)
      EP2 change between 2010 and 2014 is an average of 0.14 (max 0.2 - June)
      EP2 change between 2010 and 2012 is an average of 0.08 (max 0.11 - May)
      Suggested option use 2010 as base year to compensate for the lack of cooling impact from averaging methodology?