## Slide 1: Thornton Curtis MER - Status
Individual Methodologies submitted from both ITE’s
As per the ToR, similarities in testing. initial discussions between ITE’s undertaken
Singular methodology being developed in line with control centre, taking into account requirements to ensure security of supply.
Proposed Timeline - (site availability dependant)
Testing Methodology created – end of Dec 22
Onsite testing – late Jan/early Feb
Reconciliation reports - 6 weeks post onsite testing
Updates will be provided regarding submission and invoicing

## Slide 2: Royston MER - Status
Short timescale due to only dataset recalculation required
Reconciliation assessment undertaken by ITE
Report being finalised for submission
Proposed Timeline
Measurement error report ready for submission – 9th December

## Slide 3: Assurances and Controls
Standard configurable points with remote connectivity checked – No issues found
Automated configuration checking system being implemented
Flow computer upgrade project initiated
Clamp on USM being utilised for all orifice plate ME2’s – Cadent have purchased multiple units.
Additional resource being employed to provide additional assurance to validations including Orifice Plate exchanges.
Review and update of metering procedural suite
Work underway with data analytical AI industry experts for early error identification.
Implementation and validation of checks on demand/UIG data

## Slide 4: Audit
Discussions with multiple industry auditing experts. Proposals being developed.
Failure Mode and Effects analysis including Human Factors being proposed. Broad brush approach.
Audit and assessment to enable right first time approach going forward.
Additional technical audit covering procedural documentation and competency.
Increase of site to audits and expansion of terms of reference being developed.