Uniform Network Code Validation Rules

Version 2.4 DRAFT

Updates required as a result of Mod 0432

All rights reserved.

No part of this document may be reproduced, stored or transmitted without the written permission of the Transporters.

Document Control

| Version | Date | Reason for Change |
| --- | --- | --- |
| 2.4 | 20/11/2013 | Proposed updates for review at PN UNC |
| 2.3 | 15/10/2013 | Further updates following review |
| 2.2 | 07/10/2013 | Further updates following review at PN UNC on 30/09/2013 |
| 2.1 | 20 September 2013 | Updates following Project Nexus requirements |
| 2.0 | 20 January 2011 | Clause 4 amended as a result of implementation of UNC0224, introduction and Document Control added. |
| 1.0 | 05 July 2006 | Rules established |

#### Development of Rules

- Section M5.3.3 of the Transportation Principal Document (TPD) of the Uniform Network Code (UNC). specifies that:

“The "Uniform Network Code Validation Rules" (or “Validation Rules”) are the rules and procedures contained in the document issued by the Transporters at the [Nexus Implementation Date] and so entitled and governed and amended in accordance with Section V12 unless the Authority shall upon application by any User made within one month after such notice, give Condition A11(18) Disapproval to the Transporters making any amendment in accordance with the provisions of Section V12.”

- The requirement to publish the Uniform Network Code Validation Rules is specified in Section V12.1(b) of the TPD of the UNC. This section also provides for the document to be published and revised from time to time. The provision (TPD V12.2) reads :

“Each Document shall be kept up to date and published by the Transporters on the Joint Office of Gas Transporters’ website.”

- The Rules set out below meet the Transporters’ obligation to prepare Guidelines, while the Document Control Section records changes which have been made to the Guidelines. The document is published on the Joint Office of Gas Transporters’ website, www.gasgovernance.com.

- These Guidelines can only be modified in accordance with the requirements set out in paragraph 12 of Section V of the UNC Transportation Principal Document, which reads as follows:

UNIFORM NETWORK CODE – TRANSPORTATION PRINCIPAL DOCUMENT

SECTION V – GENERAL

12 	GENERAL PROVISIONS RELATING TO UNC RELATED DOCUMENTS

12.1	Purpose

The purpose of this Section is to establish generic governance arrangements in respect of the following UNC Related Documents (each a “Document” and collectively the “Documents”):

- Network Code Operations Reporting Manual as referenced in Section V9.4;

- Network Code Validation Rules referenced in Section M5.3.3;

- ECQ Methodology as referenced in Section Q6.1.1(c); and

- Measurement Error Notification Guidelines for NTS to LDZ and LDZ to LDZ Measurement Installations as referenced in OAD Section D 3.1.5.

12.2 	Publication Requirements

Each Document shall be kept up to date and published by the Transporters on the Joint Office of Gas Transporters’ website.

12.3 	Modifications

Should a User or Transporter wish to propose modifications to any of the Documents, such proposed modifications shall be submitted to the Uniform Network Code Committee and considered by the Uniform Network Committee or any relevant sub-committee where the Uniform Network Code Committee so decide by majority vote.

12.4 	Approved Modifications

12.4.1 In the event that a proposed modification is approved by a majority vote of the Uniform Network Code Committee, the modification shall be implemented. Where the Uniform Network Code Committee fails to achieve majority approval the proposed modification shall be considered in accordance with the provisions set out in Section 7 of the Uniform Network Code Modification Rules unless the Uniform Network Code Committee determines otherwise.

12.4.2 Each revised version of a Document shall be version controlled and retained by the Transporters. It shall be made available on the Joint Office of Gas Transporters’ website.

CONTENTS

## 1. Introduction.	.	.	.	.	.	.	.	.	05

## 2. Cyclic Reading Validation.	.	.	.				06

## 3.lass 1 DM Mandatory Supply Points		.	.	.		08

## 4. Class 2 DM Supply Points.	.	.	.	.	.	.	09

## 5. Non Cyclic Meter Readings .	.	.	.	.	.	.	10

## 6.Tolerance Ranges	.	.	.	.	.	.		11

Appendix A -	Round The Clock Indicators	.	.	.	..	12

Appendix B - Calculated Gas Card Readings.	.	.	.	.	14

Appendix C – MRA HHT Validation						15

## 1  Introduction

This is the document referred to in Section M 5.3 of the Uniform Network Code Transportation Principal Document.  It does not form part of the Uniform Network Code.

  - This document describes the validation rules which will be applied to non-daily (Class 3 and 4) and daily metered (Class 1 and 2) meter, read equipment  and convertor readings and associated data before they are applied to System User and Transporter systems.  All parameterised values are subject to amendment in accordance with the procedures set out in Section M 5.3.3 of the Uniform Network Code – Transportation Principal Document.  Any changes will be notified to System Users.

  - These rules are the minimum requirement of validation that must be undertaken for readings applied by System Users prior to submitting to the Transporter. It is recommended that more stringent validations are carried out by System Users.

  - Reads from Class 1 daily metered sites will be validated by the Transporter in accordance with the relevant rules described herein.

  - Reads from Class 2, 3 & 4Supply Meter Points  must be validated by the System Users before submitting to the Transporter in accordance with the relevant rules described herein.

  - Reads that do not pass the validations described will be rejected by the Transporter with the relevant rejection reason

  - The validation described in this paper will be in addition to that used to determine that the data is in accordance with the file specification and system requirements.     The validation refers to cyclic and non-cyclic meter readings, including transfer readings, consumption adjustments, asset installation and removal meter readings.

  - In addition to System User validation, the Transporter will undertake a 2 step validation process for all reads received:

    - An initial tolerance check which can be overridden by the User, the flag can be submitted with the read or on re-submission of the read following the rejectionthe rejection

    - If the read passes the first tolerance check a second outer tolerance check will be applied  that can not be overidden by the User.

    - A read that does not pass the second outer tolerance check will be rejected and can not be re-submitted until the AQ (Class 3 & 4) or SOQ (Class 1 & 2) is amended

2.	Cyclic Reading Validation

2.1	A completeness check to ensure all readings expected have been received, including Convertor readings where installed.

2.2	All meter readings will be subjected to a round the clock test to detect possible instances where a meter has made a complete revolution of the dials between readings.  It will also check for negative consumptions if a meter reading follows an estimate.

The term Round the Clock (RTC) refers to the number of times the meter or convertor has gone "through the zero's" i.e. has moved from 9999 to 0001.  The use of this indicator and the reading will permit the volume of gas to be calculated as well as detecting any reversal of readings following an earlier erroneous reading.  A detailed explanation of the logic is given in Appendix A.

Where the cyclic reading is submitted by the User as a ‘Proposing User Read’ pursuant to Uniform Network Code Transportation Principal Document M1.5.2(l), the RTC test will be performed by the Transporter.

2.3	Validation to ensure the read follows on from a previous actual reading, and for replacement reads, less than a subsequent actual read.

2.4	All readings supplied by System Users will be subject to tolerance checking as described below.

2.5	An inner Tolerance validation will be applied to all cyclic reads as described in  Section 6

2.5.1	The User may ‘override’ the inner tolerance check by indicating as such when submitting the reading..

2.5.2	A wider tolerance check (Market Breaker check) will be applied, a reading that breaches the wider tolerance check will be rejected by the Transporter.

2.5.3	Tolerance ranges will be based on the AQ band for a Supply Meter Point. Tolerance Ranges are shown in Appendix B.

2.6	Where a convertor is fitted an additional check will be performed to ensure that the convertor is reading meter pulses correctly the following calculation will be performed.

Meter Volume - Uncorrected Convertor Volume

Where this results in an out of tolerance figure the reading will be rejected.

The tolerance check applied in this test will be dependent upon the pulse value of the meter.   Tolerance ranges are shown in Appendix B.

2.7	A reading which produces a negative consumption will only be accepted if followed by a consumption calculated from an estimate.

## 3	Non Cyclic Meter Readings

3.1	Non cyclic meter and convertor readings  will be validated with the same rules as cyclic readings.

3.2	Validation to ensure the read follows on from a previous actual reading.

3.3	The consumption tolerance limits set out in Appendix B will be used for all non cyclic readings.

3.4	The RTC test as described in Appendix A will be applied by the Transporter to non cyclic readings.

3.5	Any previously received customer reading will be treated as an actual reading for tolerance checking purposes.

## 4.	Daily Read Equipment  - Class 1 DM Mandatory Supply Points

The following tests will be performed by the Transporter.

.1	A completeness test to ensure that all the readings expected have been received.

.2	An instrument configuration test i.e. to ensure that the convertor and the meter reading are received where a convertor is fitted.

.3	W 3 or more consecutive zero consumption readings are received a test will be performed to compare with the corresponding period in the previous year.

.4	Zero consumption readings will be deemed to have been validated by the DMSP.

## 5	Daily Read Equipment  - Class 2 Sites

5.1	A completeness test to ensure that all the readings expected have been received .  Where a convertor is fitted the read will be rejected if convertor readings are not supplied.

5.3	For Class 2 Supply Meter Points with User Daily Read Equipment installed, zero consumption readings will be deemed to have been validated by the submitting User and will therefore be accepted (where the User has confirmed via the Override flag that the read is correct..

## 6. 	Consumption Adjustments

## 6.1	A Consumption Adjustment can be submitted for the following reasons;

## 1. To replace meter readings for Class 1 and 2 Supply Meter Points

## 2. To replace

## 6.2	System Users must validate the Consumption Adjustment prior to submitting to the transporter.

## 6.3	Where a System User submits a Consumption Adjustment the validations and tolerance ranges described herein and under Section 6 will be applied.

6.3	Where the Consumption Adjustment fails the validations it will be rejected by the Transporter.

## 7.	TOLERANCE RANGES

## Note: These are the minimum validations required by System Users

Table 1 Daily Reads (Class 2 & 3) following an Actual read

Read validation tolerances on receipt of a daily read following an Actual Read. Read would be accepted if the consumption falls within the following tolerances.

| Lower AQ band (kWh) | Upper AQ band (kWh) | Override Read Tolerance (can override with ‘flag’) | ‘Market Breaker’ Read Tolerance (can not override with ‘flag’) |
| --- | --- | --- | --- |
| 0 | 73,200 | 0 - 73,200 kWh | 0 – 700% of SOQ |
| 73,201 | 732,000 | 10% - 100% of SOQ | 0 - 650% of SOQ |
| 732,001 | 2,196,000 | 10% - 100% of SOQ | 0 - 600% of SOQ |
| 2,196,001 | 29,300,000 | 10% - 100% of SOQ | 0 - 550% of SOQ |
| 29,300,001 | 58,600,000 | 10% - 100% of SOQ | 0 - 500% of SOQ |
| 58,600,001 | and above | 10% - 100% of SOQ | 0 - 450% of SOQ |

Table 2 Validation on Daily Reads (Class 2 & 3) following an Estimate

Read validation tolerances on receipt of a daily read following an Estimated Read. Read would be accepted if the consumption falls within the following tolerances.

| Lower AQ band (kWh) | Upper AQ band (kWh) | Override Read Tolerance (can override with ‘flag) | ‘Market Breaker’ Read Tolerance (can not override with ‘flag’) |
| --- | --- | --- | --- |
| 0 | 73,200 | No greater than + or – 73,200 kWh | + or - 700% of SOQ |
| 73,201 | 732,000 | + or - 100% of SOQ | + or - 650% of SOQ |
| 732,001 | 2,196,000 | + or - 100% of SOQ | + or - 600% of SOQ |
| 2,196,001 | 29,300,000 | + or - 100% of SOQ | + or - 550% of SOQ |
| 29,300,001 | 58,600,000 | + or - 100% of SOQ | + or - 500% of SOQ |
| 58,600,001 | and above | + or - 100% of SOQ | + or - 450% of SOQ |

Table 3: Read validation on a Periodic Read (Class 4)

Read validation tolerances on receipt of a periodic read. Read would be accepted if the consumption falls within the following tolerances.

| Lower AQ band (kWh) | Upper AQ band (kWh) | Override Read Tolerance (can override with ‘flag’) | ‘Market Breaker’ Read Tolerance (can not override with ‘flag’) |
| --- | --- | --- | --- |
| 0 | 73,200 | 20% - 300% of AQ/365 x no. of days | 0 – 700% of AQ/365 x no. of days |
| 73,201 | 732,000 | 20% - 250% of AQ/365 x no. of days | 0 - 650% of AQ/365 x no. of days |
| 732,001 | 2,196,000 | 20% - 200% of AQ/365 x no. of days | 0 - 600% of AQ/365 x no. of days |
| 2,196,001 | 29,300,000 | 20% - 150% of AQ/365 x no. of days | 0 - 550% of AQ/365 x no. of days |
| 29,300,001 | 58,600,000 | 20% - 100% of AQ/365 x no. of days | 0 - 500% of AQ/365 x no. of days |
| 58,600,001 | and above | 20% - 100% of AQ/365 x no. of days | 0 - 450% of AQ/365 x no. of days |

## 7.	 TOLERANCE RANGES - Alternative

Note: These are the minimum validations required by System Users

Table 1 Daily Reads (Class 1, 2 & 3) following an Actual read

Read validation tolerances on receipt of a daily read following an Actual Read.

| Lower AQ band (kWh) | Upper AQ band (kWh) | Tolerances where read will be accepted | Read Accepted if submitted with an Override Flag | ‘Market Breaker’ Read Rejected |
| --- | --- | --- | --- | --- |
| 0 | 73,200 | 0 - 73,200 kWh | 0 – 699% of SOQ | < 0% or > 700% of SOQ |
| 73,201 | 732,000 | 10% - 100% of SOQ | 0 - 9% or 101% - 649% of SOQ | < 0% or > 650% of SOQ |
| 732,001 | 2,196,000 | 10% - 100% of SOQ | 0 - 9% or 101% - 599% of SOQ | < 0% or > 600% of SOQ |
| 2,196,001 | 29,300,000 | 10% - 100% of SOQ | 0 - 9% or 101% - 549% of SOQ | < 0% or > 550% of SOQ |
| 29,300,001 | 58,600,000 | 10% - 100% of SOQ | 0 - 9% or 101% - 499% of SOQ | < 0% or > 500% of SOQ |
| 58,600,001 | and above | 10% - 100% of SOQ | 0 - 9% or 101% - 449% of SOQ | < 0% or > 450% of SOQ |

Table 2 Validation on Daily Reads (Class 1, 2 & 3) following an Estimate

Read validation tolerances on receipt of a daily read following an Estimated Read.

| Lower AQ band (kWh) | Upper AQ band (kWh) | Tolerances where read will be accepted | Read Accepted if submitted with an Override Flag | ‘Market Breaker’ Read Rejected |
| --- | --- | --- | --- | --- |
| 0 | 73,200 | No greater than + or – 73,200 kWh | + or - 0 – 699% of SOQ | < or > 700% of SOQ |
| 73,201 | 732,000 | + or - 100% of SOQ | 100% to 0% or 100% - 649% of SOQ | < or > 650% of SOQ |
| 732,001 | 2,196,000 | + or - 100% of SOQ | 100% to 0% or 100% - 599% of SOQ | < or > 600% of SOQ |
| 2,196,001 | 29,300,000 | + or - 100% of SOQ | 100% to 0% or 100% - 549% of SOQ | < or > 550% of SOQ |
| 29,300,001 | 58,600,000 | + or - 100% of SOQ | 100% to 0% or 100% - 499% of SOQ | < or > 500% of SOQ |
| 58,600,001 | and above | + or - 100% of SOQ | 100% to 0% or 100% - 449% of SOQ | < or > 450% of SOQ |

Table 3: Read validation on a Periodic Read (Class 4)

Read validation tolerances on receipt of a periodic read.

| Lower AQ band (kWh) | Upper AQ band (kWh) | Tolerances where read will be accepted | Read Accepted if submitted with an Override Flag | ‘Market Breaker’ Read Rejected |
| --- | --- | --- | --- | --- |
| 0 | 73,200 | 20% - 300% of AQ/365 x no. of days | 0 - 19% or 301% - 699% of AQ/365 x no. of days | 0 – 700% of AQ/365 x no. of days |
| 73,201 | 732,000 | 20% - 250% of AQ/365 x no. of days | 0 - 19% or 251% - 649% of AQ/365 x no. of days | 0 - 650% of AQ/365 x no. of days |
| 732,001 | 2,196,000 | 20% - 200% of AQ/365 x no. of days | 0 - 19% or 201% - 599% of AQ/365 x no. of days | 0 - 600% of AQ/365 x no. of days |
| 2,196,001 | 29,300,000 | 20% - 150% of AQ/365 x no. of days | 0 - 19% or 151% - 549% of AQ/365 x no. of days | 0 - 550% of AQ/365 x no. of days |
| 29,300,001 | 58,600,000 | 20% - 100% of AQ/365 x no. of days | 0 - 19% or 101% - 499% of AQ/365 x no. of days | 0 - 500% of AQ/365 x no. of days |
| 58,600,001 | and above | 20% - 100% of AQ/365 x no. of days | 0 - 19% or 101% - 449% of AQ/365 x no. of days | 0 - 450% of AQ/365 x no. of days |

7 APPENDIX A: 'ROUND THE CLOCK' INDICATORS

### REQUIREMENTS AND DEFINITIONS

1.	The term 'round the clock' will be used in a single context to denote that a meter or convertor has passed through all its zeros and will not necessarily imply that the meter or convertor has made a complete revolution of all its dials (i.e. more than 10,000 hundred cubic feet (hcf) on a four dial meter, 100,000 hcf on a five dial meter etc).

The indicator is to be used for all meters and convertors but in the remainder of the text the term meter will be used for ease of understanding.

2.	This means that in the circumstance for a meter reading in hcf;

2.1	Present Reading 6000

Previous Reading 5000

If the volume passing through the meter is 1,000hcf then the RTC indicator will be 0.

If the volume passing through the meter is 1 1,000hcf (because the meter has made one complete revolution of all its dials) the RTC indicator will be 1. Here the meter has gone through the zero's once.

If the volume passing through the meter is 21,000hcf (because the meter has made two complete revolutions of all its dials) the RTC indicator will be 2. Here the meter has gone through its zeros twice.

2.2	Present Reading 0999

Previous Reading 9999

If the volume passing through the meter is 1,000hcf then the RTC indicator will be 1 as the meter has gone through the zero's once.

If the volume passing through the meter is 11,000hcf (because the meter has made one complete revolution of the dials) the RTC indicator will be 2 as the meter has gone through the zero's twice.

If the volume passing through the meter is 21,000hcf (because the meter has made two complete revolutions of all the dials) the RTC indicator will be 3 as the meter has gone through the zero's three times.

3.	All RTC indicators of 2 or above will be reported for investigation .

4.	The test will also look for readings moving backwards because of a previous over-estimate.

4.1	Present Reading 9910 Actual

Previous Reading 0010 Estimate

If the present meter reading is lower than the previous meter reading this requires the meter to have passed backwards through the zero's the RTC indicator will be -1.

The previous estimate is clearly an over estimate if the test shows that a volume of -100hcf is more credible than a consumption of +9900hcf

4.2	Present Reading 5900 Actual Previous Reading 6000 Estimate

If the present meter reading is lower than the previous meter reading this does not require the meter to have passed backwards through the zero's the RTC indicator will be 0.

The previous estimate is clearly an over estimate if the test shows that a volume of -100hcf is more credible than a consumption of +9900hcf

NB:	A customer reading will be treated as an actual reading for the purpose of this test.  The negative consumption indicator will only be used if the previous reading is an estimate.

5.	The test to detect whether a meter has made more than one complete revolution of its dials will be applied only to 4 dial meters or where the previous reading is an estimate.  For meters with 5 or more dials the reading will assumed to have gone forward unless the previous reading is an estimate.

## Appendix B:	Calculated Gas Card Readings

Note: The following is the obligation of the System Users. The Transporter will not be required to carry out the following checks  from readings taken from Gas Cards.

1.1	The following refers to the calculation of a Calculated Gas Card Reading which (subject to compliance with section M5.13) can be used as an ‘Opening Meter Reading’ upon Supply Point Transfer.

1.2.	Calculated Gas Card Readings will be subject to the same tests as detailed in Section 3, Cyclic Meter Readings.

2	Formula

2.1	The Calculated Gas Card Reading shall be calculated in the same units as the Gas Card Reading from the Gas Card and will be calculated using the following formula:

( ( ( c – b ) / ( b – a ) ) * ( y – x ) ) + y

where:

a is the Accumulative Daily Value for first date in the Applicable Sequence.

b is the Accumulative Daily Value for last date in the Applicable Sequence.

c is the Accumulative Daily Value for the Supply Point Registration Date.

x is the First Reading in the Applicable Sequence.

y is the Last Reading in the Applicable Sequence.

2.2	No Calculated Gas Card Reading shall be calculated where a = b or where x = y.

2.3	For Metric calculation (M3) the Calculated Gas Card Reading shall be in the Range 00000.10 to 99999.90. [Note: The least significant digit is always zero].

2.4	For Imperial calculation (Cubic Feet) the Calculated Gas Card Reading shall be in the Range 0000.01 to 9999.99.

2.5	The First Reading and Last Reading must be taken from a date within the six month period prior to the Supply Point Registration Date.

3	Definitions

3.1	Accumulative Daily Value

The value used to provide a seasonal adjustment factor within the formula. Values for the relevant date within the ‘Applicable Sequence’ are determined using the table in Appendix C.

3.2	Applicable Sequence

The sequence of actual Gas Card Readings used to generate the Calculated Gas Card Reading (by execution of the formula).

3.3	Calculated Gas Card Reading

As defined in Uniform Network Code – Transportation Principal Document Section M1.4.3(h).

3.4	Gas Card Reading

As defined in Uniform Network Code – Transportation Principal Document Section M1.4.3(f).

3.5	First Reading

The first of the actual Gas Card Readings taken within the six month period prior to the Supply Point Registration Date.

3.6	Last Reading

The last of the second, third, fourth or fifth actual Gas Card Readings taken prior to the Supply Point Registration Date within the six month period prior to the Supply Point Registration Date.

3.7	Supply Point Registration Date

## As defined in Uniform Network Code – Transportation Principal Document G1.1.5

CALCULATED GAS CARD READINGS

1	The following table is used to determine the ‘Accumulative Daily Value’ for application within the formula

Table 4:

| Month | Date | Seasonal Factor | Seasonal Factor / 100 | Accumulative Daily Value |
| --- | --- | --- | --- | --- |
| January | 01/01/04 | 13.80 | 0.138 | 0.138 = 0.138 + 0 |
|  | 02/01/04 |  | 0.138 | 0.276 = 0.138 + 0.138 |
|  | 03/01/04 |  | 0.138 | 0.414 = 0.276 + 0.138 |
|  |  |  | “ | “ |
| February | 01/02/04 | 13.60 | 0.136 | 4.414 = 4.278 + 0.136 |
|  | 02/02/04 |  | 0.136 | 4.55 = 4.414 + 0.136 |
|  | 03/02/04 |  | 0.136 | 4.686 = 4.55 + 0.136 |
|  |  |  | “ | “ |
| March | 01/03/04 | 12.20 | 0.122 | 8.344 = 8.222 + 0.122 |
|  | 02/03/04 |  | 0.122 | 8.466 = 8.344 + 0.122 |
|  | 03/03/04 |  | 0.122 | 8.588 = 8.466 + 0.122 |
|  |  |  | “ | “ |
| April | 01/04/04 | 09.80 | 0.098 | 12.102 |
| May | 01/05/04 | 07.10 | 0.071 | 15.015 |
| June | 01/06/04 | 04.20 | 0.042 | 17.187 |
| July | 01/07/04 | 02.40 | 0.024 | 18.429 |
| August | 01/08/04 | 02.40 | 0.024 | 19.173 |
| September | 01/09/04 | 04.20 | 0.042 | 19.935 |
| October | 01/10/04 | 07.30 | 0.073 | 21.226 |
| November | 01/11/04 | 10.30 | 0.103 | 3.519 |
| December | 01/12/04 | 12.70 | 0.127 | 26.633 |
| January | 01/01/05 | 13.80 | 0.138 | 30.581 |
| January | 01/01/06 | 13.80 | 0.138 | 60.888 |
| January | 01/01/07 | 13.80 | 0.138 | 91.195 |
| January | 01/01/08 | 13.80 | 0.138 | 121.502 |
| January | 01/01/09 | 13.80 | 0.138 | 151.945 |
| January | 01/01/10 | 13.80 | 0.138 | 182.252 |
| January | 01/01/11 | 13.80 | 0.138 | 212.559 |
| January | 01/01/12 | 13.80 | 0.138 | 242.866 |
| January | 01/01/13 | 13.80 | 0.138 | 273.309 |
| January | 01/01/14 | 13.80 | 0.138 | 303.616 |
| January | 01/01/15 | 13.80 | 0.138 | 333.923 |
| January | 01/01/16 | 13.80 | 0.138 | 364.230 |
| January | 01/01/17 | 13.80 | 0.138 | 394.673 |
| January | 01/01/18 | 13.80 | 0.138 | 424.980 |
| January | 01/01/19 | 13.80 | 0.138 | 455.287 |
| January | 01/01/20 | 13.80 | 0.138 | 485.594 |
| January | 01/01/21 | 13.80 | 0.138 | 516.037 |
| January | 01/01/22 | 13.80 | 0.138 | 546.344 |
| January | 01/01/23 | 13.80 | 0.138 | 576.651 |
| January | 01/01/24 | 13.80 | 0.138 | 606.958 |

## Appendix C: Meter Reading Agency HHT (On Site) Validation

Note: The following is the obligation of the System Users. The Transporter will not be required to carry out the following checks.

1	Validation for this input will be performed at the time of data capture on the HHT.

2	The meter reading will be checked to ensure that it is within a specified range either side of an estimated reading.  This is known as an Inner Tolerance Range (ITR).  The estimated reading will be calculated using the consumption history and the AQ of the meter.

3	If the meter reading input is outside the ITR, the meter reader will be required to re-input the meter serial number.  If this number is that on the HHT (the correct meter) then they will be required to re-input the reading.  This confirms the accuracy of the first reading or corrects an error on the first attempted input.  If the meter number differs a meter exchange will be initiated.  Similar checks are to be performed on convertor readings.

4	A check will be made on the number of digits for a meter reading i.e. six digits must be input for a six dial meter.  No alteration to the number of dials can be made on the HHT.  Any anomalies discovered will be reported as they generally signify meter exchanges.

Note: The Market Breaker Tolerances would be greater or less than the Override Read Tolerances

# Comments

Added as an Appendix not as main part of the document

Assume will be replaced by the new tolerance checks

Added as an Appendix

By Whom?

Add as an Appendix