## Notes
1) These examples are for one year, the process can be applied to each of the years T+4,T+5,T+6 and T+7
2) Calculation assume that these exchanges are requested in the July 2020 window and so the prices for the increasing offtakes are 2021 prices for which we have used the 0621 prices (noting that 0621 has now been rejected)
3) The rule is that the value of UC commitment is preserved subject to:
a) there being a maximum of 4 years at the increasing offtake
b) the number of years at the increasing offtake is no less than the maximum of the years remaining in any of the tranches from the decreasing offtakes

## One to One
Using 0621 model for 2021
Example 1 one to one exchange
Want to move 1,500,000 from Xxxx where a UC was for 1,000,000 agreed in 2019 and 500,000 agreed in 2018 to Evesham
| Decreasing offtake |  | Increasing offtake
| xxxx |  | Evesham
Current capacity | 40420636 |  | 5584329
| 2019 | 2018 | 2021
Price p/kWh at time UC was incurred / current price for increasing offtake | 0.022 | 0.021 | 0.021594
Capacity moved | -1000000 | -500000 | 1500000
After Exchange |  | 38920636 | 7084329
User Commitment remaining at decreasing offtakes | 2 | 1
Value of UC left for capacity moving at decreasing point | 160600 | 38325
Value of UC for decreasing offtakes |  | 198925
Value of UC to be transferred to increasing offtakes |  |  | 198925
User Commitment for increasing offtakes uncapped |  |  | 1.6826
User Commitment for increasing offtakes to nearest 1/12th rounding up capped at 4 |  |  | 1.75
Max years remaining at decreasing offtake |  |  | 2 | In this case the 2 years remaining determines the number of years
UC at increasing offtake either value of UC transferred capped at 4 years or the maximum number of years remaining on one of the tranches moved from the decreasing offtakes |  |  | 236456.1202 | In this case there are more years of UC at the decreasing offtake than calculated at the increasing offtake
Over / Under recovery of UC |  |  | 37531.1202 | so there is over-recovery of UC
Example 1 one to one exchange
Want to move 1,500,000 from Xxxx where a UC was for 1,000,000 agreed in 2019 and 500,000 agreed in 2018 to Evesham
| Decreasing offtake |  | Increasing offtake
| xxxx |  | Evesham
Current capacity | 40420636 |  | 5584329
| 2019 | 2018 | 2021
Price p/kWh at time UC was incurred / current price for increasing offtake | 0.035 | 0.035 | 0.021594
Capacity moved | -1000000 | -500000 | 1500000
After Exchange |  | 38920636 | 7084329
User Commitment remaining at decreasing offtakes | 3 | 2
Value of UC left for capacity moving at decreasing point | 383250 | 127750
Value of UC for decreasing offtakes |  | 511000
Value of UC to be transferred to increasing offtakes |  |  | 511000
User Commitment for increasing offtakes |  |  | 4.3222
User Commitment for increasing offtakes to nearest 1/12th rounding up capped at 4 |  |  | 4 | In this case the cap of 4 determines the number of years
Max years remaining at decreasing offtake |  |  | 3
UC at increasing offtake either value of UC transferred capped at 4 years or the maximum number of years remaining on one of the tranches moved from the decreasing offtakes |  |  | 472912.2404 | In this case the cap of 4 years on UC means that there is a underecovery of the transferred UC
Over / Under recovery of UC |  |  | -38087.7596
Example 1 one to one exchange
Want to move 1,500,000 from Xxxx where a UC was for 1,000,000 agreed in 2019 and 500,000 agreed in 2018 to Evesham
| Decreasing offtake |  | Increasing offtake
| xxx |  | Evesham
Current capacity | 40420636 |  | 5584329
| 2019 | 2018 | 2021
Price p/kWh at time UC was incurred / current price for increasing offtake | 0.035 | 0.023 | 0.021594
Capacity moved | -1000000 | -500000 | 1500000
After Exchange |  | 38920636 | 7084329
User Commitment remaining at decreasing offtakes | 3 | 2
Value of UC left for capacity moving at decreasing point | 383250 | 83950
Value of UC for decreasing offtakes |  | 467200
Value of UC to be transferred to increasing offtakes |  |  | 467200
User Commitment for increasing offtakes |  |  | 3.9517
User Commitment for increasing offtakes to nearest 1/12th rounding up capped at 4 |  |  | 4 | In this case the time required to pay off the UC for the exchanged capacity determines the number of years
Max years remaining at decreasing offtake |  |  | 3
UC at increasing offtake either value of UC transferred capped at 4 years or the maximum number of years remaining on one of the tranches moved from the decreasing offtakes |  |  | 472912.2404 | In this case the value of UC transferred is recovered for 3.95 years but since 0.95 >11/12 (=0.916) then UC will be recovered for 4 years and hence a slight over-recovery will occur
Over / Under recovery of UC |  |  | 5712.2404
|  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
|  |  |  | 0.083333 | 0.16667 | 0.25 | 0.33333 | 0.41667 | 0.5 | 0.58333 | 0.66667 | 0.75 | 0.83333 | 0.91667 | 1 | 1.0833 | 1.1667 | 1.25 | 1.3333 | 1.4167 | 1.5 | 1.5833 | 1.6667 | 1.75 | 1.8333 | 1.9167 | 2 | 2.0833 | 2.1667 | 2.25 | 2.3333 | 2.4167 | 2.5 | 2.5833 | 2.6667 | 2.75 | 2.8333 | 2.9167 | 3 | 3.0833 | 3.1667 | 3.25 | 3.3333 | 3.4167 | 3.5 | 3.5833 | 3.6667 | 3.75 | 3.8333 | 3.9167 | 4
Note on B8: Richard Pomroy: made up prices
Note on B31: Richard Pomroy: made up prices
Note on B56: Richard Pomroy: made up prices

## Many to One
Conceptually it is no different having more than one offtake than having more than one tranche at one offtake so no examples given

## One to many
Using 0621 model for 2021 using One to One examples but moving to more than one increasing offtake
Example 1 one to one exchange
Want to move 1,500,000 from Xxxx where a UC was for 1,000,000 agreed in 2019 and 500,000 agreed in 2018 to Evesham and Cirencester equally
| Decreasing offtake |  | Increasing offtakes
| xxxx |  | Evesham | Cirencester
Current capacity | 40420636 |  | 5584329 | 7743399
| 2019 | 2018 | 2021 | 2021
Price p/kWh at time UC was incurred / current price for increasing offtake | 0.022 | 0.021 | 0.021594 | 0.023895
Capacity moved | -1000000 | -500000 | 750000 | 750000 | 0
After Exchange |  | 38920636 | 6334329 | 8493399
User Commitment remaining at decreasing offtakes | 2 | 1
Value of UC left for capacity moving at decreasing point | 160600 | 38325
Value of UC for decreasing offtakes |  | 198925
Value of UC to be transferred to increasing offtakes |  |  | 99462.5 | 99462.5 | UC pro-rated by capacity increase at increasing offtakes
User Commitment for increasing offtakes uncapped |  |  | 1.6826 | 1.5205
User Commitment for increasing offtakes to nearest 1/12th rounding up capped at 4 |  |  | 1.75 | 1.5833
Max years remaining at decreasing offtake |  |  | 2 | 2 | In this case the 2 years remaining determines the number of years
UC at increasing offtake either value of UC transferred capped at 4 years or the maximum number of years remaining on one of the tranches moved from the decreasing offtakes |  |  | 118228.0601 | 130824.5205 | In this case there are more years of UC at the decreasing offtakes than calculated at the increasing offtakes
Over / Under recovery of UC |  |  | 18765.5601 | 31362.0205 | so there is over-recovery of UC
Example 1 one to one exchange
Want to move 1,500,000 from Xxxx where a UC was for 1,000,000 agreed in 2019 and 500,000 agreed in 2018 to Evesham and Cirencester equally
| Decreasing offtake |  | Increasing offtake
| xxxx |  | Evesham | Cirencester
Current capacity | 40420636 |  | 5584329 | 7743399
| 2019 | 2018 | 2021 | 2021
Price p/kWh at time UC was incurred / current price for increasing offtake | 0.035 | 0.035 | 0.021594 | 0.023895
Capacity moved | -1000000 | -500000 | 750000 | 750000
After Exchange |  | 38920636 | 6334329 | 8493399
User Commitment remaining at decreasing offtakes | 3 | 2
Value of UC left for capacity moving at decreasing point | 383250 | 127750
Value of UC for decreasing offtakes |  | 511000
Value of UC to be transferred to increasing offtakes |  |  | 255500 | 255500
User Commitment for increasing offtakes |  |  | 4.3222 | 3.906
User Commitment for increasing offtakes to nearest 1/12th rounding up capped at 4 |  |  | 4 | 3.9167 | In this case the cap of 4 determines the number of years at Evesham but the time required to pay off the UC determines the number of years at Cirencester
Max years remaining at decreasing offtake |  |  | 3 | 3
UC at increasing offtake either value of UC transferred capped at 4 years or the maximum number of years remaining on one of the tranches moved from the decreasing offtakes |  |  | 236456.1202 | 256198.0193 | In this case the cap of 4 years at Evesham means that there is a underecovery of the transferred UC
Over / Under recovery of UC |  |  | -19043.8798 | 698.0193
Example 1 one to one exchange
Want to move 1,500,000 from Xxxx where a UC was for 1,000,000 agreed in 2019 and 500,000 agreed in 2018 to Evesham and Cirencester equally
| Decreasing offtake |  | Increasing offtake
| xxx |  | Evesham | Cirencester
Current capacity | 40420636 |  | 5584329 | 7743399
| 2019 | 2018 | 2021 | 2021
Price p/kWh at time UC was incurred / current price for increasing offtake | 0.035 | 0.023 | 0.021594 | 0.023895
Capacity moved | -1000000 | -500000 | 750000 | 750000
After Exchange |  | 38920636 | 6334329 | 8493399
User Commitment remaining at decreasing offtakes | 3 | 2
Value of UC left for capacity moving at decreasing point | 383250 | 83950
Value of UC for decreasing offtakes |  | 467200
Value of UC to be transferred to increasing offtakes |  |  | 233600 | 233600
User Commitment for increasing offtakes |  |  | 3.9517 | 3.5712
User Commitment for increasing offtakes to nearest 1/12th rounding up capped at 4 |  |  | 4 | 3.5833 | In this case the time required to pay off the UC for the exchanged capacity determines the number of years
Max years remaining at decreasing offtake |  |  | 3 | 3
UC at increasing offtake either value of UC transferred capped at 4 years or the maximum number of years remaining on one of the tranches moved from the decreasing offtakes |  |  | 236456.1202 | 234393.9325
Over / Under recovery of UC |  |  | 2856.1202 | 793.9325
[5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
[5 empty] | 0.083333 | 0.16667 | 0.25 | 0.33333 | 0.41667 | 0.5 | 0.58333 | 0.66667 | 0.75 | 0.83333 | 0.91667 | 1 | 1.0833 | 1.1667 | 1.25 | 1.3333 | 1.4167 | 1.5 | 1.5833 | 1.6667 | 1.75 | 1.8333 | 1.9167 | 2 | 2.0833 | 2.1667 | 2.25 | 2.3333 | 2.4167 | 2.5 | 2.5833 | 2.6667 | 2.75 | 2.8333 | 2.9167 | 3 | 3.0833 | 3.1667 | 3.25 | 3.3333 | 3.4167 | 3.5 | 3.5833 | 3.6667 | 3.75 | 3.8333 | 3.9167 | 4
Note on B8: Richard Pomroy: made up prices
Note on B31: Richard Pomroy: made up prices
Note on B56: Richard Pomroy: made up prices

## SW LDZ
Output from 0621 model 2021 for SW LDZ
|  | p | capacity
| Aylesbeare | 0.030855 | 19128874
| Cirencester | 0.023895 | 7743399
| Coffinswell | 0.032611 | 4830571
| Easton Grey | 0.024234 | 27391725
| Evesham | 0.021594 | 5584329
| Fiddington | 0.022337 | 22229864
| Ilchester | 0.028035 | 30242930
| Kenn | 0.031568 | 14000883
| Littleton Drew | 0.02475 | 2299463
| Lyneham (Choakford) | 0.034415 | 40420636
| Pucklechurch | 0.025305 | 22688355
| Ross (SW) | 0.023988 | 4023357
| Seabank (DN) | 0.026567 | 50999376