## Sheet1
|  | Key: | Accurate/correct | Partially accurate/ correct | Inaccurate/incorrect
Option Number | Description | Lead time/dependencies | Impact on Allocation | Impact on Reconciled Energy | Impact on AQ | Alignment to Consumer Billing | Impacted CDSP systems | Scale of Impacts | Governance required | Possible impacts on Third Party systems/processes
1 | No action (“Do Nothing” option) or Park | None | Under in winter, over in summer (due to use of standard factors in developing the NDM profiles) | Under in winter, over in summer (due to use of standard factors in actual energy) | AQ could be over or under, depending on actual weather for the year | Allocated and reconciled energy are in line with consumer billing. Any error is in UIG | None | None | None | None
2 | Use actual LDZ temperatures to convert consumptions used to develop the NDM Profiles (ALPs and DAFs) – to be further refined at DESC forum. Note: could be combined with other changes) | Short/medium – pending DESC review | Makes profiles "peakier" (higher in winter, lower in summer) but does not reflect actual temperatures | None - reconciliation will undo any benefits | AQ could be over or under, depending on actual weather for the year | Unaligned at Allocation, aligned after reconciliation. Any error is in UIG | Demand Estimation Modelling systems | Medium | DESC approval and Change Proposal. Possible change to Demand Estimation Methodology | None, unless Shippers chose to mirror the calculations in their own modelling systems
3 | Influencing strategy to amend Thermal Energy Regulations - require conversion equipment at every site | Long-term to make a change, plus a project to install equipment all 24m sites | Once actual conversion factors are in place, ALPs and DAFs will reflect actual correct usage | Consistent with allocation, as accurate as the equipment | AQ reflects actual temperatures, as accurate as the equipment | Shipper allocation is aligned to consumer billing | UKLink, including reporting and changes to mandatory data | Minor | Change to Secondary Legislation, Change Proposal | Major industry programme of installation of conversion equipment.
4 | Add a new LDZ level factor to the volume-to-energy conversion formula to account for the net difference in energy. The factor could either (i) be a fixed value reviewed periodically, or (ii) calculated daily using actual LDZ weather | Long. Would require a UNC Modification proposal and significant system changes. (i) Requires a project to assess the temperatures at a significant sample of sites and a process to agree the fixed value (ii) Requires a methodology for the relationship between LDZ and average metered gas temperatures across the year | Once used for the NDM sample, allocation will reflect the "extra" correction. Won't be accurate for every site every day, just for the average | Consistent with allocation. Won't be accurate for every site every day, just for the average | AQ could be over or under, if the standard factors are not representative of that site | Depends on the Supplier's contract with the consumer | UKLink: change to meter point energy calculation formula; process for loading and communicating factors, change to file formats. | Major | UNC Mod, Change Proposal. Requirement for a methodology and/or expert to set the new factor. | Shippers (and Suppliers?) will probably need to make changes to their own systems to be able to replicate the calculations for validation/billing purposes.
5 | Amend AUGE process to re-distribute UIG based on estimated impacts of conversion factors (forecast basis) | Medium – requires governance changes but probably no system changes. Will be at forecast temperatures, requires an estimate of actual metered temperatures | Under in winter, over in summer (due to use of standard factors in developing the NDM profiles). UIG is shared to EUCs which create it, on an estimated basis. | Under in winter, over in summer (due to use of standard factors in actual energy). UIG is shared to EUCs which create it, on an estimated basis. | AQ could be over or under, depending on actual weather for the year | Allocated and reconciled energy are in line with consumer billing. Any error is in UIG, shared to EUCs which create it, on an estimated basis. | None, assuming no change to UIG Sharing processes or structure of AUG Table. | None | UNC Mod or change to AUG Framework? Change Proposal. Change to contract with AUGE. | Medium impact to AUGE's calculation processes.
6 | Mod to introduce retrospective adjustment to allocations based on actual weather for the year | Long-term. Requires an estimate (national or LDZ?) of actual metered temperatures | Under in winter, over in summer (i.e. no change). Retro adjustment won't be accurate for every site every day, just for the average. | Under in winter, over in summer (i.e. no change). Retro adjustment won't be accurate for every site every day, just for the average. | AQ could be over or under, depending on actual weather for the year (i.e. no change) | Allocated and reconciled energy are in line with consumer billing. UIG is re-distributed to target to EUCs which contribute to conversion errors | UKLink, to perform the calculations, probably new Invoice Charge Types and/or file formats | Major | UNC Mod, Change Proposal. Methodology and/or expert required to determine actual metered temperatures. | Shippers (and Suppliers?) will probably need to make changes to their own systems to be able to replicate the calculations for validation/billing purposes.
7 | Introduce an LDZ level conversion factor (permanent/per year/per month) | Probably long-term | Single LDZ figure still results in under-allocation in winter, over-allocation in summer. Any error is in UIG. | Consistent with allocation, under in winter, over in summer. Any error is in UIG. | AQ could be over or under, depending on actual weather for the year | Shipper allocation is aligned to consumer billing | UKLink, to store and apply different conversion factors. Publication route required for LDZ factors. | Major | UNC Mod, Change Proposal. Methodology and/or expert required to determine specific factors. | Shippers (and Suppliers?) will probably need to make changes to their own systems to be able to replicate the calculations for validation/billing purposes.
8 | Amend UNC/legislation to require site specific conversion factor for every site | Medium/long – creation of capability only – Long for actual CF updates | Site level figure still results in under-allocation in winter, over-allocation in summer. Any error is in UIG. | Consistent with allocation, under in winter, over in summer. Any error is in UIG. | AQ could be over or under, depending on actual weather for the year | Shipper allocation is aligned to consumer billing | UKLink - changes to reports and mandatory data, and therefor file formats | Minor | Change to Secondary Legislation, Change Proposal | Major industry programme to determine site specific factors for 24m meter points.
| Create a new category of Energy, treated similarly to Shrinkage, where a percentage of daily throughput is allocated as a Correction Factor error. The percentage of energy would be set at LDZ level based on daily profiled seasonal normal (SN) temps, and then retrospectively trued-up based on the actual LDZ temps. This option would reduce volatility and the shippers’ trading exposure (except where temps are a long way from SN) | Long. Would require a UNC modification and changes to CDSP systems, and potentially changes to CDSP Billing processes to incorporate the new energy type | Under in winter, over in summer (i.e. no change). Most of the UIG error is moved out of UIG to a new "Shrinkage-type" charge | Under in winter, over in summer (i.e. no change). Most of the UIG error is moved out of UIG to a new "Shrinkage-type" charge | AQ could be over or under, depending on actual weather for the year (i.e. no change) | Allocated and reconciled energy are in line with consumer billing. Estimated energy impact is removed from UIG and billed separately | Gemini change (amendment to daily gas allocation processes). UKLink change for true-up exercise, plus new invoice charge types. | Major (both systems) | UNC Mod, Change Proposal. Methodology required for calculation of true-up. | Shippers will probably need to track the likely value of the true-up through the year, in order to be able to accrue/ account for it.
10 | Adjust LDZ daily gas inputs to use standard correction. (Would create energy gains/losses between NTS and LDZs which would need to be funded) | Long. Would require a UNC modification and changes to GT/CDSP systems, and potentially changes to GT billing to recover the energy differences | Under in winter, over in summer (i.e. no change) but no longer a cause of UIG, if temps at the meter match the temps at the LDZ input point. Creates a new source of UIG for sites with non-standard CF. | Under in winter, over in summer (i.e. no change) but no longer a cause of UIG, if temps at the meter match the temps at the LDZ input point. Creates a new source of UIG for sites with non-standard CF. | AQ could be over or under, depending on actual weather for the year (i.e. no change) but no longer a cause of UIG | Allocated and reconciled energy are in line with consumer billing. Estimated energy impact is removed from UIG and billed separately | Gemini or upstream Transporter systems. | Major. | UNC Mod, Change Proposal. Changes to Transporter pricing to recover/ distribute any gains/losses. | Transporter systems.
11 NEW | Daily gas allocations to take account of impact of actual weather on metered gas volumes. Same impacts need to be factored into Reconciliation processes. | Long. Would require a UNC modification and changes to GT/CDSP systems, as well as a methodology to determine impacts of LDZ temperatures on site-level conversion | Would be more correct in total but only on average. Sites could still be over- or under-allocated, depending on their location and meter position. | Would be more correct in total but only on average. Sites could still be over- or under-measured, depending on their location and meter position. | AQ could be over or under, depending on location of site and position of meter (e.g. higher/lower altitude, warmer/cooler location) | Depends on the Supplier's contract with the consumer. If consumer is still billed using standard conversion factor this may not match Shipper's settled position. | UKLink, including Gemini | Major. | UNC Mod, Change Proposal. Methodology and/or expert required to determine relationship to LDZ temperatures. | Shippers (and Suppliers?) will probably need to make changes to their own systems to be able to replicate the calculations for validation/billing purposes.