## Innovation List 2021
Innovation ID | Innovation Name | Innovation Description | Grouping | Type | Outcome | Pros | Cons | Ease Of Implementation | Potential Benefit Scale | In scope (1 yes 0 no) | Industry Appetite
10 | LDZ Specific Factors | LDZs have varying levels of UIG, they also have different proportions of domestic and commercial properties. The current method of having national Factors could lead to UIG being allocated to the incorrect party. The investigation would determine whether LDZ specific Weighting Factors would apportion UIG more equitably. | More Weighting Factors | Equitable | Recommendation on the benefits of additional matrix positions within the Weighting Factors Table | The Weighting Factors take into account LDZ specific effects leading to more equitable sharing of UIG. The polluter pays participants are targeted on a local level | There may not be sufficient evidence to provide different Factors for each LDZ therefore the system changes may outweigh the benefits | 4 | 3 | 1
20 | Different Factors for the EUC WAR bands | The current Weighting Factor table has 60 matrix positions for EUC class combinations. In allocation EUC bands 03-08 are split further into Winter Annual Ratio (WAR) Bands. The investigation would determine if adding the additional WAR EUC bands would apportion UIG in a more equitable manner. | More Weighting Factors | Equitable | Recommendation on the benefits of additional matrix positions within the Weighting Factors Table | The Weighting Factors take into account WAR band specific effects leading to more equitable sharing of UIG | Due to the small number of sites in some WAR bands, differences may not be identified and the same Factors are used | 2 | 1 | 1
30 | Different Factors for Allocation and Reconciliation (transient UIG) | The Weighting Factors predominantly allocate UIG at the allocation stage. The residual reconciliation energy is distributed between Shippers using the same Factors as at the allocation stage. We base the Weighting Factors on their calculation of UIG at the Line in the Sand. UIG needs to be applied to the correct market participant as soon as possible. An investigation could be carried out to determine the ratio between the initial energy values and the final energy values at code cut off. This ratio may vary for different market participants or for different matrix positions. The investigation would determine if a ratio that looks at transient UIG would apportion UIG more equitably. | More Weighting Factors | Equitable | Recommendation on the benefits of additional matrix positions within the Weighting Factors Table | The Weighting Factors take into account UIG being allocated differently at the allocation and reconciliation stage leading to a more equitable sharing of UIG | Less certainty at allocation crystallisation, the Factors may not be dynamic enough for non seasonal years | 1 | 3 | 1
40 | Seasonal Factors | Currently, there is one static Weighting Factor for each EUC band product class combination for the whole year. The quantity of UIG changes between the winter, summer and shoulder months. The investigation would determine whether seasonal Weighting Factors would apportion UIG more equitably. | More Weighting Factors | Equitable | Recommendation on the benefits of additional matrix positions within the Weighting Factors Table | The Weighting Factors taking account of seasonal variation of gas use by different sectors | Due to the small number of sites in some Matrix positions the Factors may need to be the same. Some effects may not be seasonal. Non seasonal normal issues could arise | 2 | 1 | 1
50 | Fixed and Floating Weighting Factors | The current process allows for one set of Factors and therefore are based on a seasonal normal year. An investigation would look into whether there is any benefit in splitting the Factors into Fixed and Floating. Floating Factors would take account of in year variations to Factors including for example weather, meter changes, pandemics. | More Weighting Factors | Equitable | Recommendation on the benefits of additional matrix positions within the Weighting Factors Table | The allocation would be able to flex based on within year differences to seasonal norms | There could be less certainty in the allocation leading to more risk on Shippers | 1 | 2 | 1
60 | Dynamic Weighting Factors linked to the throughput | The Weighting Factors are fixed annually for each matrix position. As part of the methodology we have a number of assumptions within our calculation based on a forecast number of sites and associate AQ for the target year which has a risk associated within it. To remove this risk, a mechanism to introduce more Dynamic Factors could be implemented to apportion UIG. The investigation would determine if Dynamic Weighting Factors linked to a more up to date consumption forecast would allocate UIG more equitably. | Dynamic Weighting Factors | Equitable | Recommendation on the benefits of additional matrix positions within the Weighting Factors Table | The Factors would take into account the actual throughput rather than an estimated amount | There would be less certainty in what Factors would be applied, the Factors may not change much from day to day | 1 | 2 | 1
70 | Temperature and pressure actuals feeding into the Weighting Factors | The temperature of gas, and the weather related pressure of gas, changes the amount of gas within a set volume. The investigation will assess the benefit of applying daily temperature and pressure readings directly and dynamically into Settlement. | Dynamic Weighting Factors | Equitable | Recommendation on the benefits of additional matrix positions within the Weighting Factors Table | The actual weather would be used rather than the seasonal normal | There may be a small effect over the year on the total amount of UIG | 1 | 2 | 1
80 | Recalculate the UIG and Weighting Factors at the Line in the Sand | The UIG that the AUGE calculate is over five years before the Line in the Sand. There is a chance that the industry rules or Shipper performance may change between the Statement year and the time that the Line in the Sand is reached. This investigation would determine whether there would be any value in recalculating the Weighting Factors at the Line in the Sand based on an updated estimate of the UIG contributors and total UIG. | Industry Rules – Contributor Specific Data Investigation | Equitable | Recommendation on changing Industry Rules | UIG will be shared more accurately once more data is more complete based on actuals | Risk will be introduced on the UIG exposure of a Shipper, there may be little difference from the current method | 1 | 3 | 1
90 | Changing the residual reconciliation redistribution process (UGR) | Currently, the market rules split the residual reconciliation energy pot for each reconciliation run equally between the previous 12 months. These volumes are then allocated to Shippers based on their energy position following direct reconciliations. An investigation would be carried out to see if this is the most equitable mechanism to distribute residual UIG or whether there is a more appropriate mechanism. | Industry Rules – Contributor Specific Data Investigation | Equitable | Recommendation on changing Industry Rules | UIG will be apportioned in a more accurate and equitable way | The cost of implementing the change could be larger than the benefit, this could lead to greater uncertainty for Shippers on their final UIG position | 2 | 3 | 1
100 | Re-reconciling the whole month | The reconciliation process allocates the unidentified gas reconciliation amounts rather than re-reconciling the whole month. In the current process if two Shippers have the equal and opposite effect in direct reconciliation, their UIG position would not update even though their allocation has changed as a proportion of the total allocation. The investigation will look into whether the current mechanism is the most equitable way or if the whole month should be reconciled at set intervals. | Industry Rules – Contributor Specific Data Investigation | Equitable | Recommendation on changing Industry Rules | The unidentified gas will be apportioned in a more accurate and equitable way | The cost of implementing the change could be larger than the benefit, this could lead to greater uncertainty for Shippers on their final UIG position | 1 | 2 | 1
110 | Factors linked to performance assurance measures | UIG can be caused by non-compliance and under-performance. An investigation could be carried out to establish whether linking the Weighting Factors to the performance assurance framework, and application of the various performance assurance techniques, could play an effective role in reducing the overall levels of UIG | Other – Potentially reduces UIG and/or makes it more equitable | UIG reduction | Recommendation on the benefits of linking the Factors to performance measures | The performance measures implemented by the PAC can be aligned to the UIG Weighting Factors | The Weighting Factors may not be dynamic enough when improvements are made by parties as they are currently set once a year | 1 | 3 | 1
120 | Factors specific to Shippers | Shippers' actions in the market can create UIG in different ways. The current process smears UIG across the market based on the Factors and the allocation volumes. The investigation will asses the value of creating Factors specific to Shippers linked to their performance | More Weighting Factors | Equitable | Recommendation on the benefits of linking the Factors to individual Shippers | The Shippers that generate more UIG will be targeted by the Weighting Factors. This may lead to a reduction in UIG if performance is improved | Individual Shipper details are not currently provided to the AUGE, the portfolio of a Shipper may change significantly between when the Factors are being set to the target gas year | 1 | 3 | 1
130 | Investigation into the temperature of gas in the meter | The temperature studies that are used for the temperature contributor are almost 20 years old and the details of the conditions of the study are limited. The investigation would determine the benefits of organising a study into the temperature of gas under different conditions including, air temperature, meter location and service material type. | Data Investigation – Contributor Specific Data Investigation | Equitable | The commissioning of a study into the temperature of gas within a meter | More accurate information to use in the Average Pressure assumption and Average Temperature assumption contributors | This will not fix the industry issue of using a set pressure and temperature, the cost of the investigation may outweigh the benefit | 4 | 4 | 1
140 | Investigation into the accuracy (bias) of all types of meter | We have been provided with in service testing of domestic sized meters. This has identified that there is an inherent bias with them. The investigation would determine if there is any inherent bias for other types of meters and if there are any impacts caused by the meter manufacturer, the year of manufacture and how long the meter has been in service. | Data Investigation – Contributor Specific Data Investigation | Equitable | The commissioning of a study into the bias of all meter types - this data will feed into a full investigation of the Consumption Meter Error contributor | The calculation of the inherent bias contributor will be more accurate | The cost of the investigation may be greater than the benefits of knowing the bias. This survey may need to be repeated for newer meters or over time as the accuracy may change | 4 | 3 | 1
150 | Leakage investigation of IGT sites | We have been provided with anecdotal information that IGT mains do not leak in the same manner as those that are part of the NLT. An investigation could be carried out to calculate the leakage rates in the mains that IGTs use. This would then feed into the IGT shrinkage contributor. | Data Investigation – Contributor Specific Data Investigation | Equitable | An assessment of whether the leakage rate for mains used on IGT sites is different to those identified as part of the national survey | The leakage rate for IGT sites will be based on an up to date study and therefore an accurate estimate can be calculated | Some of this work has already been done by DNV | 4 | 1 | 1
160 | Audit of the Correction Factors | Site specific Correction Factors are used to take account of the altitude of a site, the average temperature assumption of the gas and inlet pressure of the gas. We have identified a small number of Correction Factors which are lower than the regulations allow and a larger number that have been set to the standard Correction Factor. However, there is currently no mechanism to identify any other erroneous Correction Factors. The investigation would assess the value of carrying out a one off audit of all Correction Factors. | Data Investigation – Contributor Specific Data Investigation | Equitable | An audit of the site specific Correction Factors and a recommendation of any action required to central processes | It will provide assurance that the Correction Factors have been calculated correctly and if there are any that have been under calculated this will lead to a reduction in UIG | The cost of carrying out the audit may be higher than the benefit, the audit may need to be repeated in the future to ensure that the Correction Factors continued to be calculated correctly | 4 | 3 | 1
170 | Weighting Factors used to Incentivise | Weighting Factors could be used to incentivise and therefore drive a change in performance and behaviour within the industry. The investigation would assess the benefit of this. | Other – Potentially reduces UIG and/or makes it more equitable | UIG reduction | A recommendation into the benefits of using the Weighting Factors as incentives to drive a change in performance and behaviour | The Weighting Factors will be used to drive a change in performance and behaviour | If there is the ability to change matrix position to avoid incentives then the process could be undermined | 1 | 2 | 1
180 | All meters must have volume conversion equipment fitted | Volume conversion equipment to take account of local pressure and temperature conditions is currently only installed at a small number of larger consuming Supply Meter Points. The investigation would assess the benefits of having this equipment fitted to all Supply Meter Points. | Industry Rules – Contributor Specific Data Investigation | Equitable | A recommendation on whether all sites should have volume conversion equipment fitted based on the benefits of the reduction in UIG against the cost of installing the devices | The recording of gas off taken will be more accurate which will lead to a more accurate allocation and potentially reduce UIG | The cost of installing the devices may outweigh the benefits | 1 | 4 | 1
190 | Optimum meter capacity | The assumption used in our assessment of meter errors was that the optimum use of a meter was at Qt which was assessed to be 0.2Qmax. An investigation could be carried out to validate this assumption and to determine if there is any impact on this assumption if the meter is consistently used at other ranges of use. | Data Investigation – Contributor Specific Data Investigation | Equitable | An assessment of the optimum metering capacity of different types of meter | A more accurately built consumption meter error calculation | The cost of the investigation may be greater than the benefits of knowing the exact optimum meter capacity | 3 | 1 | 1
200 | LDZ Shrinkage Error linked to leakage rates | To investigate the possibility of there being any error in the LDZ shrinkage calculation based on the leakage rates. | Out of Scope – LDZ shrinkage | Contributor Specific data investigation | A recommendation if the current leakage rates used for shrinkage are fit for purpose | Assurance of the impact of any error with LDZ shrinkage on UIG | Doing this work could lead to dual governance as shrinkage is dealt with under its own forum | out of scope | 2 | 0
210 | Direct reporting ability | Currently any report that has to be provided from the central database has to be defined by the AUGE and provided by the CDSP. This investigation would look into the benefits of the AUGE having direct access to the central records | Additional Data | Equitable | A recommendation on whether the AUGE should have direct reporting access | Efficiency in the AUGE reporting | Access to too much data or a large amount of anonymisation may be required | 3 | 2 | 1
220 | Split EUC bands 1 and 9 | By consumption the largest two EUC bands are bands 1 and 9. This investigation would assess any additional benefits of splitting these matrix positions further so that certain polluters are more easily identifiable, thereby apportioning UIG more equitably. | More Weighting Factors | Equitable | Recommendation on the benefits of additional matrix positions within the Weighting Factors Table | The larger matrix positions will be split more granularly so that the UIG can be attributed more accurately to the supply meter points that generate UIG | There may not be sufficient evidence to calculate sperate Factors when the matrix positions are split further leading to the same Factor being applied to multiple matrix positions | 1 | 2 | 1
230 | Portfolio Optimisation effects | For certain matrix positions it is up to the Shipper to choose which matrix position their Supply Meter Point should be registered to. In previous years Shippers have changed the class of their sites to reduce their exposure to UIG costs. This investigation will assess the effect of this. This will include determining whether there will be any benefits in actively applying adjustments to the Factors to account for potential changes, or whether there should be only one matrix position that a Supply Meter Point can be registered to. | Industry Rules – Contributor Specific Data Investigation | Equitable | The effect of being able to choose matrix positions will be assessed and recommendations following this assessment will be provided. This may include supply meter points no longer being able to choose the supply meter position they are in | A detailed understanding of the benefits of moving between matrix positions and the effect on the market | The historical patterns of optimising portfolios may not continue, the cost of the investigation may be higher than benefits of the investigation | 1 | 4 | 1
240 | Additional central reporting | Certain contributors are likely to get a higher degree of accuracy if further information that is not held within UK link was held centrally, for example theft information. This investigation would assess the benefits of having a central repository for this information. | Additional Data | Equitable | A decision on the central repository will be made | A richer source of information for the AUGE to carry out the analysis from | There could be little direct benefit for Shippers while there could be a cost associated | 2 | 2 | 1
250 | In service testing for LDZ offtake meters | If there is an inherent bias in LDZ meters then the impact of this could be very large on UIG values. The investigation would assess the ways that LDZ meters could be tested to ensure that there is no inherent bias in the meter. | Data Investigation – Contributor Specific Data Investigation | Equitable | Recommendation on the benefits of in service testing of LDZ meters | Certainty around the accuracy of LDZ meter equipment | The cost of additional metering required for when the meters are removed for in service testing | 1 | 3 | 1
260 | LDZ Shrinkage Error linked to estimation of upstream theft | To investigate the possibility of there being any error in the LDZ shrinkage calculation based on the theft rates | Out of Scope – LDZ shrinkage | UIG reduction | An assessment of the amount of transporter responsible gas theft and a recommendation whether this should be included within a Contributor | Any error in the current Transporter responsible theft estimate will be included in the UIG calculation | This is currently out of scope of the AUGE function therefore could not be applied as part of the currently defined process | out of scope | 3 | 0
270 | Dimension relating to the last accepted read | It has been suggested that there is a correlation between the amount of time that has passed since a Supply Meter Point had a read accepted and the UIG that is created for some sites. The current table does not have a dimension relating to the read frequency or when a read was last accepted. The investigation will look in to adding a dimension to the Weighting Factor table relating to when the last meter read was accepted. | More Weighting Factors | Equitable | Recommendation on the benefits of additional matrix positions within the Weighting Factors Table | The sites without a read can be appropriately targeted as part of the polluter pays methodology | If there is a significant change in the number of sites with no read the Factors may not be dynamic enough to deal with this | 1 | 3 | 1

## Assessment Criteria (hidden)
Criteria
1 | Is it out of our scope? |  |  |  | 1st year do we look for a quick win to embed the service?
2 | Likely amount of UIG that will be shared more equitably? |  | benefit
3 | Number of parties affected by the innovation?
4 | Does it need a modification?
5 | Is it likely to require a system change? | costs
6 | AUG Sub committee interest?
Does it reduce certainty - does it support competition
timeliness
feasible
scoring
|  |  |  | In/out of scope | 0 - out 1- in
|  |  |  | Likely effect to UIG (esither reduce of more equitable) | out of 5 | 5 big impact
|  |  |  | Industry Interest | out of 5 | 5 very interested
|  |  |  | Feasibilty | out of 5 | 5 feasible
|  |  |  | Reduce uncertainty | out of 5 | 5 yes increases certainty
|  |  |  | scoring | out of 5 | 5 all
|  |  |  | timeliness | out of 5 | 5 very quick