## Background
Following a number of recent LDZ allocation issues, industry parties suggested that it would be helpful to maintain a tracker of larger issues, to help them understand unusual spikes and dips in UIG when performing their own analysis of trends.
Tracker will list affected Gas Days, LDZ(s), nature of issue and whether corrected by Exit Close-Out (D+5 after Gas Day)
Please note that it will not be possible to provide exact quantities as part of this process as that quantification will not be available.
This Tracker will be published on Xoserve.com (Demand Estimation pages) and links provided on Joint Office DESC page. Tracker will be updated whenever a new "issue" has been identified on Xoserve.com "Notifications" page ( www.xoserve.com/notifications ) and subsequently closed.

## Tracker
Affected LDZ | Start Gas Day | End Gas Day | Nature of Issue | Explanation | Corrected by D+5
WN | 2021-07-13 | 2021-07-13 | UIG too high | Telemetry errors at a DN entry point | Yes
WN | 2021-07-14 | 2021-07-14 | UIG too low | Correction of previous day's error on wrong day | Yes
NT | 2020-09-04 | 2020-09-04 | UIG too high | Input measurement error | Yes
All | 2020-03-24 | 2020-05-10 | Negative UIG | First National COVID lockdown - overallocation of many I&C sites | No
All | 2020-11-05 | 2020-12-02 | Negative UIG | Second National COVID lockdown - overallocation of some I&C sites | No

## Lists
Yes | EA
No | EM
LC
LO
LS
LT
LW
NE
NO
NT
NW
SC
SE
SO
SW
WM
WN
WS
All