## Slide 1: Hydrogen Village Trial
ROM Response Options

## Slide 2: Hydrogen Village
HVT Workshops
High Level Costs/Impact
Background
CDSP collated a number of generic requirements (that span all potential solution options) to aid in a Rough Order of Magnitude (ROM) looking to provide Shippers and Suppliers guidance on the potential impacts to CDSP system/processes.
The 100% Hydrogen Village Trial is to demonstrate end consumers are not adversely affected through a repurposed gas network. The Village trial will comprise of 2000 Supply Meter Points covering Domestic and smaller Industrial commercial premises.
Throughout the various Hydrogen Village/Town workshops held between industry stakeholders, a number of potential approaches have been discussed surrounding the system and process changes needed to facilitate these trials.

## Slide 3: Potential Solution Option(s) and Impacts
TIMESCALES: Approx. 60 weeks (effort)
COMPLEXITY: Medium
One Hydrogen LDZ associated with each physical LDZ (13)
Conversion Factor
SYSTEM IMPACTS:
SAP ISU
PROCESS IMPACTS:
Conversion Factor update
RGMA
SYSTEM IMPACTS:
Gemini
SAP ISU
AMT/SAP PO
Portal
SAP BW
SAP BODS
Data Discovery Platform
PROCESS IMPACTS:
Gemini (UK Link processes incl. Billing, CV, Smearing, EUC, MPRN amendment)
UK Link System (i.e. Billing, CV, Smearing, EUC, MPRN amendment)
UK Link Portal
UK Link Online Services
Data Discovery Platform
TIMESCALES:
Approx. 130 weeks (effort)
COMPLEXITY: High
Calorific Value
TIMESCALES: Approx. 125 weeks (effort)
COMPLEXITY: High
SYSTEM IMPACTS:
SAP ISU
Data Discovery Platform
PROCESS IMPACTS:
Volume Factor Analysis is required for impacts to Gemini and UK Link
Read upload
Estimation
Reconciliation Factor
CV direct into UK Link
Multiplication Factor
TIMESCALES: Approx. 60 weeks (effort)
COMPLEXITY: Medium
SYSTEM IMPACTS:
Marketflow
SAP PO
SAP ISU
PROCESS IMPACTS:
SPA
RGMA
CSS Process

## Slide 4
Option | Description of Option | User Impacts | Benefits | Considerations
13 Hydrogen LDZs mirroring the existing LDZs (One Hydrogen LDZ associated with each physical LDZ (13)) | There are currently 13 LDZs throughout the industry which are the basis of multiple processes i.e., charging rates, demand estimation, Unidentified Gas (UIG). A further 13 LDZs that are specifically for the use of 100% hydrogen would be created by mirroring the existing LDZs with new LDZ identifiers (i.e., the hydrogen LDZ for SO could be HSO). MPRNs in one of the mirrored hydrogen LDZs will use a hydrogen CV to calculate energy. | Users will need to also replicate the LDZs in their systems/processes Users will need to identify the relevant MPRN by postcode (existing) and by identifying if the MPRN is included in a 100% hydrogen project Users will need to be able to transfer MPRN’s between existing LDZ’s and the mirrored hydrogen LDZ’s | Actual energy will be calculated (as it will be using the hydrogen CV) Can support the roll out of hydrogen following government decision(s) Multiple 100% hydrogen projects can be supported This option should enable a smoother transition as customers are moved from the gas LDZ through to the Hydrogen LDZ | As a new LDZ has never been created within the gas industry the impacts of this are untested both within central systems and other user systems Higher cost/effort prior to a decision on 100% hydrogen government decision Only been assessed against 100% hydrogen, hydrogen blend support not yet considered LDZ’s are a base data item for a number of users, not limited to the energy Industry, impact could be hard to assess outside of CDSP Will this work for a new Hydrogen code, outside of UNC? MPRNs will need to be identified as Hydrogen MPRN’s as we transition
Calorific Value (CV) | When calculating energy for MPRNs included in a 100% hydrogen trial a hydrogen CV will be used instead of the current FWACV/LDZ CV. The daily hydrogen CV will be excluded from Flow Weighted Average Calorific Value calculations and shared separately. | Users will need to identify the hydrogen project and use the applicable hydrogen CV when calculating energy Users will need to flow the hydrogen CV to smart metering | Actual energy will be calculated (as it will be using the hydrogen CV) Multiple 100% hydrogen projects can be supported Could potentially be used as a solution for blending projects as each project could have a different CV | This option excludes MPRNS from existing processes creating complexity and risk Natural Gas CVs are calculated at an LDZ level and published on MIPI – will the hydrogen CV be made available through the same mechanism A declared CV (rather than a calculated daily CV) could be used Only been assessed against 100% hydrogen, hydrogen blend support not yet considered

## Slide 5
Option | Description of Option | User Impacts | Benefits | Considerations
Conversion Factor (CF) | The Gas (Calculation of Thermal Energy) Regulations specifies the conversion factor that should be used to calculate energy. A specific conversion factor would be calculated and applied for MPRNs included in a project which would convert the energy to a natural gas energy equivalent | Users will need to use the specific conversion factor when calculating energy Users will need to flow the hydrogen conversion factor to smart metering | Minimal change to central systems/processes | Rather than calculate actual hydrogen energy, energy is transformed to a natural gas equivalent Changes may be required to regulations Where a specific conversation factor is required (AQ greater than 732,000) a separate hydrogen site specific conversation factor will need to be calculated for every impacted MPRN Only been assessed against 100% hydrogen, hydrogen blend support not yet considered
Multiplication Factor (MF) | A specific multiplication factor would be calculated and applied to a hydrogen meter through Market Domain Data (MDD). When the hydrogen meter is installed at a property the multiplication factor would convert the volume to a natural gas volume equivalent | Users will need to use the specific multiplication factor when calculating energy | This solution is being used for H100 (XRN5298) | Rather than calculate actual hydrogen volume, volume is transformed to a natural gas equivalent The multiplication factor does not form part of the volume/energy calculation in smart meters As the multiplication factor is added to MDD it can only be used for hydrogen (MDD cannot support one meter with different multiplications factors) Only been assessed against 100% hydrogen, hydrogen blend support not yet considered Large meters that require a actual multiplication factor will require a separate hydrogen multiplication factor to be calculated and applied in MDD

## Slide 6: Next Steps
Suppliers/Shippers to review impact of options on their own internal systems and provide an assessment of possible impacts with a suggested costing range (i.e. could cost from £150-350k) detailing system impacts such as slide 3.
Responses to be provided to the Xoserve Decarbonisation mailbox: box.xoserve.decarbonisation@xoserve.com no later than Friday 2nd December 2022.
The Xoserve Decarbonisation team will then collate all responses and create a shared view by Constituency or Persona (dependent upon the feedback received) and this consolidated view will be shared with the Hydrogen Village project teams to enable full costs to be built into the detailed designs.