|  |  |
| --- | --- |
| UNC Workgroup Report | At what stage is this document in the process? |

|  |  |
| --- | --- |
| UNC 0843:  Establishing the Independent Shrinkage Charge and the Independent Shrinkage Expert | A screenshot of a phone  Description automatically generated |
| **Purpose of Modification:**  To incentivise the reduction of greenhouse gas emissions and lower customer bills, this Modification introduces the role of the Independent Shrinkage Expert (ISE) who will establish:   * the Independent Shrinkage Model (ISM), * the Independent Shrinkage Model Methodology (ISMM), and * the Independent Shrinkage Charge (ISC). | |
| **Next Steps:**  The Workgroup recommends that this Modification should not be subject to Self-Governance  The Workgroup asks Panel to agree that this Modification should proceed to consultation.  The Workgroup asks Panel to agree that this Modification requires further assessment and should be returned to Workgroup.  The Panel will consider this Workgroup Report on 16 November 2023. The Panel will consider the recommendations and determine the appropriate next steps. | |
| **Impacted Parties:**  High: Consumers  Medium: Distribution Networks Operators, Shippers, Suppliers | |
| **Impacted Codes:**  UNC, Independent Gas Transporters UNC | |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Contents  [1. Summary 3](#_Toc146529852)  [2. Governance 6](#_Toc146529853)  [3. Why Change? 7](#_Toc146529854)  [4. Code Specific Matters 7](#_Toc146529855)  [5. Solution 7](#_Toc146529856)  [6. Impacts & Other Considerations 11](#_Toc146529857)  [*7.* Relevant Objectives 14](#_Toc146529858)  [8. Implementation 15](#_Toc146529859)  [9. Legal Text 16](#_Toc146529860)  [10. Recommendations 16](#_Toc146529861)  [11. Appendices 16](#_Toc146529862)  Timetable   |  |  | | --- | --- | | **Modification timetable:** | | | Pre-Modification Discussed | 23 March 2023 | | Date Modification Raised | 03 April 2023 | | New Modification to be considered by Panel | 20 April 2023 | | First Workgroup Meeting | 27 April 2023 | | Workgroup Report to be presented to Panel | 16 November 2023 | | Draft Modification Report issued for consultation | 17 November 2023 | | Consultation Close-out for representations | 08 December 2023 | | Final Modification Report available for Panel (at short notice) | 12 December 2023 | | Modification Panel decision | 14 December 2023 | | **Any questions?** |
| Contact:  **Joint Office of Gas Transporters** |
| Description: Description: email_us_go_online[**enquiries@gasgovernance.co.uk**](mailto:enquiries@gasgovernance.co.uk) |
| Description: Description: call_us**0121 288 2107** |
| Proposer:  **OVO Energy** |
| Description: Description: email_us_go_online **david.morley@ovo.com** |
| Description: Description: call_us **0330 303 5063** |
| Transporter:  **David Mitchell**  **Scotia Gas Networks** |
| Description: Description: email_us_go_online[**david.mitchell@sgn.co.uk**](mailto:david.mitchell@sgn.co.uk) |
| Description: Description: call_us **07799 343 082** |
| Systems Provider:  **Xoserve** |
| Description: Description: email_us_go_online[**UKLink@xoserve.com**](mailto:UKLink@xoserve.com) |

Summary

#### What

When all metered gas volumes are subtracted from gas volumes that flow into LDZs, there are two mechanisms via which to account for any missing gas: Shrinkage and Unidentified Gas (UIG). First Shrinkage is removed from the total missing gas and the rest is allocated to UIG. Shrinkage consists of Own Use Gas, Theft of Gas, and gas leaks.

Numerous independent studies have shown that Gas Distribution Networks (GDN) have continually underreported Shrinkage volumes for many years. See appendix 1 for a comprehensive list of studies in methane leaks. Throughout this modification inaccurate reporting of Shrinkage will be referred to as Shrinkage model error.

The purpose of this Modification is to enable the more accurate allocation of Shrinkage model error to Gas Distribution Networks (GDN). For avoidance of doubt, this modification does not seek to change LDZ Shrinkage Quantities, as calculated by GDNs under the Shrinkage and Leakage Model (SLM), nor does it seek to make changes to the SLM. What it does do is shift Shrinkage model error out of Unidentified Gas (UIG) by the application of a new charge.

As Shrinkage currently contributes to 1% of the UK’s total greenhouse gas emissions, inaccuracies in the Shrinkage and Leakage Model (SLM) damage the environment:[[1]](#footnote-1) RIIO-GD2 is undermined, and by pushing Shrinkage into UIG the true volume of Shrinkage is hidden from view, weakening incentives. UIG by comparison is heavily incentivised via theft reduction incentives, performance measures by UNC’s Performance Assurance Committee, capping the volume of UIG that can be retrieved from consumers, and more.

Currently, for the leakage element of Shrinkage, the SLM uses set leakage rates and multiplies these across the lengths of pipes that are in the ground, along with temperature and pressure data. This estimation method is shown to have flaws. For example:

1. Numerous studies show that Shrinkage volumes are understated.[[2]](#footnote-2) For example, Imperial College London’s study using direct air measurement shows that the leakage element of the SLM is misreported by 30-35%.[[3]](#footnote-3)
2. For Formula Year 2023/24 the Allocation of Unidentified Gas Statement (AUGS) has allocated UIG 8,497 GWh of the forecasted 11,713 GWh of UIG to known contributors. It is arguable that some or all the 3,216 GWh of unaccounted-for gas is attributable to under-reported Shrinkage levels.[[4]](#footnote-4) For comparison, 3,216 GWh is over double the volume of Shrinkage that is currently self-reported by GDNs.
3. IGT Shrinkage is set as 0 under the UNC, which is contrary to the 19 GWh of IGT Shrinkage that Shippers need to pay as UIG due to Shrinkage model error.
4. For formula year 2023/24 AUGS has allocated 6,823 GWh to the Theft of Gas contributor. This is a large variance from the 1,218 GWh of Theft of Gas that is forecast by the Retail Energy Code. It is arguable that some or all of the excess 5,605 GWh is attributable to Shrinkage model error.

Underestimating Shrinkage via Shrinkage model error directly increases in Unidentified Gas (UIG), as UIG is the balancing mechanism. This has the direct impact of inflating customer bills, as UIG is a line item in the Price Cap set by Ofgem.

Making changes to the SLM is problematic, as it is written into GDN’s licence conditions, and attempts to change the SLM are strongly resisted by GDNs. To get around such resistance, and to create an incentivisation mechanism that will follow lowest cost of implementation and least amount of change to current licences, this Modification does not propose to change the SLM or LDZ Shrinkage Quantities. The SLM can continue to be managed by the GDNs, and GDNs can continue to self-report Shrinkage volumes.

Instead, 0843 creates a new charge to ensure that Shrinkage model error is covered by the UNC Party that creates it: the Independent Shrinkage Charge (ISC)

The ISC will be calculated by the Independent Shrinkage Expert (ISE) as detailed in the “How” section and in the business rules.

#### Why

This Modification should be made to lower greenhouse gas emissions and customer bills. We are currently in a climate emergency, and as such also signed up to the COP 26’s Global Methane Pledge to reduce the output of methane by 30%.[[5]](#footnote-5)

If Daily Metered and Non-Daily Metered volumes are substituted from Total LDZ throughput, there are currently two mechanisms that are used to account for any gas that is missing: Shrinkage and Unidentified Gas (UIG). First Shrinkage is removed from any missing gas and the rest is deemed to be UIG. UIG is then distributed amongst Shippers by the independent expertise of the Allocation of an Unidentified Gas Expert (AUGE). If GDNs under-report Shrinkage the extra cost is ultimately fed through to the customer via the Shipper/Supplier relationship, as UIG is a line item in the Price Cap. In parallel, under the mains replacement programme, GDNs will also be under-incentivised to find and fix gas leaks. Unfortunately, Shippers have no way to reduce the causes of Shrinkage model error.

Making changes to the SLM is also met with strong resistance by GDNs – see Shrinkage Forum minutes throughout the years for attempts by Shippers to make GDNs accountable for Shrinkage model error - who are protective over their calculation. This is understandable: if GDNs were obliged to purchase 3 TWh of gas as it is found to be due to Shrinkage model error the financial impact would be significant. At a price cap of £0.08 per kWh, 3 TWh equates to £240,000,000. Around 12 TWh of UIG are currently paid for by Shippers.

Throughout the years, efforts to amend the SLM by Shippers have been disregarded by the GDNs. This has meant that most Shippers no longer attend the Shipper Forum. The argument against amending the SLM is usually that it is set in the licence and unalterable. Other arguments are based on the cost of making a change to the SLM being too expensive. If GDNs are underreporting Shrinkage by 30-35% as found in the independent study by ICL, then the business case for change is not only sufficient, it is compelling.

This Modification seeks to navigate around any licence concerns by creating a new mechanism that sits alongside the SLM but does not amend the SLM in any way. It also seeks to allay cost concerns, by implementing a role that will retrieve data based on its merits, rather than the inherent bias of an UNC Party.

#### How

To tackle the issue of Shrinkage model error, this Modification will create the role of Independent Shrinkage Expert (ISE) that shall be procured by the CDSP in line with the Framework for the Appointment and Operation of an Independent Shrinkage Expert as found in the appendices of this modification document.

The ISE will use Independent Shrinkage Model Methodologies (ISMM) to create an Independent Shrinkage Model (ISM) via which to estimate an independent account of Shrinkage model error.

The methodologies used by the ISE to create the ISM shall be the purview of the ISE. It is assumed by the modification proposer that methodologies employed by the ISE might include:

* utilising already extant pipeline data
* studies such as the leakage rates developed off the back of the National Leakage Tests
* those noted within the appendix:
  + Satellite data
  + Methane inventories
* direct measurement

NB: The inclusion of the above presumed methodologies is not to say that these should be used, as doing to would fetter the discretion and independence of the ISE. However, they have been included here as per the request of the 0843 workgroup.

The relevance of the ISE using data sources, and the costs associated with the retrieval of data from said sources, must be evidenced within their tender bid. Where the ISE identifies that costs required to be covered to fulfil the retrieval of data for the completion of the ISM is above what was agreed upon during the tender process, then such costs will be agreed upon within the DSC Contract Management Committee (CoMC) or a DSC CoMC Sub-Committee. Where there is potential for a split vote, due to Transporters abstaining from voting, for example, there will need to be a clear decision from CoMC on how 50/50 votes will be dealt with.

Having established methodologies for the upcoming year, the ISE will retrieve data to create their data set, as appropriate, and create an estimation of shrinkage model error, as described in the business rules. Where there is a difference between the LDZ Shrinkage Quantities (LSQ) estimated by the SLM and the Independent LDZ Shrinkage Quantities (ILSQ) estimated by the ISM, the ISE will recommend to the Authority, via the publication of the Independent Shrinkage Statement (ISS), the approval of the Independent Shrinkage Charge (ISC).

The IGT ISC will be calculated by subtracting IGT Shrinkage from Independent IGT Shrinkage Quantities (IISQ). E.g. If IGT Shrinkage is 0 GWh and IISQ is 10 GWh then the IGT ISC will be 10 GWh.

The GDN ISC will be calculated by subtracting LDZ Shrinkage Quantities and IGT ISC from Independent LDZ Shrinkage Quantities. E.g., if LDZ Shrinkage Quantities = 1000 GWh, the IGT ISC is 10 GWh and Independent LDZ Shrinkage Quantities = 1200 GWh, the ISC would be 190 GWh.

IGTs will purchase gas within the LDZ that their network resides, therefore minimising the impact to Gemini which currently works at LDZ level.

If the ISC(s) is approved by the Authority, Transporters and IGTs will be obliged to purchase volumes of gas to cover the ISC. If the ISC is a negative value, the ISC will not apply.[[6]](#footnote-6)

As with LDZ Shrinkage Quantities, the GDNs and IGTs will need to purchase gas to cover the ISCs via their Shipper on Gemini daily. The CDSP will load Daily ISC values into Gemini and the GDNs and IGTs will need to contract with a Shipper(s) to cover the Daily ISC. A small change to the Transporter licence may be required here to ensure that the GDN is not prohibited from buying the ISC.

As with LDZ Shrinkage Quantities, after the end of the Formula Year, the ISE will compare gas that that the ISE forecast to be lost via their ISM, and that which they observed being lost via the ISM. Where there is a difference then this value will need to be either returned to GDNs and IGTs or an additional charge will need to be levied. As with LDZ Shrinkage Quantities, the ISC will be subtracted from missing gas prior to UIG being apportioned to Shippers.

This should lower bills, as UIG is a line item in the Price Cap, and, by virtue of accurate cost allocation, incentivise GDNs and IGTs to fix sources of Shrinkage.

The Modification also proposes to introduce the Framework for the Appointment and Operation of an Independent Shrinkage Expert. Like the AUGE Framework, the CDSP will be used to procure the ISE.

NB: modification IGT165 has been established to ensure that the ISE is able to have jurisdiction over the IGTs.

Governance

#### Justification for Authority Direction

The Modification:

(i) is likely to have a material effect on:

(aa) existing or future gas consumers; and

(bb) competition in the shipping, transportation or supply of gas conveyed through pipes or any commercial activities connected with the shipping, transportation or supply of gas conveyed through pipes; and

(cc) the operation of one or more pipe-line system(s); and

(dd) matters relating to sustainable development, safety or security of supply, or the management of market or network emergencies; and

(ee) the uniform network code governance procedures or the network code Modification procedures; and

(ii) is unlikely to discriminate between different classes of parties to the uniform network code/relevant gas transporters, gas shippers or DN operators.

#### Requested Next Steps

This Modification should be considered a material change and not subject to Self-Governance.

This Modification is likely to have a material impact on existing and future gas consumers, by more accurately allocating Shrinkage.

Any delay in the implementation of this Modification will negatively impact the environment and customer bills, as detailed above.

#### Workgroup’s Assessment

*Workgroup’s Assessment of Governance and whether the Modification meets/continues to meet the Self-Governance criteria.*

Insert text here.

Why Change?

Greenhouse gases (GHG) pose an existential threat. This is recognised by the UK government in their [Net Zero Strategy](https://www.gov.uk/government/publications/net-zero-strategy):

“*We are at a crossroads in our history. As we recover from the impact of the pandemic on our lives and livelihoods, we know that it will not be enough to go back to the way things were before. The science is clear, we know that human activity is changing our climate and that this will have a devasting impact on human lives, the economy, and the natural world – ranging from the extinction of some species and the melting of ice caps to extreme weather patterns threatening our homes, businesses, and communities.”*

Methane is widely accepted to be 84x more potent than CO2 as a greenhouse gas. 16 TWh of methane that enters the gas distribution network is currently unaccounted for. Current rates of methane leaks are estimated off the back of the National Leakage Tests performed in 2002, which have been shown to be inaccurate. Inaccuracies in this test lead to the deficient application of RIIO-GD2. This change seeks to remedy that deficiency.

Code Specific Matters

#### Reference Documents

The AUGE currently exists under the AUG Framework. Work has been undertaken within 0828R to establish what an ISE Framework would look like. The ISE Framework should be based on principles of impartiality, environmentalism, and best outcomes for end-consumers.

Solution

**Mission statement**: The Independent Shrinkage Expert will remove Shrinkage model error from UIG by applying new charges to GDNs and IGT**:** the GDN Independent Shrinkage Charge (GDN ISC) and the IGT Independent Shrinkage Charge (ISC). By detailing rationale behind the calculation of Shrinkage model error within their annual statement, and by virtue of the application of the charge, the ISE will thereby incentivise Transporters to reduce the causes of Shrinkage model error. How this works is set out in the following business rules. NB: Arrangements for GDNs and IGTs to receive money to cover the cost of IGT ISC and GDN ISC are not detailed within this modification.

1. **Procurement:** As per the Framework, the Independent Shrinkage Expert (ISE), shall be appointed (procured via tender), and engaged by the CDSP through an ISE contract for the purposes of:
   1. developing an Independent Shrinkage Model (ISM), Independent Shrinkage Model Methodology (ISMM) and the Independent Shrinkage Statement (ISS) - to be clear:
      1. The ISMM are the techniques used to retrieve data sources that will feed into the ISM,
      2. the ISM is mechanism that interprets the ISMM to calculate the Independent Shrinkage Charge(s)
      3. The ISS is the document that describes how the ISMM have been used within the ISM to calculate the ISC
   2. estimating the Independent LDZ Shrinkage Quantities (ILSQ) and Independent IGT Shrinkage Quantities (IISQ) based on the ISM and ISMM; and calculating the Independent Shrinkage Charge (ISC) for both GDNs and IGTs and recommending to the Authority that this should be applied to the GDNs and IGTs
2. **Principles**: The ISE will be led by principles of impartiality (they shall not show bias towards any UNC Party), net-zero (all its activities in the operation of the role of ISE and the impacts of Shrinkage model error on UK’s environmental record shall be considered here), accuracy ( accurate underlying data that will enable Transporters to reduce the causes of leaks, for example), and best outcomes for end-consumers.
3. **Methodologies:** The ISE will use methodologies to create an Independent Shrinkage Model (ISM) via which to estimate an independent account of Shrinkage model error. The methodologies used by the ISE to create the ISM shall be known as the Independent Shrinkage Model Methodologies (ISMM).
   1. The methodologies used by the ISE to create the ISM shall be the purview of the ISE.
   2. These may or may not only be desk based if reasonable.
   3. The relevance of the prospective ISE using data sources, and the costs associated with the retrieval of data from said sources, must be evidenced within their tender bid, so that the Stakeholder Evaluation Panel, as formed by the CDSP for the purpose of evaluating tender bids, can make an informed choice as to thevalidity of the tender bid.
   4. Where ISE identifies that costs required to be covered to fulfil the retrieval of data for the completion of the ISM is above what was agreed upon during the tender process, then such costs will be agreed upon within the DSC Contract Management Committee, or a CoMC Sub-Committee.
      1. To be quorate there must be equal membership from both Transporters and Shippers
      2. In the absence of a clear majority vote (if GDNs abstain from voting for additional funds for the ISE, causing voting deadlock, for example) a 50% or greater vote in favour shall be an approval of funds. CoMC members will need to sign a non-disclosure agreement (NDA) for this purpose.
   5. The ISE may contract with third parties to provide data for the completion of the ISMM. Cost benefit analysis shall be required to evidence the requirement of a data collection activity.
   6. Interested parties can engage with the ISE on their ISMM during the consultation process.
   7. Topics that interested parties would like to be considered for inclusion within the ISMM by the ISE can be shared with the ISE outside of the consultation period via the Independent Shrinkage Sub-committee or in writing.
4. **Calculating the IGT ISC and the GDN ISC:**
   1. IGT ISC: The IGT ISC will be calculated by subtracting IGT Shrinkage from Independent IGT Shrinkage Quantities (IISQ). E.g. If IGT Shrinkage is 0 GWh and IISQ is 10 GWh then the IGT ISC will be 10 GWh.
   2. GDN ISC: The GDN ISC will be calculated by subtracting LDZ Shrinkage Quantities and IGT ISC(s) from Independent LDZ Shrinkage Quantities. Eg if LDZ Shrinkage Quantities = 1000 GWh, the IGT ISC is 10 GWh and Independent LDZ Shrinkage Quantities = 1200 GWh, the ISC would be 190 GWh.
5. **Recommending the ISC:** Where the GDN ISC and/or the IGT ISC are positive values, the ISE will recommend to the Authority their approval. Where there is an absence of a decision made by the Authority by the Shrinkage Deadline, which shall be [1] weeks prior to the start of the Formula Year, then the ISC shall apply. This needs to be driven by the CDSP timescales for loading Daily ISCs into Gemini.
6. **Negative ISC Values**: If the GDN ISC is a negative value, the GDN ISC will not apply. If the IGT ISC is a negative value, the IGT ISC will not apply. This shall still be reported to the Authority for consideration. For avoidance of doubt, the negative ISC can be applied by the GDNs as part of their SLM exercises, if they so choose.
7. **Effect on UIG**: As with LDZ Shrinkage Quantities, the GDN ISC and/or the IGT ISC will be subtracted from missing gas before UIG is apportioned to Shippers.
8. **Recovery of ISC:** If the GDN ISC and IGT ISC are approved by the Authority, Transporters and IGTs will be obliged to purchase volumes of gas to cover the respective ISCs. The same mechanism to purchase gas for Shrinkage will be employed for ISC. For the avoidance of doubt, the ISE, within the ISS, will divide the Yearly GDN ISC into Daily GDN ISC (365 equal parts), and will divide the Yearly IGT ISC into Daily IGT ISC (365 equal parts). CDSP will load the Daily ISC amounts into Gemini and GDNs and IGTs will contract with a Shipper(s) to purchase the respective ISCs. NB: for ease of implementation for the CDSP, the GDN ISC could be added to LDZ Shrinkage prior to loading into Gemini and could be considered under the XRN and not under 0843. IGTs will purchase gas within the LDZ that their network resides, therefore minimising the impact to Gemini which currently works at LDZ level. I.e., Gemini will not be required to operate at a level less granular than LDZ level due to 0843.
9. **Reconciliation of ISC**: following the application for the ISC for the coming year, the ISE will observe Shrinkage. After the Formula Year concludes, where observed Shrinkage is more or less than that which is accounted for under the LDZ Shrinkage Quantities and the ISC, and after the GDNs and IGTs have provided their revised LDZ Shrinkage Quantities, the ISE will issue a Reconciliation Statement. This will contain rationale for change, and updated ISC, and Yearly and Daily ISC values. Examples:
   1. Where the observed ILSQ remain the same, but LSQ reduce then the ISC will increase; or
   2. Where the observed ILSQ increases by 100GWh, and LSQ decrease by 100GWh then the ISC will increase by 200 GWh; or
   3. Where observed ILSQ decreases below the LSQ, then the ISC will be 0.
   4. The GDNs will issue the reconciliation statement for the SLM by 31st July following the conclusion of the Formula Year, and the ISC reconciliation will need to wait for this event to conclude before being completed.
10. **Reconciliation of ISC continued:** where reconciliation increases ISC, increased Daily ISC will need to be recovered by the GDNs. Where reconciliation decreases ISC, this will go into the Amendment Invoice – the Amendment Invoice is detailed in UNC Section S.
11. **ISM Review**: The ISE will review the ISM on an annual basis, as per timetable set out in the Framework.
12. **ISE Data Retrieval**: The ISE will be able to request relevant data from UNC Parties and UNC Parties will not be able to unreasonably withhold that data. Non-compliances can be escalated to the Authority. Data shall be transferred and stored securely. Data shall be provided by UNC Parties promptly within timeframes stipulated by the ISE to enable ISE to collate the ISMM and ISM. For avoidance of doubt, the ISE will need to be added to the Data Permissions Matrix. For the AUGE process, in UNC there is a clause related to data being provided: *“9.4.5 Each Transporter and User shall, to the extent provided in the AUG Statement, cooperate with and provide data to the AUG Expert in connection with the preparation of the AUG Table. Something similar could be applied for the ISE process and creation of the ISM.”*
13. **Engagement with the ISE**: The ISE will enable engagement with their activity via the Independent Shrinkage Sub-Committee, formed under UNCC, and attended by ISE, CDSP and interested parties, such as AUG Sub-Committee. This is a review group to seek consensus on topics, it is not a decision-making group. Topics that interested parties would like to be considered by the ISE can be shared with the ISE outside of the consultation period via the Independent Shrinkage Sub-committee or in writing.
14. **Granularity**: The GDN and IGT ISCs shall be applied at LDZ level to enable them to be deducted from UIG.[[7]](#footnote-7) IGTs may operate in several LDZs. Where this is the case, the IGT may be required to cover several IGTs ISCs. These will be recouped at the LDZ level.
15. **IGT Shrinkage**: . For the avoidance of doubt, where the ISC is applied to an IGT, and volumes of gas charged to the IGTs must not also be charged to GDNs. The IGTAD will need to be amended to ensure that the IGTs are mandated to purchase Daily IGT ISC volumes. The method that they will use to pay the ISC will be the same as GDNs and is detailed in appendix 4. In short, CDSP will load Daily IGT ISC values into Gemini, and the IGTs will need to contract with a Shipper(s) to purchase gas volumes.
16. **Timetable**: The ISE will adhere to the timetable set out in the Framework.
17. **Independent Shrinkage Statement:** The ISE shall develop the Independent Shrinkage Statement as set out in the Framework. A Framework Document “Framework for the Appointment and Operation of an Independent Shrinkage Expert” must be published as a UNC Related Document. The initial content of the Framework Document is provided as an Appendix to this modification proposal. The Framework Document may be modified if The UNCC votes by majority vote in favour of a proposed change. Whilst the ISCs are applied at LDZ level, the data contained within the ISS will, where appropriate, be more granular, to assist pipeline owners to resolve causes of Shrinkage model error.
18. **Funding**: Gas Distribution Networks and IGTs will fund the role of the ISE in a split that is so determined by the XRN. Funding areas that will need to be allocated: Gemini development and any other impacted systems, contract establishment, contract variation. The precedent here is that AUGE is 100% Shipper funded.

Further solution notes:

1. **Cost recovery**: For the avoidance of doubt, TPD E9.3 stipulates the terms of engagement and cost recovery for the AUGE, and an equivalent piece of legal drafting may be needed for the ISE. Interested parties can engage with the ISE on their ISMM during the consultation process.
2. **Transmission Shrinkage:** For the avoidance of doubt, Transmission Shrinkage is out of scope of this Modification. Transmission already accounts for all Shrinkage and does not use UIG as a balancing mechanism. It can therefore be appropriately incentivised by Ofgem without additional analysis.
3. **Licence Changes**: For avoidance of doubt, the Special Conditions of the Gas Transporter Licence prohibit GDNs from purchasing gas other than that needed to cover Shrinkage. As this is a new charge, the Authority will need to consider whether a licence change is needed. The modification proposer is not aware of a similar requirement for IGTs, but licence changes for IGTs may need to be considered.
4. **ISMM Assumptions:** The methodologies used by the ISE to create the ISM shall be the purview of the ISE. It is assumed by the modification proposer that methodologies employed by the ISE might include:
   1. utilising already existing pipeline data
   2. studies such as the leakage rates developed off the back of the National Leakage Tests
   3. those noted within the appendix eg Imperial College London’s study which notes ~30% more methane above London than is currently reported by GDNs
   4. potentially direct measurement.
5. **Appeals:** for the avoidance of doubt, the Authority can be consulted where a UNC Party has concerns as regards the processes that are implemented under 0843 or IGT165.

Impacts & Other Considerations

#### Does this Modification impact a Significant Code Review (SCR) or other significant industry change projects, if so, how?

No

#### Consumer Impacts

Consumers: Reducing gas leaks will reduce greenhouse gas emissions. Reducing methane emissions facilitates Net Zero. As less gas would be lost to the atmosphere, wholesale gas costs, Shrinkage costs, and UIG costs will be reduced, ultimately lowering bills.

This aligns with Ofgem’s strategic vision:

* facilitating net zero
* energy consumers receiving good value energy services
* minimise costs
* a data-enabled energy sector.

#### What is the current consumer experience and what would the new consumer experience be?

Direct bill costs: all consumer groups (Domestic Consumers; Small non-domestic Consumers; Large non-domestic Consumers; Very Large Consumers) currently pay for gas leaks at a rate that could be 35% higher than is currently incentivised under RIIO-GD2. This mod would ensure that GDNs are appropriately incentivised, thereby reducing consumer costs and increasing confidence in the reliability of energy infrastructure.

Environmental cost: the environmental impact of gas leaks on all consumer groups is higher. The knock-on impacts of greenhouse gases on the climate crisis are much higher. This mod would ensure that GDNs are appropriately incentivised, thereby reducing the environmental impact of natural gas leaks in the UK.

|  |  |
| --- | --- |
| Impact of the change on Consumer Benefit Areas: | |
| Area | Identified impact |
| Improved safety and reliability  This change would mean that the energy system can operate more safely and reliably in the future in a way that benefits end consumers. Gas leaks are dangerous - as this Modification would incentivise the reduction of gas leaks, it would also reduce the inherent danger of gas leaks. | Positive |
| Lower bills than would otherwise be the case  Better incentivisation, will reduce costs attributable to gas lost from the system and knock on environmental costs. This will lower bills and help protect the environment. | Positive |
| Reduced environmental damage  This will reduce greenhouse gas emissions by incentivising the reduction of Shrinkage, supporting the journey to net zero. Natural gas is a potent greenhouse gas that is 84x more potent than CO2. Approximately 16 TWh of gas were lost from the total system in 2021/22. It will support the decoupling of leak estimation from party bias. Via accurate calculation of the environmental impact of gas leaks, it will support decisions on how to move away from GHG-intensive energy supply in the UK. | Positive |
| Improved quality of service  Increases confidence in customers that our gas system is operated efficiently | Positive |
| Benefits for society as a whole  As above: this Modification would lower bills and GHG emissions. The economic impacts of climate change are detailed within the [linked government webpage](https://www.gov.uk/guidance/climate-change-explained). | Positive |

#### Cross-Code Impacts

IGTs may need to have an equivalent Modification. 19 GWh of IGT Shrinkage is currently purchased by Shippers via UIG, as detailed in the AUG Statement.

*There may be a prohibition in Special Condition D4 of the Transporter licence that prevents GDNs purchasing gas other than to cover Shrinkage – need to fact check – might need a licence change here.*

#### EU Code Impacts

N/a

#### Central Systems Impacts

The new charge to cover ISE costs may need to be considered.

**Rough Order of Magnitude (ROM) Assessment** *(Cost estimate from CDSP)*

#### Cost estimate from CDSP where the Modification relates to a change to a CDSP Service Document

Insert text here.

**Performance Assurance Considerations**

#### The Workgroup must consider any areas which PAC will need to monitor as a result of implementation if this Modification

Insert text here.

**Initial Representations** *(Joint Office to complete)*

#### The Workgroup must provide an assessment against any Initial Representations. The Representations must also be appended to the PDF version of this report.

None Received or Insert text here**.**

#### Panel Questions (Joint Office to complete)

#### The Workgroup must provide an assessment against each of the Panel Questions

**‘Impact on price control incentives’.**

The Proposer confirmed for Workgroup on 25 May 2023 that Ofgem declined to stipulate whether the ISC would be a passthrough cost, and they noted that they would probably need to issue a consultation to discover impacts.

Workgroup response:

#### Workgroup Impact Assessment (Joint Office to complete)

Insert text here.

Notes from 11 July 2023 Workgroup meeting

* Interaction between this mod and 0850 – are they still mutually exclusive? SM view to come
* Decision making involved in implementing the mod worked out through workgroup assessment
* How to decide upon ISE contract/ cost variations, implications for tender validity – DSC CoMC
* Consideration of framework (in appendix)
* Negative shrinkage charge not considered unless DNs come up with a mechanism (BRx)
* BR6 DNs can modify their SLM in future years
* Values input into Gemini will be one value which is a combo of the DN abd ISC value (BR8)
* BR9
* BR10
* BR15 appeal – no need for this to be a BR
* BR16 IGT systems change – would this also be funded by DNs? Will be discussed at Thursday 13/7 IGT workstream meeting.

Relevant Objectives

|  |  |
| --- | --- |
| Impact of the Modification on the Transporters’ Relevant Objectives: | |
| Relevant Objective | Identified impact |
| a) a) Efficient and economic operation of the pipe-line system. | Positive |
| b) b) Coordinated, efficient and economic operation of  (i) the combined pipe-line system, and/ or  (ii) the pipe-line system of one or more other relevant gas transporters. | Positive |
| c) c) Efficient discharge of the licensee's obligations. | Positive |
| d) d) Securing of effective competition:  (i) between relevant shippers;  (ii) between relevant suppliers; and/or  (iii) between DN operators (who have entered into transportation arrangements with other relevant gas transporters) and relevant shippers. | Neutral |
| e) e) Provision of reasonable economic incentives for relevant suppliers to secure that the domestic customer supply security standards… are satisfied as respects the availability of gas to their domestic customers. | Positive |
| f) f) Promotion of efficiency in the implementation and administration of the Code. | Neutral |
| g)g) Compliance with the Regulation and any relevant legally binding decisions of the European Commission and/or the Agency for the Co-operation of Energy Regulators. | Positive |

“Efficient and economic operation of the pipe-line system” - this mod will incentivise the reduction of gas leaks leading to efficiency in the operation of the pipe-line system. It will also lead to economic improvements via the accurate allocation of costs for the operation of the pipe-line system. “Efficient discharge of the licensee's obligations” this is positive as licensees are obliged to ensure that the environment is not negatively impacted and that accuracy in data is maintained and assured independently. “Provision of reasonable economic incentives for relevant suppliers to secure that the domestic customer supply security standards… are satisfied as respects the availability of gas to their domestic customers.” Via lowering UIG, this will be achieved by making the price cap more accurately reflective of actually costs. “Compliance with the Regulation and any relevant legally binding decisions of the European Commission and/or the Agency for the Co-operation of Energy Regulators” - facilitates net zero.

#### Workgroup Assessment of Relevant Objectives

#### The Workgroup must provide an assessment of how the Relevant Objectives are furthered and respond to what the proposer has provided

Insert text here

|  |  |
| --- | --- |
| Impact of the Modification on the Transporters’ Relevant Charging Methodology Objectives: | |
| Relevant Objective | Identified impact |
| a) a) Save in so far as paragraphs (aa) or (d) apply, that compliance with the charging methodology results in charges which reflect the costs incurred by the licensee in its transportation business; | Positive |
| aa) aa) That, in so far as prices in respect of transportation arrangements are established by auction, either:   1. no reserve price is applied, or 2. that reserve price is set at a level -   (I) best calculated to promote efficiency and avoid undue preference in the supply of transportation services; and  (II) best calculated to promote competition between gas suppliers and between gas shippers; | Positive |
| b) b)That, so far as is consistent with sub-paragraph (a), the charging methodology properly takes account of developments in the transportation business; | Neutral |
| c) c) That, so far as is consistent with sub-paragraphs (a) and (b), compliance with the charging methodology facilitates effective competition between gas shippers and between gas suppliers; and | Neutral |
| d) d) That the charging methodology reflects any alternative arrangements put in place in accordance with a determination made by the Secretary of State under paragraph 2A(a) of Standard Special Condition A27 (Disposal of Assets). | Neutral |
| e) e)Compliance with the Regulation and any relevant legally binding decisions of the European Commission and/or the Agency for the Co-operation of Energy Regulators. | Positive |

A)Is achieved, as costs are pushed to the correct parties (Transporters), aa) is better achieved as it will allow transporters to better price their services, e) is better achieved as it aligns with net-zero.

#### Workgroup Assessment of Relevant Objectives

#### The Workgroup must provide an assessment of how the Relevant Objectives are furthered and respond to what the proposer has provided

Insert text here

Implementation

Implementation should be as soon as possible after approval by the Authority.

There does not appear to be a mechanism to allow this modification to be managed in terms of the changes required to pass through (GD2/licence or GD3/licence) (Because Shrinkage is pass through.)

DNs prohibited from purchasing gas under SC D4, but if this is shrinkage gas then the D6 will allow purchase of

Legal Text

See the Framework for the Appointment of an Independent Shrinkage Expert for suggested text. It is also expected that legal text within Section N of the TPD amongst other areas will need to be updated.

*Legal text will be drawn up by the relevant Transporter at a time when the modification is sufficiently developed in line with the* [Legal Text Guidance Document](http://www.gasgovernance.co.uk/sites/default/files/Legal%20Text%20Guidance%20Document%20Revision%20v2.0.pdf).

Legal Text has been provided by [name] and is [included below/published alongside this report].

#### Workgroup Assessment

*Workgroup’s Assessment of the proposed changes and how these meet the intent of the Solution.*

The Workgroup has considered the Legal Text and is satisfied that it meets the intent of the Solution.

#### Text Commentary

Insert text here.

#### Text

Insert text here.

Recommendations

#### Workgroup’s Recommendation to Panel

The Workgroup asks Panel to agree that this Modification should proceed to consultation.

The Workgroup asks Panel to agree that this Modification requires further assessment and should be returned to Workgroup.

Appendices

#### Appendix 1 - Literature Review – methane measurement - academic papers

Contents:

1. (2023) Major UK methane greenhouse gas leak spotted from space
2. (2022) Continuous CH4 and δ13CH4 measurements in London demonstrate under-reported natural gas leakage
3. (2022) Street-level methane emissions of Bucharest, Romania and the dominance of urban wastewater
4. (2019) Assessing London CO2, CH4 and CO emissions using aircraft measurements and dispersion modelling
5. (2017) Characterization of interferences to in situ observations of δ13CH4 and C2H6 when using a cavity ring-down spectrometer at industrial sites
6. (2016) Spatial and temporal variability of urban fluxes of methane, carbon monoxide and carbon dioxide above London, UK
7. (2017) Natural gas and climate change

**1. (2023) Major UK methane greenhouse gas leak spotted from space**

<https://www.bbc.co.uk/news/science-environment-66811312>

Wales and West Utilities over a three month period leaked gas that could have powered 7,500 homes for a year. University of Leeds worked with GHGSat, a satellite data company, and Royal Holloway University of London, who provided on ground measurement, to detect and quantify the leak (awaiting academic literature).

**2. (2022) Continuous CH4 and δ13CH4 measurements in London demonstrate under-reported natural gas leakage**

<https://acp.copernicus.org/articles/22/3595/2022/acp-22-3595-2022-discussion.html>

Long-term methane stable isotope analysis coupled with mole fraction measurement has been used to link isotopic signature to gas leaks in London, UK.

Location: Imperial College London, Huxley roof

Method: δ13CH4 values were made using a Picarro G2201-i isotopic analyser beginning in early 2018; 2 years continuous measurements 2018 - 2020. Simulations completed with UK Met Office Lagrangian dispersion model NAME.

Results: Isotopic source values revealed a predominance of natural gas CH4 with source values higher than -45 ‰ in ~74-80 % of the afternoon data. In contrast, simulated sectoral contributions using UK NAEI and EDGAR inventories showed the largest fractions from waste sectors, leading to a simulated underestimation of observed δ 13CH4.

These results suggest that natural gas leaks in London are under-reported in both inventories. The underestimation of mole fractions in the NAEI-25km and NAEI-2km might be accounted for by missing natural gas emissions in the NAEI inventory for London.

UK NAEI emissions are approximately 2.5 times smaller than the EDGAR emissions for the London area, but 8 % smaller than the EDGAR emissions across the UK.

Subtracting the 25 km NAEI emissions from the 25 km EDGAR emissions shows largest differences between inventories were in: London, Birmingham and the Leeds-Sheffield area, which have higher emissions in the EDGAR inventory.

**3. (2022) Street-level methane emissions of Bucharest, Romania and the dominance of urban wastewater**

<https://doi.org/10.1016/j.aeaoa.2022.100153>

An example of a city-level study that explores the source apportionment of methane emissions. (A paper similar to this one for London is soon to be published).

Abstract: “*Mobile surveys were conducted in the urban areas of Bucharest while continuously measuring CH4 and C2H6 for locating enhanced CH4 mole fractions above local atmospheric background, which are referred to as a leak indication (LI). The flux rates were determined for identified clusters of LIs. An annual city-wide total emission estimate was calculated by scaling up the flux rates. Multiple locations, where CH4 exceeded the daily atmospheric background mole fractions, were measured for δ13CCH4, δ2HCH4, and C2:C1 ratios for tracing contributing CH4 sources. As Europe seeks to cut urban emissions, studies like this will be useful for identifying targets for mitigating emissions and for assessing future governmental regulation of greenhouse gas (GHG) emissions*.”

**4. (2019) Assessing London CO2, CH4 and CO emissions using aircraft measurements and dispersion modelling**

<https://doi.org/10.5194/acp-19-8931-2019>

Pitt, J. R., Allen, G., Bauguitte, S. J.-B., Gallagher, M. W., Lee, J. D., Drysdale, W., Nelson, B., Manning, A. J., and Palmer, P. I.: Atmos. Chem. Phys., 19, 8931–8945.

Abstract: “*We present a new modelling approach for assessing atmospheric emissions from a city, using an aircraft measurement sampling strategy similar to that employed by previous mass balance studies. Unlike conventional mass balance methods, our approach does not assume that city-scale emissions are confined to a well-defined urban area and that peri-urban emissions are negligible. We apply our new approach to a case study conducted in March 2016, investigating CO, CH4 and CO2emissions from a region focussed around Greater London using aircraft sampling of the downwind plume. For each species, we simulate the flux per unit area that would be observed at the aircraft sampling locations based on emissions from the UK national inventory, transported using a Lagrangian dispersion model. To reconcile this simulation with the measured flux per unit area, assuming the transport model is not biased, we require that inventory values of CO, CH4 and CO2 are scaled by 1.03, 0.71 and 1.61, respectively. However, our result for CO2 should not be considered a direct comparison with the inventory which only includes anthropogenic fluxes*.”

**5. (2017) Characterization of interferences to in situ observations of δ13CH4 and C2H6 when using a cavity ring-down spectrometer at industrial sites**

<https://doi.org/10.5194/amt-10-2077-2017>

“An example study conducted on a UK compressor station, carried out by the LSCE Paris group a few years ago now and linked with an NPL survey of the site. This was from the early days of the laser-based instruments and there were difficulties in extracting good ethane data.” (Dave Lowry, RHUL)

**6. (2017) Evaluating methane inventories by isotopic analysis in the London region** <https://www.nature.com/articles/s41598-017-04802-6>

Abstract: “*A thorough understanding of methane sources is necessary to accomplish methane reduction targets. Urban environments, where a large variety of methane sources coexist, are one of the most complex areas to investigate. Methane sources are characterised by specific δ13C-CH4 signatures, so high precision stable isotope analysis of atmospheric methane can be used to give a better understanding of urban sources and their partition in a source mix. Diurnal measurements of methane and carbon dioxide mole fraction, and isotopic values at King’s College London, enabled assessment of the isotopic signal of the source mix in central London. Surveys with a mobile measurement system in the London region were also carried out for detection of methane plumes at near ground level, in order to evaluate the spatial allocation of sources suggested by the inventories. The measured isotopic signal in central London (−45.7 ±0.5‰) was more than 2‰ higher than the isotopic value calculated using emission inventories and updated δ13C-CH4 signatures. Besides, during the mobile surveys, many gas leaks were identified that are not included in the inventories. This suggests that a revision of the source distribution given by the emission inventories is needed*.”

**7.(2017) Origins and trends in ethane and propane in the United Kingdom from 1993 to 2012** <https://www.sciencedirect.com/science/article/pii/S1352231017301103>

Abstract: “*Continuous, high frequency in situ observations of ethane and propane began in the United Kingdom in 1993 and have continued through to the present day at a range of kerbside, urban background and rural locations. Whilst other monitored C2 – C8 hydrocarbons have shown dramatic declines in concentrations by close to or over an order of magnitude, ethane and propane levels have remained at or close to their 1993 values. Urban ethane sources appear to be dominated by natural gas leakage. Background levels of ethane associated with long range transport are rising. However, natural gas leakage is not the sole source of urban propane. Oil and gas operations lead to elevated propane levels in urban centres when important refinery operations are located nearby. Weekend versus weekday average diurnal curves for ethane and propane at an urban background site in London show the importance of natural gas leakage for both ethane and propane, and road traffic sources for propane. The road traffic source of propane was tentatively identified as arising from petrol-engine motor vehicle refuelling and showed a strong downwards trend at the long-running urban background and rural sites.* ***The natural gas leakage source of ethane and propane in the observations exhibits an upwards trend whereas that in the UK emission inventory trends downwards****. Also,* ***inventory emissions for natural gas leakage appeared to be significantly underestimated compared with the observations. In addition, the observed ethane to propane ratio found here for natural gas leakage strongly disagreed with the inventory ratio***.”

**8. (2016) Spatial and temporal variability of urban fluxes of methane, carbon monoxide and carbon dioxide above London, UK**

<https://acp.copernicus.org/articles/16/10543/2016/acp-16-10543-2016-discussion.html> Long-term (3-year) measurements on methane fluxes in London.

Results: The wintertime increase above background in CH4 concentrations and the accompanying enrichment in δ 13C were consistent with North Sea natural gas and attributed to losses of CH4 from over-pressurized pipelines in response to (or anticipation of) an increase in demand and to incomplete combustion upon boiler ignition.

Annual CH4 emissions (72 tons km−2) were more than double the LAEI value suggesting that sources are not as well characterized by the inventory. A shortfall in inventoried CH4 emissions can be explained by the existence of temperature-dependent sources related to natural gas usage and perhaps also of biogenic origin (e.g. sewage).

**9. (2017) Natural gas and climate change**

<https://pure.manchester.ac.uk/ws/portalfiles/portal/60994617/Natural_Gas_and_Climate_Change_> Anderson\_Broderick\_FOR\_DISTRIBUTION.pdf

Policy support paper that covers many aspects of natural gas and climate change, concluding that: *“By 2035 the substantial use of fossil fuels, including natural gas, within the EU’s energy system will be incompatible with the temperature commitments enshrined in the Paris Agreement.”*

The paper cites uncertainty in methane leakage (*from across the full supply chain, not specific to downstream distribution networks*) as critical in understanding the role that natural gas may play as a viable bridging fuel in the transition to a low carbon economy:

*“In order to quantify the maximum level of EU natural gas consumption compatible with existing EU targets and the Paris Agreement, the relative lifecycle carbon intensity of a range of potential natural gas sources must be more fully understood,* ***particularly methane leakage****.”*

The research alludes to the challenge of super-emitter sources and the difficulty in identifying and assessing them:

“*The production and distribution of natural gas releases methane both deliberately and inadvertently. The exact amount varies widely across locations and production technologies, and through time at a given location.* ***Close monitoring shows that in most supply chains a small number of sites, or pieces of equipment, are responsible for a large proportion of methane emissions, however, they are difficult to identify a priori.*** *Leakage rates affect the relative contribution of methane to the climate change impact of natural gas supply chains*.”

**10. (2015) Plume mapping and isotopic characterisation of anthropogenic methane sources** <https://www.sciencedirect.com/science/article/abs/pii/S1352231015002538>

Methane stable isotope analysis coupled with mole fraction measurement has been used to link isotopic signature to methane emissions from landfill sites, coal mines and gas leaks in UK.

Location: London and SE England

Method: Targeted areas, when the methane plume was intercepted, air samples were collected and analysed using δ13C–CH4 isotopic analysis by CF-GC-IRMS (high precision method).

Results: Methane from landfill isotope signatures −60.2 ± 1.4 to −55.2 ± 0.6‰. Methane of constant origin for the methane of −36.3 ± 0.3‰ consistent with a dominantly thermogenic North Sea gas source. It suggests that there are other leaks in the gas distribution system along with the storage tank (“gasometer”) that is located in the middle of the transect. 24 ppm north of Bacton where pipelines bring all southern and much northern North Sea Norwegian gas onshore, as well as gas from the interconnector pipeline to Belgium. Samples collected had 13C signatures of 36.3 ± 0.3‰ and −35.7 ± 1.2‰.

**11. (2023) Fugitive Methane Across the UK Gas Distribution Network from Terminals to Cities: Characterisation and Methodology Development** <https://meetingorganizer.copernicus.org/EGU23/EGU23-15766.html>

#### Appendix 2 - Framework for the Appointment and Operation of an Independent Shrinkage Expert

**Document Control**

|  |  |  |
| --- | --- | --- |
| **Version** | **Date** | **Reason for Change** |
| 0.1 | 10/01/2023 | First Draft |
| 0.2 | 13/02/2023 | Suggestions from 0828R meeting 2 |
| 0.3 | 22/02/2023 | Suggestions from 0828R meeting 3 |
| 0.4 | 21/03/2023 | Suggestions from 0828R meeting 4 |
| 0.5 | 10/06/2023 | Suggestions from 0843 |

**Preamble**

1. Development of Rules

2. Modifications

3. Approved Modifications

**Main body**

1. Definitions

2. The Framework

3. Responsibilities under the tender process for the position of ISE

4. Tendering process

5. Generic Terms of Reference for Appointed ISE

6. Responsibilities for the creation of the ISE

7. Creation of ISMM

8. Creation of ISM

**Appendix**

1. Text to be added to Section N of the UNC’s Transportation Principal Document 10

**Preamble**

**1. Development of Rules**

The requirement to have in place a “Shrinkage and Leakage Model” (SLM) is specified in the Special Standard Conditions of the Transporter Licence. This Framework for the Appointment and Operation of an Independent Shrinkage Expert (hereafter the “Framework”) will detail how the Independent Shrinkage Expert (ISE) will annually develop the Independent Shrinkage Model (ISM), Independent Shrinkage Model Methodology (ISMM), and the Independent Shrinkage Statement (ISS) to create an accurate account of Shrinkage model error. Where there is a difference between the quantity of Shrinkage that is calculated via the SLM and ISM, the ISE will recommend to Ofgem that an Independent Shrinkage Charge (ISC) is used. If approved by Ofgem, Transporters will be obliged to purchase gas to cover the ISC.

**2. Modifications**

Should a Code Party or the CDSP wish to propose modifications to any of the Framework, such proposed modifications shall be submitted to the Uniform Network Code Committee and considered by the Uniform Network Code Committee or any relevant sub-committee where the Uniform Network Code Committee so decide by majority vote. For avoidance of doubt, if the proposed change to the Framework requires a contractual change, this will be managed by the CDSP

**3. Approved Modifications**

In the event that a proposed modification is approved by a majority vote of the Uniform Network Code Committee, the modification shall be implemented.

Where the Uniform Network Code Committee fails to achieve majority approval, the proposed modification shall be considered in accordance with the provisions set out in Section 7 of the Uniform Network Code Modification Rules unless the Uniform Network Code Committee determines otherwise.

Each revised version of a Document shall be version controlled and retained by the Joint Office on their website.

**Main body**

**1. Definitions**

1.1 Unless otherwise stated, terms in this **Framework for the Appointment and Operation of an Independent Shrinkage Expert** (this “Framework”) shall have the meanings given to them in the Uniform Network Code. Such terms will be capitalised within quotation marks where first used in the Framework.

1.2 In this Framework:

● “The Committee” - The Uniform Network Code Committee (UNCC), or an authorised technical workstream or sub committee appointed by the UNCC to administer the Independent Shrinkage Expert process.

● The Independent Shrinkage Sub-Committee (ISSC) - is a sub-committee of the UNCC. It meets monthly to discuss the development of the ISMM, ISM, ISS, ISC, and related matters. It is not a decision-making body. It is attended by the ISE, CDSP, and interested parties.

● DSC CoMC Sub-Committee – as the ISSC is not a decision-making group, decisions on contract variations will need to be managed via an c DSC CoMC Sub-Committee stood up specifically for contract variation discussions. This group will likely need to be NDA’d.

● “Code Parties” – signatories to the Uniform Network Code

● “Generic Terms of Reference” – the standard terms of reference to be applied as basis of the contracts between the CDSP and the ISE for the maintenance of the Shrinkage Model

● “Stakeholder Evaluation Panel” – a group of interested parties (including the CDSP), drawn from or nominated by DSC CoMC, who will participate in the development of procurement materials (including terms and conditions) and the selection of a preferred tenderer for the role of ISE.

**2. The Framework**

The process described here sets out:

● ISE appointment;

● Publication of the Independent Shrinkage Model (ISM) and Independent Shrinkage Model Methodology (ISMM) within the Independent Shrinkage Statement (ISS);

● High level process for the maintenance and development of the ISM and the ISMM;

● ISE principles

○ In all activity undertaken by the ISE, including creating new or updated iterations of the National Leakage Tests (NLT) (if deemed appropriate by the ISE – for avoidance of doubt the GDNs can continue to use whatever information they deem to be accurate in the SLM) through innovation, shall be administered via the principles of: impartiality (they shall not show bias towards any UNC Party), net-zero (all its activities in the operation of the role of ISE and the impacts of Shrinkage model error on GB’s environmental record shall be considered here), accuracy ( accurate underlying data that will enable Transporters to reduce the causes of leaks, for example), and best outcomes for end-consumers.

**3. Responsibilities under the tender process for the position of ISE**

3.0 The Committee may delegate its obligations for the definition of criteria for appointment and for overseeing the selection process to the Stakeholder Evaluation Panel (this should be made up of as equal as possible variance of parties to ensure impartiality).

3.1 The CDSP, on behalf of the Committee, and in conjunction with a Stakeholder Evaluation Panel will:

3.1.1 Produce a clear set of criteria for the appointment of the ISE detailing (without limitation):

(a) the ability of the ISE to produce the ISM and the ISMM which shall be in line with the Generic Terms of Reference, contained in this Framework plus any other criteria agreed by The Committee;

(b) the evaluation of the cost of undertaking the role of the ISE over the period stated in the tender document;

(c) the consideration of the relevant knowledge and expertise of the candidates; and

(d) ability of the prospective ISE to follow and consider relevant industry developments. E.g. new studies into leakage rates, new studies into Own Use Gas deficiencies, outputs from other initiatives such as the Digital Platform for Leakage Analytics. Such relevant research should be evidenced within the ISS, regardless of whether the research has any impact on the calculation of the ISCs to ensure research traceability.

3.1.2 The CDSP and Code Parties can review this Framework and submit for approval to the UNCC any proposed amendments.

3.2 The CDSP, in conjunction with the Stakeholder Evaluation Panel, will:

3.2.1 use the criteria developed under 3.1 to assess each submitted tender bid;

3.2.2 where more than one prospective candidate responds to the tender for the position of ISE (“the Interested Parties”) the Stakeholder Evaluation Panel shall:

(a) Assess the interested parties from the criteria specified in the tender document;

(b) Select and appoint the appropriate interested party as the “Prospective ISE”.

3.2.3 organise any meetings held in relation to the ISE appointment;

3.2.4 for avoidance of doubt, provide commercial resource to prepare a tender document;

3.2.5 organise the advertisement of the tender to all interested parties, in accordance with relevant legislation;

3.2.6 communicate to Code Parties the progress and outcome of the tender process;

3.2.7 invite the Prospective ISE to take up the appointment;

3.2.8 where the selected ISE does not accept the appointment, invite the next most favoured ISE in turn; and

3.2.9 upon acceptance of appointment, establish the contract with the Prospective ISE, in accordance with the Generic Terms of Reference.

**4. Tendering process**

4.1 This section details the processes undertaken by the CDSP, to appoint an ISE using a tender process.

4.1.1 The CDSP, in conjunction with the Stakeholder Evaluation Panel, will prepare a tender document to be made available when required to all interested parties (interested parties can be any consultancy, or set of individuals, who, upon reading the publicly available tender invitation document, and engaging in the tender process, put forward a tender bid – interested parties must declare a conflict of interest as part of the tender process).

4.1.2 The tender will detail:

(a) that the aim of the tender is to appoint a Party, the ISE, to compile a publicly available ISM and ISMM;

(b) that the ISE will annually develop methodologies(ISMM), to assist in the annual creation of the ISM ;

(c) as part of the review and consultation cycles, the ISE must make available the necessary information to Code Parties in good time to allow the update of the ISM, in accordance with the timetable contained within this Framework;

(d) the ISE must hold a public consultation to provide an opportunity to allow Code Parties to discuss the ISM and ISMM, in accordance with the timetable contained within this Framework;

(e) the requirement to allow Code Parties to submit representations and queries about the ISM in accordance with the timetable contained within this Framework;

(f) that the ISE must consider adjusting ISM and/or the ISMM in response to those representations;

(g) that the ISE must adhere to the Generic Terms of Reference contained within this Framework, as well as any other criteria The Committee notifies to the CDSP prior to the tender document being issued; and

(h) that the ISE maintains good relations with The Committee and the CDSP to be available for discussion on any relevant issues, and to answer any general queries promptly.

(j) their ability to interact with other relevant industry bodies and experts across the Gas and Electricity industries to ensure they can benefit from broader industry expertise;

(k) their acceptance of the proposed terms and conditions under which the service will be provided.

4.1.3 When issued, the tender will be for an initial term agreed by the CDSP in conjunction with the Stakeholder Evaluation Panel with an option for extension.

4.1.4 The CDSP will administer the tender process and will conduct it in accordance with all relevant legislation and generally accepted best practice.

4.1.5 Each tender response will detail:

(a) how the prospective ISE will comply with the Generic Terms of Reference and any other criteria agreed prior to the tender;

(b) an outline of the method(s) to be used by the prospective ISE, and why such a proposed solution(s) would be suitable. For example, if field exercises will be undertaken, why are they reasonable.

(c) an outline of the data (either collated by the ISE or retrieved from Parties or the CDSP) that would need to be collated for such use, and the methods to be used for acquiring such data.Methodologies employed by the ISE might include: utilising already existing pipeline data, and studies such as the leakage rates developed off the back of the National Leakage Tests and those noted within the appendix, but also potentially direct measurement.

(d) the likely time for such work to be carried out;

(e) the cost of performing the services;

(f) contact details to query any aspect of the tender.

(g) The ISE shall confirm to the CDSP before their appointment that they do not hold any interest or duty which would or potentially would conflict with the performance of their duties under their contract with the CDSP;

(h) their independence and impartiality, and their process for identifying and managing conflicts of interest during the lifetime of the contract.

4.1.6 Once all tenders have been received, the CDSP in conjunction with the Stakeholder Evaluation Panel (SEP) will select in accordance with the evaluation criteria the top-ranked tender for appointment. The SEP will be involved in setting the evaluation criteria and requirements.

4.1.7 Once the tender process has been completed the CDSP will use reasonable endeavours to contract with the highest ranked acceptable party (based on the SEP assessment of the agreed criteria) that wishes to become the ISE by 1 month before the first formal activity is needed (15 March). CDSP will consider contracting with the next highest ranked party if they fail to reach agreement with the immediately previous higher ranked party.

4.1.8 In the event that the re-tendering deadline is not met, The Committee will decide by a majority vote on whether to:

(a) maintain the current ISM, ISMM, and ISC for another year; or

(b) grant additional time to the CDSP and Stakeholder Evaluation Panel on the understanding that any additional time granted will not jeopardise the publication of the ISM and ISMM4.1.9 Once the tender process has been completed and the CDSP have contracted with an interested party to be the ISE, the Stakeholder Evaluation Panel in agreement with the UNCC will review the tender process and incorporate any updates that are believed are required to this document.

**5. Generic Terms of Reference for Appointed ISE**

5.1 This section will include the main principles the ISE will operate under, once appointed.

5.1.1 The ISE will create the ISM by developing appropriate, detailed methodologies (the ISMM) and collecting necessary data.

5.1.1.1 where reasonably required, Code Parties must comply the ISE’s requests for data made under 5.1.1. Data shall be provided by UNC Parties promptly within timeframes stipulated by the ISE to enable ISE to collate the ISMM and ISM.5.1.1.2 non-compliance with 5.1.1 may be escalated to the Authority

5.1.1.3 The ISE will provide a GB-wide service,

5.1.1.4 Where possible the information within the ISS should be presented in a way that it can be used by GDNs and IGTs to make an informed decision on how to reduce their exposure to the ISCs.

5.1.2 The decision as to the most appropriate methodologies and data will rest solely with the ISE. The ISE may consider any issues raised by any stakeholders during the development and compilation of the ISM.

5.1.3 The ISE will determine what data is required from Code Parties (and other parties as appropriate) to ensure appropriate data supports the creation of the ISM.

5.1.4 The ISE will determine what data is available from parties to ensure appropriate data supports the creation of ISM, if deemed appropriate by the ISE, and parties should provide data where requested.

5.1.5 The ISE will determine what relevant questions should be submitted to Code Parties, and any other parties as deemed appropriate by ISE, to ensure appropriate methodologies and data are used in the creation of ISM.

5.1.6 The ISE will use the latest data available where appropriate.

5.1.7 Where multiple data sources exist the ISE will evaluate the data to obtain the most statistically sound solution, will document the alternative options and provide an explanation for its decision.

5.1.8 Where data is open to interpretation the ISE will evaluate the most appropriate methodology and provide an explanation for the use of this methodology.

5.1.9 Where the ISE considers using data collected or derived using sampling techniques, then the ISE will consider the most appropriate sampling technique and/or the viability of the sampling technique used.

5.1.9.1 The ISE will either procure services for the collection of data or collect their own data, the prospective ISE should confirm and include in their tender what costs they forecast they will incur to gather the data they require.

5..1.9.2 Procurement activity for 5.1.9 will be managed via CDSP

5.9.2.3 Data that is not included in the tender bid: Approval for costs above and beyond the original scope should be approved by the DSC Contract Management Committee or appropriate DSC CoMC sub-committee to discuss ISE activities.

5.1.10 The ISE will present the ISM in draft form (the “Draft ISM”), to Code Parties seeking views and will review all the issues identified and submitted in response.

5.1.11 The ISE will provide the Draft and final ISMM and ISC to UNC Parties via the ISS for publication.

5.1.12 The Authority’s final determination on whether the ISCs shall be applied shall be binding, subject to any appeals being raised.

5.1.13 The ISE will undertake to ensure that all data that is provided to it by all parties will not be passed on to any other organisation, or used for any purpose other than the creation of the ISM, and ensure that they are following GDPR (General Data Protection Regulation) and taking consideration of commercial sensitivities and intellectual property. .

**6. Responsibilities for the creation of the ISE**

6.1 Code Parties provision of data or information to the ISE

Where, the ISE requests data from Code Parties for the purpose of preparing the ISMM, the Code Parties shall use reasonable endeavours to provide the information requested within the timescales requested, such timescales having been previously notified to the Code Parties.

Non-compliance with requests shall be escalated to the Authority.

6.2 Code Parties Raising issues for consideration during the consultation period.

Code Parties may submit topic areas for consideration by the ISE during the consultation process. The submission must include a clear explanation of the topic, the reasons why this topic is relevant to the ISM, any accompanying data or suggestions as to how the data may be obtained by the ISE. Each topic submitted by a Code Party will be published (including the details of the Code Party) to the industry as part of the ISE’s consultation response.

The ISE will provide a response to the topic detailing whether it is in or out of the scope of work and the rationale to support this.

6.3 Code Parties Raising issues for consideration outside of the consultation period.

Code Parties may submit topic areas for consideration by the ISE outside the consultation process. The submission must include a clear explanation of the topic, the reasons why this topic is relevant to the ISE, any accompanying data or suggestions as to how the data may be obtained by the ISE. Each topic submitted by a Code Party will be published (including the details of the Code Party) to the industry as part of the ISE’s consultation response.

The ISE will log the topic and will consider it during the development of the next applicable ISM and ISMM

6.4 Provision of and publication of data

A copy of all data and information requests from the ISE will be published to the industry as and when the request is made e.g. date, information request, request made to, data required by.

A record of all responses by organisation name (not anonymised), will be maintained and published. The report will show the response as one of “provided”, “not provided” (i.e. request acknowledged but reason for no provision provided), or “no response to request”.

Where applicable, a copy of the data provided to the ISE by the Gas Transporters and Shippers will be provided to the industry, in a suitable format. Where data is confidential or commercially sensitive, the fact that the data had been provided will be published, an organisation may request a copy of the information pertaining to them from the Gas Transporters and Shippers.

**7. Creation of ISMM and variation of contract**

7.1 This section covers the activities and timescales for the creation, submission to The Authority and publication of the ISMM by the ISE.

7.1.1 The ISE will use appropriate methodologies (ISMM) for the calculation of the ISM

7.1.2 The ISE will justify the appropriateness of these methodologies within the ISMM

7.1.3 The draft ISMM will be published in accordance with the timetable (section 10) so that Code Parties are able to provide commentary and consultation responses.

7.1.4 - The methodologies used by the ISE to create the ISM shall be the purview of the ISE. It is assumed by the modification proposer (an assumption that is provided following feedback from the 0843 workgroup) that methodologies employed by the ISE might include:

* utilising already extant pipeline data
* studies such as the leakage rates developed off the back of the National Leakage Tests
* those noted within the appendix of 0843
* direct measurement

7.1.5 ISE contract variations will be agreed upon via a DSC CoMC Sub-committee

**8. Creation of ISS**

8.1 This section covers the activities and timescales for the creation, submission to The Authority and publication of the ISS by the ISE.

8.1.1 The ISE must provide a Draft ISS, including the methodology, to the Joint Office for presentation and publication no later than the date specified in the timetable (section 10) each year. This date can be amended by the ISE as appropriate and agreed with the ISE Sub-Committee via a consultation.

8.1.2 The Draft ISS and presentation must detail:

(a) How the ISE has adhered to the Generic Terms of Reference and to any other relevant provisions within its contract;

(b) The methodology used by the ISE, and why such a process was suitable; and

(c) The data has been collated so far for such use, and the methods to be used for acquiring any further data.

8.1.3 Once published, any representations made in relation to the draft ISS must be received ISE within [21] calendar days.

8.1.4 The ISE will consider any submissions made, and will provide feedback for discussion at the meeting, which is to be held as soon as possible after the date specified in the timetable (section 10)

8.1.5 The ISE will review the ISS considering any comments and will adjust the ISS where it believes appropriate.

8.1.6 The Draft ISS, as revised by the ISE in accordance with 7.1.4, will be republished by the date specified in the timetable (section 10) on the Joint Office of Gas Transporters website.

8.1.7 The ISE will arrange an ISE Sub-Commitee meeting to discuss the Draft ISS (as revised), along with any changes made, to be held as soon as possible after the Draft SLM.

8.1.8 Where in the opinion of the ISE no material issues have been raised, the Draft ISS will be treated as the Final ISS.

8.1.9 the Final ISS will be issued to the Authority for consideration on whether it is more accurate that the SLM by the date specified in the timetable (section 10). It shall also be provided to the Joint Office for publication on its website.

8.2 For avoidance of doubt, the AUGE may wish to consider the outputs of the ISE. This is not to say that the scope of the AUGE or ISE should be fettered in any way - any determination of what constitutes a contributor to the ISC or UIG should be the purview of the respective roles.

**9. The application of the Independent Shrinkage Charge**

9.1 Where there is a difference between LDZ shrinkage, as estimated by the Transporters, and Independent LDZ Shrinkage, as estimated by the ISE, the ISE will calculate the Independent Shrinkage Charge and provide this to the Authority.

9.2 Where the Authority has reviewed the Independent Shrinkage Charge together with all associated information as appropriate, and so validated that it provides a more accurate estimation, t The Authority shall approve the Independent Shrinkage Charges (IGT and GDN ISCs) and the Transporters shall pay the ISCs as per agreed timelines. Where the Authority does not agree that the ISCs provide more accurate representations, the choice on whether to roll over the previous year's ISCs or apply 0 ISC would rest solely with the Authority. Where the Authority requires assistance to inform this choice the ISE must comply.

9.3 Transporters must use the value approved under 9.2 to accurately purchase gas and report this to the Authority and Users.

**10. Creation of Independent Shrinkage Statement**

10.1 This section covers the activities and timescales for the creation, submission to The Authority and publication of the Independent Statement (ISS) by the ISE.

|  |  |  |  |
| --- | --- | --- | --- |
| *Step* | *Requirement* | *Responsible Party* | *Latest date for delivery* |
| 1 | Establish a timetable for the coming ISE Year: book meeting dates for all key industry meetings for the year and communicate those to the industry. | Code Administrator in  conjunction with CDSP | 15 April |
| 2 | Where applicable, present an overview of the approach to developing the ISS for the coming year at an **Introductory Meeting** with the Independent Shrinkage Sub-Committee, including (but not limited to):  • Overview of high-level approach to the assignment for coming year;  • Overview of proposed changes to methodology since the previous year (if not first year);  • Summary of Industry issues and key changes (e.g. UNC Mods) since previous year and impact on methodology (if not first year)  • Update on the log of items carried over from the previous year (if not first year)  • Proposed data sources for all causes of Shrinkage to be included in the methodology  Industry parties may provide feedback on the approach and the data sources, for consideration by the ISE. | ISE | Early May |
| 3 | Retrieve data to populate the ISS.  Develop ISS, ISM, ISMM.  Provide the industry with monthly updates on progress with the development of the ISS, including availability of data, new topics identified and any key issues which may impact on the Methodology | ISE | Monthly from May to Feb |
| 4 | Present an update on the development of the ISS for the coming year at an **Early Engagement Meeting** with the Independent Shrinkage Sub-Committee, including (but not limited to):  • latest view of data sources for all topics and availability of data  • update on development of the ISS for the coming year, including any new items to be added to the Methodology for the coming year.  Industry parties may provide feedback on the proposed data sources and outline of the approach. | ISE | September |
| 5 | Provide a proposed ISS for publication. The proposed ISS and presentation must detail:  a) How the ISE has adhered to the Generic Terms of Reference  b) The methodology to be used by the ISE, and why such a process is the most appropriate approach;  c) The data has been collated so far for such use, and the methods to be used for acquiring any further data; and  e) Any specific matters the ISE wishes to draw to the industry’s attention | ISE | 1st November |
| 6 | At a meeting of the Independent Shrinkage Sub-Committee, present and discuss the proposed ISS to be held as soon as possible after the proposed ISS document has been published. | ISE | Mid-November |

|  |  |  |  |
| --- | --- | --- | --- |
| *Step* | *Requirement* | *Responsible Party* | *Latest date for delivery* |
| 7 | Once the proposed ISS has been published, any responses to the ISE on the proposed ISS must be received by the CDSP within 21 calendar days. The CDSP will then provide these responses to the ISE as they are received or no later than 1 working day after submission. | Code Parties | 7 Dec |
| 8 | The ISE will consider any responses made and will provide feedback for discussion at a meeting of the Independent Shrinkage Sub-Committee. | ISE | Mid-January |
| 9 | The ISE will review the Independent Shrinkage Statement in light of any comments (received in Steps 7 and 8) and will adjust the Statement where it believes appropriate.  The proposed Independent Shrinkage Statement document, as modified by the ISE in accordance with this Step, will be republished on the Joint Office of Gas Transporters website. | ISE | 1 Feb |
| 10 | At a meeting of the Independent Shrinkage Sub-Committee, present and discuss the modified Independent Shrinkage Statement along with any changes made, after the modified Independent Shrinkage Statement document has been published. | ISE | 15 Feb |
| 11 | The Independent Shrinkage Expert will review the Independent Shrinkage Statement in light of any comments raised in the meeting referred to in Step 10 and will adjust the Independent Shrinkage Statement where it believes appropriate. For the avoidance of doubt changes can only be made to address specific concerns raised. | ISE | 1 March |

|  |  |  |  |
| --- | --- | --- | --- |
| *Step* | *Requirement* | *Responsible Party* | *Latest date for delivery* |
| 12 | The Independent Shrinkage Expert will provide the final Independent Shrinkage Statement (as updated as described in Step 11, if appropriate) to the Authority and the Joint Office of Gas Transporters for publication and notify ISCs to CDSP. | ISE | 7 March |
| 13 | The Authority will consider the final Independent Shrinkage Statement at its next scheduled meeting. The Authority shall approve the final Independent Shrinkage Statement, in the form presented by the Independent Shrinkage Expert, unless it agrees changes to any part of the document. The approved Independent Shrinkage Statement will be treated as the final Independent Shrinkage Statement.  The Transporter’s contracted Shipper starts to procure daily shrinkage volumes based on notification quantity (unless disapproved by the Authority). | Authority | 1 April |
| 14 | **Reconciliation of ISC**: following the application for the ISC for the coming year, the ISE will observe Shrinkage. After the Formula Year concludes, where observed Shrinkage is more or less than that which is accounted for under the LDZ Shrinkage Quantities and the ISC, and after the GDNs and IGTs providing their revised LDZ Shrinkage Quantities, the ISE will issue a Reconciliation Statement. The GDNs will issue the reconciliation statement for the SLM by 31st July following the conclusion of the Formula Year, and the ISC reconciliation will need to wait for this event to conclude before being completed. | ISE | 31st Aug the following year |

10.2 The Authority’s final determination in this process shall be binding on Code Parties.

10.3 The Code Parties may appeal the Authority’s final determination.

10.4 At the end of each Independent Shrinkage Year, regardless of any Independent Shrinkage Statement outcome, the CDSP shall seek feedback from the industry, including the Independent Shrinkage Expert, on the activities and performance of the Independent Shrinkage Expert and industry for the creation of the Independent Shrinkage Statement. The CDSP shall produce a report for the UNCC and the Authority, and it shall be published on the Joint Office website.

#### Appendix 3

*Uniform Network Code Committee Independent Shrinkage Sub-Committee Terms of Reference*

*1. Introduction*

*The Uniform Network Code Committee (UNCC) agreed these updated terms of reference for the*

*AUG Sub-Committee on 19 November 2020 and amendments shall only be made with the consent*

*of the UNCC.*

*2. Scope of the Independent Shrinkage Sub-Committee*

*2.1 General*

*The Independent Shrinkage Sub-Committee is defined as a sub-committee of the Uniform Network Code Committee, with certain rights and responsibilities relating to the Framework for the Appointment and Operation of the Independent Shrinkage Expert (the “Framework”).*

*In particular, the ISE Framework defines an Independent Shrinkage Sub-Committee – an open meeting of interested parties, at set points throughout the annual cycle, to review and provide guidance/support to the ISE and discuss issues raised relating to the Independent Shrinkage Model Methodology.*

*The Independent Shrinkage Sub-Committee is chaired by the Joint Office of Gas Transporters and is attended by the Independent Shrinkage Expert (the “ISE”), the Central Data Services Provider (the “CDSP”) and interested parties.*

*2.2 Meetings*

*The Independent Shrinkage Sub-Committee is to meet to support the creation of the Independent Shrinkage Statement as per the timescales in the Framework:*

*• Introductory Meeting of the Independent Shrinkage Sub-Committee - late June/early July*

*• Early Engagement Meeting of the Independent Shrinkage Sub-Committee – late September/ early October*

*• Meeting of the Independent Shrinkage Sub-Committee for the Independent Shrinkage Expert to present and discuss the draft ISS – no later than 15th January*

*• Meeting of the Independent Shrinkage Sub-Committee for the ISE to provide feedback on the consultation responses made on the draft AUG Statement and Table – no later than 15th February*

*• Meeting of the Independent Shrinkage Sub-Committee, for the ISE to present and discuss the modified Independent Shrinkage Statement– no later than 12th March*

*• Meeting of the Independent Shrinkage Sub-Committee, for the ISE to present the final Independent Shrinkage Statement – no later than 5 days prior to the April UNCC meeting.*

*The Code Administration Code of Practice shall apply to the conduct of the meetings.*

*The ISE will also provide the industry with monthly updates on progress with the development of*

*the ISS, including availability of data, new topics identified and any key issues which may impact*

*on the Methodology. This information will also be published by the Joint Office.*

*2.3 Guidance and support to the ISE*

*The IS Sub-Committee will provide guidance/support to the ISE and discuss issues raised*

*relating to the ISMM via its scheduled meetings, or in adhoc meetings, if required.*

*Topics on which the Sub-Committee would provide guidance/support to the UNCC on the use of*

*funds for:*

*• Innovation Service – identify, assess and propose ways in which Shrinkage model error could be better and*

*more equitably allocated*

*• Advisory Service – provision of expert advice by the ISE on the independently adjudicated Shrinkage to*

*industry Stakeholders*

*The ISE and CDSP will gather the views of Sub-Committee attendees and seek a consensus view*

*on the most appropriate and cost-effective use of these funds.*

*If there is no clear consensus, the ISE may be asked to provide further information to support the*

*Sub-Committee or the expenditure may be deferred to a later date. The majority or consensus view*

*of Sub-Committee members would be the leading factor in determining the most suitable next step.*

*If there is a consensus or widespread support, a proposal for use of the funds, including a summary*

*of the views of the Sub-Committee attendees, will be presented to UNC Committee for a vote. Any*

*commercially sensitive aspects of the proposal would be made available to UNC Committee*

*members only.*

*2.4 Decision making*

*The Independent Shrinkage Sub-Committee has no voting capacity and voting related to the ISS is a matter*

*of the UNCC only.*

*3.0 Document Control*

#### Appendix 4: GDN's Shrinkage Reconciliation Process

* GDNs will assess the level of Shrinkage in the coming year in their network, in kWh terms.
  + For example / reference, please see the link which shows the [Cadent Final LDZ Shrinkage Quantity Proposals Formula Year 2023/24](https://www.gasgovernance.co.uk/sites/default/files/ggf/book/2023-02/Cadent%20Energy%20Loss%20Final%20Proposals%202023%2024.pdf)
  + On p4 you can see the daily amounts by LDZ.

* Once the value has been agreed (and not disallowed by Ofgem), DNOs will send the daily values to the CDSP who will load them into Gemini.

* Each day, that Shrinkage energy quantity gets assigned within Gemini, to the DNO who has to buy that much gas.
  + The GDNs will have a contract with a Shipper to be their Shrinkage provider to go on the market and buy the gas for them.
  + This is briefly mentioned on Slide 16 of the [UIG Education Pack (xoserve.com)](https://www.xoserve.com/media/ymtnf4kb/unidentified-gas-education-pack.pdf) and it is the first step in calculating daily UIG (i.e. total LDZ usage - Shrinkage etc).
  + This means that Shrinkage is not part of UIG but any under or over estimation, UIG would pick up the difference.

* Shrinkage does not appear on any itemised bills for the Shipper: it's gas that the DNOs need to buy to keep the network running, so it's part of the DNOs allowed costs and rolled up in Transportation pricing.

* After the end of the Formula Year, the GDN evaluates their original estimates and may do a reconciliation if they have bought the wrong amount of gas.
  + This goes onto the Amendment invoice as a change to the UIG energy amount on the Amendment invoice, using daily SAP prices, and looks very similar to an LDZ measurement error.
  + Each GDN publishes a document showing their workings out: [Assessment and Adjustment 2021-22 | Joint Office of Gas Transporters (gasgovernance.co.uk)](https://www.gasgovernance.co.uk/index.php/shrinkage/aa2022)
  + That's the only time that anything to do with Shrinkage appears on an invoice the CDSP issue.

1. https://www.gasgovernance.co.uk/sites/default/files/ggf/book/2022-02/2021-22%20Shrinkage%20and%20Leakage%20Model%20Review\_Consultation%20FINAL.pdf [↑](#footnote-ref-1)
2. See appendix 1

   [↑](#footnote-ref-2)
3. [Continuous CH4 and δ13 CH4 measurements in London demonstrate under-reported natural gas leakage](https://acp.copernicus.org/articles/22/3595/2022/acp-22-3595-2022.pdf); see also [London produces up to a third more methane than estimates suggest | Imperial News](https://www.imperial.ac.uk/news/233895/london-produces-third-more-methane-than/#:~:text=London%20produces%20up%20to%20a%20third%20more%20methane%20than%20estimates%20suggest,-by%20Hayley%20Dunning&text=Measurements%20of%20London's%20atmosphere%20show,primarily%20from%20natural%20gas%20leaks). [↑](#footnote-ref-3)
4. [AUG statement 23/24](https://www.gasgovernance.co.uk/AUGStatement2324) [↑](#footnote-ref-4)
5. [Global Methane Pledge](https://ec.europa.eu/commission/presscorner/detail/en/statement_21_5766) [↑](#footnote-ref-5)
6. Within the 0843 workgroup on 23/05, GDNs noted that negative values would impact their licence obligations and have been excluded on this basis. [↑](#footnote-ref-6)
7. There is value in this being less granular than LDZ. However, as this would create complexity and cost above and beyond what is currently required it has been removed from this section. [↑](#footnote-ref-7)