## Sheet1
0843 Supporting Evidence | GDN Comments | Relevance
(2023) Major UK methane greenhouse gas leak spotted from space https://www.bbc.co.uk/news/science-environment-66811312 Wales and West Utilities over a three month period leaked gas that could have powered 7,500 homes for a year. University of Leeds worked with GHGSat, a satellite data company, and Royal Holloway University of London, who provided on ground measurement, to detect and quantify the leak (awaiting academic literature). | Added by proposer 25/9 - only proves that satellites can be used to detect methane. WWU were already aware of this escape as this was reported by a member of the public. Works have been completed to replace the mains pipe. | This is an instantaneous leak that occurred in Cheltenham which is not representative of the UK.
(2022) Continuous CH4 and δ13CH4 measurements in London demonstrate under-reported natural gas leakage https://acp.copernicus.org/articles/22/3595/2022/acp-22-3595-2022-discussion.html Long-term methane stable isotope analysis coupled with mole fraction measurement has been used to link isotopic signature to gas leaks in London, UK. Location: Imperial College London, Huxley roof | It cannot be concluded that the leakage element of the SLM is misreported by 30-35% as this paper describes a study in London which is not representative of the whole of the UK. | Single study in London not representative of the whole of the UK. WWU has Circa 35,000 km of pipelines
(2022) Street-level methane emissions of Bucharest, Romania and the dominance of urban wasterwater https://doi.org/10.1016/j.aeaoa.2022.100153 An example of a city-level study that explores the source apportionment of methane emissions. | This describes a study in Bucharest which identified "58-63% of CH4 elevations (above background) were attributed to biogenic wastewater". This is outside of the UK and therefore not representative of UK DN Shrinkage. | Study in Bucharest not representative of the UK.
(2019) Environmental baseline monitoring for shale gas development in the UK: Identification and geochemical characterisation of local source emissions of methane to atmosphere https://doi.org/10.1016/j.scitotenv.2019.134600 | This study was to establish a baseline ahead of shale gas extraction not to allocate the background emissions and compare to any models. The 2019 Shale gas study states that the value for natural gas emissions is in the range -42 to -39, as this is returning higher values outside the natural gas range and also outside the cow barn range (-67 to -58) then where is this methane from. This states that it is overstated. Based on London not applicable to GB. Note: This has been taken out of the appendix of the mod. | No relevance.
(2019) Assessing London CO2, CH4 and CO emissions using aircraft measurements and dispersion modelling https://doi.org/10.5194/acp-19-8931-2019 | This is arguing that CH4 values inventories are too high contradicting other studies. This paper does not appear to be relevant to the case for suggesting that Shrinkage volumes are understated as it describes a single study in London which yielded an inventory scale factor of 0.66-0.79 for CH4. | Single study in London not representative of the whole of the UK.
(2017) Characterization of interferences to in situ observations of δ13CH4 and C2H6 when using a cavity ring-down spectrometer at industrial sites https://doi.org/10.5194/amt-10-2077-2017 “An example study conducted on a UK compressor station, carried out by the LSCE Paris group a few years ago now and linked with an NPL survey of the site. This was from the early days of the laser-based instruments and there were difficulties in extracting good ethane data.” (Dave Lowry, RHUL) | This paper does not appear to be relevant to the case for suggesting that Shrinkage volumes are understated as it discusses the biases that need to be accounted for when measuring elevated C2H6 for CH4 source determination. | No relevance.
(2017) Evaluating methane inventories by isotopic analysis in the London region https://www.nature.com/articles/s41598-017-04802-6 | This paper describes a study in London which is not representative of the whole of the UK. | Study in London not representative of the whole of the UK.
(2017) Origins and trends in ethane and propane in the United Kingdom from 1993 to 2012 https://www.sciencedirect.com/science/article/pii/S1352231017301103 | This paper describes a study, using data from 13 monitoring stations. It concludes that ‘a program of leak detection and repair may be a cost-effective solution for fixing leaks that have become apparent through atmospheric observations.’ | Number of monitoring points not large enough to be representative of the entire UK gas network. Supports need for the DPLA. WWU has Circa 35,000 km of pipelines and this comments on one location in Cardiff. Trigger (delta in temp) surveys and winter trigger (below 0C) surveys
(2016) Spatial and temporal variability of urban fluxes of methane, carbon monoxide and carbon dioxide above London, UK https://acp.copernicus.org/articles/16/10543/2016/acp-16-10543-2016-discussion.html | This paper describes a study in London which is not representative of the whole of the UK. Additionally, it suggests that ‘biogenic sources of CH4, such as wastewater, is unaccounted for by the atmospheric emissions inventories, make a substantial contribution to the overall budget’. | Study in London not representative of the whole of the UK.
(2017) Natural gas and climate change https://pure.manchester.ac.uk/ws/portalfiles/portal/60994617/Natural_Gas_and_Climate_Change_Anderson_Broderick_FOR_DISTRIBUTION.pdf | This paper does not appear to be relevant. | No relevance - a very general study of methane and anthropogenic climate change
(2015) Plume mapping and isotopic characterisation of anthropogenic methane sources https://www.sciencedirect.com/science/article/abs/pii/S1352231015002538 Methane stable isotope analysis coupled with mole fraction measurement has been used to link isotopic signature to methane emissions from landfill sites, coal mines and gas leaks in UK. | This paper does not appear to be relevant to the case for suggesting that Shrinkage volumes are understated but does make the case for the descrepancies between a "bottom up" approach and direct measurements. | No relevance.
(2023) Fugitive Methane Across the UK Gas Distribution Network from Terminals to Cities: Characterisation and Methodology Development https://meetingorganizer.copernicus.org/EGU23/EGU23- 15766.htm City measurements by Picarro 2301 and LGR UMEA of London and Birmingham pipeline gas leaks in 2019 have been used to quantify emissions using methodology developed by Weller et al. (2019) and refined by Maazallahi et al. (2020). A total estimated emission for the Greater London area of 2.2 kT (Fernandez et al., in prep.), is much lower than the inventory suggests and lower than estimates and from aircraft or fixed site measurements. While fugitive gas emissions from rural areas (pipelines and above-ground infrastructure) are much larger than the inventory suggest, lowering expected urban emissions, and small peaks of <200 ppb cannot be definitively characterised as gas leaks, leading to underestimation, the methodology for leak emissions estimation needs further refinement for dense urban environments. A range of instruments measuring at 0.3 to 10Hz and different emissions methodologies are currently being assessed through repeat surveys of some London boroughs. | New study added 25/9 - Contradicts other studies as it suggests shrinkage is understated and overstated in other areas | No relevance
2018) Assessing fugitive emissions of CH4 from high-pressure gas pipelines in the UK https://doi.org/10.1016/j.scitotenv.2018.02.240 Abstract: Natural gas pipelines are an important source of fugitive methane emissions in lifecycle greenhouse gas assessments but limited monitoring has taken place of UK pipelines to quantify fugitive emissions. This study investigated methane emissions from the UK high-pressure pipeline system (National Transmission System - NTS) for natural gas pipelines. Mobile surveys of CH4 emissions were conducted across four areas in the UK, with routes bisecting high-pressure pipelines (with a maximum operating pressure of 85 bar) and separate control routes away from the pipelines. | New Study added 3/10 - study about fugative emissions from the NTS - this is out of scope of the modification. | No relevance
DN provided evidence - Study commissiond by the Independent Networks Association Calculation of PE Leakage, PE distribution main leakage estimation for IGTs | Executive summary bullet point 4 - suggests leakage rates for PE pipelines are currently overstated | Relevant