## Notification Sheet
Measurement Error Notification
Unique Reference Number (Allocated by Joint Office)
Brief Description | Intermittent fault with Pressure Transmitter
Reason Measurement Error Detected | Identified by Operations Engineer
Process Dates | Latest Notification Update | 2009-03-31
| Anticipated MER/SMER Publication | 2009-05-15
Measurement Error Dates | First Notified | 2009-03-31
| Discovered | 2008-04-29
| Started (or last good read) | 2007-07-28
| Corrected | 2008-07-11
Offtake |  | Gilwern MTA
Transporter | Upstream | National Grid - NTS
| Downstream | Wales & West Utilities - DN
LDZ |  | WS
Average flow rates for the meter for the perceived duration of the Measurement Error (MCM) |  | 2.183
Assessed volume (MCM) |  | 3.25
Estimated quantity (GWh) |  | 35.7
Estimated Significance |  | Medium | >= 30, < 50 GWh
Systematic Bias? |  | Yes
Over or Under Read? |  | Under
Error Status |  | Error Notified

## Look Up Data
Look Up Table For Offtake Data
DN/NTS Offtake Meter | Site Type | Short Code | Upstream Transporter | Downstream Transporter | LDZ
Aberdeen MTA | Offtake | ABEROF | National Grid - NTS | Scotia Gas - DN | SC
Alrewas EM MTD | Offtake | ALREOF | National Grid - NTS | National Grid - DN | EM
Alrewas WM | Offtake | ALRWOF | National Grid - NTS | National Grid - DN | WM
Alrewas WM MTA | Offtake | ALRWOF | National Grid - NTS | National Grid - DN | WM
Alrewas WM MtB | Offtake | ALRWOF | National Grid - NTS | National Grid - DN | WM
Armadale MTA | Offtake | ARMAOF | National Grid - NTS | Scotia Gas - DN | SC
Aspley MTA | Offtake | ASPYOF | National Grid - NTS | National Grid - DN | WM
Asselby 38B MRC | Offtake | ASSLOF | National Grid - NTS | Northern Gas Networks – DN | NE
Asselby 38B MRD | Offtake | ASSLOF | National Grid - NTS | Northern Gas Networks - DN | NE
Asselby 7B MRA | Offtake | ASSLOF | National Grid - NTS | Northern Gas Networks - DN | NE
Asselby 7B MRB | Offtake | ASSLOF | National Grid - NTS | Northern Gas Networks – DN | NE
Audley (Crewe) MTC | Offtake | AUDNOF | National Grid - NTS | National Grid - DN | NW
Audley (Dunkirk) | Offtake | AUDWOF | National Grid - NTS | National Grid - DN | WM
Audley (Dunkirk) MTD | Offtake | AUDWOF | National Grid - NTS | National Grid - DN | WM
Audley (Dunkirk) MTE | Offtake | AUDWOF | National Grid - NTS | National Grid - DN | WM
Austrey MTA | Offtake | AUSTOF | National Grid - NTS | National Grid - DN | WM
Aylesbeare MTA | Offtake | AYLEOF | National Grid - NTS | Wales & West Utilities - DN | SW
Bacton MRD | Offtake | BADSOF | National Grid - NTS | National Grid - DN | EA
Baldersby | Offtake | BALDOF | National Grid - NTS | Northern Gas Networks - DN | NE
Baldersby MRA | Offtake | BALDOF | National Grid - NTS | Northern Gas Networks - DN | NE
Baldersby MRB | Offtake | BALDOF | National Grid - NTS | Northern Gas Networks - DN | NE
Balgray MTA | Offtake | BALGOF | National Grid - NTS | Scotia Gas - DN | SC
Bathgate | Offtake | BATHOF | National Grid - NTS | Scotia Gas - DN | SC
Bathgate | Offtake | BATHOF | National Grid - NTS | Scotia Gas - DN | SC
Bathgate | Offtake | BATHOF | National Grid - NTS | Scotia Gas - DN | SC
Bishop Aukland MTA | Offtake | BISHOF | National Grid - NTS | Northern Gas Networks - DN | NO
Blaby MTA | Offtake | BLABOF | National Grid - NTS | National Grid - DN | EM
Blackrod | Offtake | BLACOF | National Grid - NTS | National Grid - DN | NW
Blackrod MTA] | Offtake | BLACOF | National Grid - NTS | National Grid - DN | NW
Blackrod MTB | Offtake | BLACOF | National Grid - NTS | National Grid - DN | NW
Blyborough MTA | Offtake | BLYBOF | National Grid - NTS | National Grid - DN | EM
Braishfield A MTA | Offtake | BRAAOF | National Grid - NTS | Scotia Gas - DN | SO
Braishfield B MTB | Offtake | BRABOF | National Grid - NTS | Scotia Gas - DN | SO
Brisley | Offtake | BRISOF | National Grid - NTS | National Grid - DN | EA
Brisley MRA | Offtake | BRISOF | National Grid - NTS | National Grid - DN | EA
Brisley MRA | Offtake | BRISOF | National Grid - NTS | National Grid - DN | EA
Broxburn MTA | Offtake | BROXOF | National Grid - NTS | Scotia Gas - DN | SC
Burley Bank MTA | Offtake | BURLOF | National Grid - NTS | Northern Gas Networks - DN | NE
Caldecott | Offtake | CALDOF | National Grid - NTS | National Grid - DN | EM
Caldecott MRB | Offtake | CALDOF | National Grid - NTS | National Grid - DN | EM
Caldecott MTA | Offtake | CALDOF | National Grid - NTS | National Grid - DN | EM
Caldecott USM | Offtake | CALDOF | National Grid - NTS | National Grid - DN | EM
Careston MRA | Offtake | CAREOF | National Grid - NTS | Scotia Gas - DN | SC
Cirencester MRB | Offtake | CIRNOF | National Grid - NTS | Wales & West Utilities - DN | SW
Coldstream MTA | Offtake | COLDOF | National Grid - NTS | Northern Gas Networks - DN | NO
Corbridge | Offtake | CORBOF | National Grid - NTS | Northern Gas Networks - DN | NO
Corbridge MRA | Offtake | CORBOF | National Grid - NTS | Northern Gas Networks - DN | NO
Corbridge MRB | Offtake | CORBOF | National Grid - NTS | Northern Gas Networks - DN | NO
Cowpen Bewley MTA | Offtake | COWPOF | National Grid - NTS | Northern Gas Networks - DN | NO
Dowlais | Offtake | DOWLOF | National Grid - NTS | Wales & West Utilities - DN | WS
Dowlais MTA | Offtake | DOWLOF | National Grid - NTS | Wales & West Utilities - DN | WS
Dowlais MTB | Offtake | DOWLOF | National Grid - NTS | Wales & West Utilities - DN | WS
Drionton UMB | Offtake | DRTNOF | National Grid - NTS | National Grid - DN | EM
Drointon | Offtake | DRTNOF | National Grid - NTS | National Grid - DN | EM
Drointon UMA | Offtake | DRTNOF | National Grid - NTS | National Grid - DN | EM
Drum MTA | Offtake | DRUMOF | National Grid - NTS | Scotia Gas - DN | SC
Dyffryn Cladach MTA | Offtake | DYFNOF | National Grid - NTS | Wales & West Utilities - DN | WS
Easton Grey MTA | Offtake | EGRYOF | National Grid - NTS | Wales & West Utilities - DN | SW
Ecclestone MTA | Offtake | ECCLOF | National Grid - NTS | National Grid - DN | NW
Elton MTA | Offtake | ELTNOF | National Grid - NTS | Northern Gas Networks - DN | NO
Evesham | Offtake | EVESOF | National Grid - NTS | Wales & West Utilities - DN | SW
Evesham MTA | Offtake | EVESOF | National Grid - NTS | Wales & West Utilities - DN | SW
Evesham MTB | Offtake | EVESOF | National Grid - NTS | Wales & West Utilities - DN | SW
Farningham MTA | Offtake | FARNOF | National Grid - NTS | Scotia Gas - DN | SE
Fiddington MTA | Offtake | FIDDOF | National Grid - NTS | Wales & West Utilities - DN | SW
Ganstead MTA | Offtake | GANSOF | National Grid - NTS | Northern Gas Networks - DN | NE
Gilwern MTA | Offtake | GILWOF | National Grid - NTS | Wales & West Utilities - DN | WS
Glenmavis | Offtake | GLENOF | National Grid - NTS | Scotia Gas - DN | SC
Glenmavis MTA | Offtake | GLENOF | National Grid - NTS | Scotia Gas - DN | SC
Glenmavis MTC | Offtake | GLENOF | National Grid - NTS | Scotia Gas - DN | SC
Gosberton MTA | Offtake | GOSBOF | National Grid - NTS | National Grid - DN | EM
Great Wilbraham MTA | Offtake | GWILOF | National Grid - NTS | National Grid - DN | EA
Guyzance | Offtake | GUYZOF | National Grid - NTS | Northern Gas Networks - DN | NO
Guyzance MRA | Offtake | GUYZOF | National Grid - NTS | Northern Gas Networks - DN | NO
Guyzance MRB | Offtake | GUYZOF | National Grid - NTS | Northern Gas Networks - DN | NO
Hardwick | Offtake | HARDOF | National Grid - NTS | Scotia Gas - DN | SO
Holmes Chapel MTA | Offtake | HOLMOF | National Grid - NTS | National Grid - DN | NW
Horndon B MTA | Offtake | HORNOF | National Grid - NTS | National Grid - DN | NT
Humbleton | Offtake | HUMBOF | National Grid - NTS | Northern Gas Networks - DN | NO
Humbleton MRA | Offtake | HUMBOF | National Grid - NTS | Northern Gas Networks - DN | NO
Humbleton MRB | Offtake | HUMBOF | National Grid - NTS | Northern Gas Networks - DN | NO
Hume | Offtake | HUMEOF | National Grid - NTS | Scotia Gas - DN | SC
Hume MRA | Offtake | HUMEOF | National Grid - NTS | Scotia Gas - DN | SC
Hume MRB | Offtake | HUMEOF | National Grid - NTS | Scotia Gas - DN | SC
Ilchester MTA | Offtake | ILCHOF | National Grid - NTS | Wales & West Utilities - DN | SW
Ipsden B | Offtake | IPDBOF | National Grid - NTS | Scotia Gas - DN | SO
Ipsden B MTC | Offtake | IPDBOF | National Grid - NTS | Scotia Gas - DN | SO
Ipsden B MTC | Offtake | IPDBOF | National Grid - NTS | Scotia Gas - DN | SO
Ipsden MTA | Offtake | IPDNOF | National Grid - NTS | Scotia Gas - DN | SO
Keld MRA | Offtake | KELDOF | National Grid - NTS | Northern Gas Networks - DN | NO
Kenn | Offtake | KENNOF | National Grid - NTS | Wales & West Utilities - DN | SW
Kenn MRA | Offtake | KENNOF | National Grid - NTS | Wales & West Utilities - DN | SW
Kenn MRB | Offtake | KENNOF | National Grid - NTS | Wales & West Utilities - DN | SW
Kinknockie | Offtake | KINKOF | National Grid - NTS | Scotia Gas - DN | SC
Kinknockie MRA | Offtake | KINKOF | National Grid - NTS | Scotia Gas - DN | SC
Kinknockie MRB | Offtake | KINKOF | National Grid - NTS | Scotia Gas - DN | SC
Kirkstead | Offtake | KIRKOF | National Grid - NTS | National Grid - DN | EM
Kirkstead MRA | Offtake | KIRKOF | National Grid - NTS | National Grid - DN | EM
Kirkstead MRB | Offtake | KIRKOF | National Grid - NTS | National Grid - DN | EM
Langholm MRA | Offtake | LANGOF | National Grid - NTS | Scotia Gas - DN | SC
Leamington | Offtake | LEAMOF | National Grid - NTS | National Grid - DN | WM
Leamington MRA | Offtake | LEAMOF | National Grid - NTS | National Grid - DN | WM
Leamington MRB | Offtake | LEAMOF | National Grid - NTS | National Grid - DN | WM
Little Burdon MTA | Offtake | LBUROF | National Grid - NTS | Northern Gas Networks - DN | NO
Littleton Drew MRA | Offtake | LTDWOF | National Grid - NTS | Wales & West Utilities - DN | SW
Lockerbie MTA | Offtake | LOCKOF | National Grid - NTS | Scotia Gas - DN | SC
Lower Quinton | Offtake | LOWQOF | National Grid - NTS | National Grid - DN | WM
Lower Quinton UMA | Offtake | LOWQOF | National Grid - NTS | National Grid - DN | WM
Lower Quinton UMB | Offtake | LOWQOF | National Grid - NTS | National Grid - DN | WM
Lupton MTA | Offtake | LUPTOF | National Grid - NTS | National Grid - DN | NW
Luxborough Lane | Offtake | LUXBOF | National Grid - NTS | National Grid - DN | NT
Luxborough Lane MTA | Offtake | LUXBOF | National Grid - NTS | National Grid - DN | NT
Luxborough Lane MTB | Offtake | LUXBOF | National Grid - NTS | National Grid - DN | NT
Maelor | Offtake | MAELOF | National Grid - NTS | Wales & West Utilities - DN | WN
Maelor MTA | Offtake | MAELOF | National Grid - NTS | Wales & West Utilities - DN | WN
Maelor MTB | Offtake | MAELOF | National Grid - NTS | Wales & West Utilities - DN | WN
Malpas MRA | Offtake | MALPOF | National Grid - NTS | National Grid - DN | NW
Mappowder MTA | Offtake | MAPPOF | National Grid - NTS | Scotia Gas - DN | SO
Market Harborough MTA | Offtake | MKHBOF | National Grid - NTS | National Grid - DN | EM
Matching Green MTB | Offtake | MTCHOF | National Grid - NTS | National Grid - DN | EA
Melkinthorpe MRA | Offtake | MELKOF | National Grid - NTS | Northern Gas Networks - DN | NO
Mickle Trafford MTA | Offtake | MICKOF | National Grid - NTS | National Grid - DN | NW
Milwich MTA | Offtake | MILWOF | National Grid - NTS | National Grid - DN | WM
Nether Howcleugh | Offtake | NETHOF | National Grid - NTS | Scotia Gas - DN | SC
Nether Howcleugh MRA | Offtake | NETHOF | National Grid - NTS | Scotia Gas - DN | SC
Nether Howcleugh MRB | Offtake | NETHOF | National Grid - NTS | Scotia Gas - DN | SC
Pannal MTC | Offtake | PANLOF | National Grid - NTS | Northern Gas Networks - DN | NE
Partington MTA | Offtake | PART OF | National Grid - NTS | National Grid - DN | NW
Paull | Offtake | PAULOF | National Grid - NTS | Northern Gas Networks - DN | NE
Paull MTA | Offtake | PAULOF | National Grid - NTS | Northern Gas Networks - DN | NE
Paull MTB | Offtake | PAULOF | National Grid - NTS | Northern Gas Networks - DN | NE
Peterborough Eye | Offtake | PEYEOF | National Grid - NTS | National Grid - DN | EA
Peterborough Eye MTA | Offtake | PEYEOF | National Grid - NTS | National Grid - DN | EA
Peterborough Eye MTB | Offtake | PEYEOF | National Grid - NTS | National Grid - DN | EA
Peters Green | Offtake | PGRNOF | National Grid - NTS | National Grid - DN | NT
Peters Green 2 (South Mimms) | Offtake | PGSMOF | National Grid - NTS | National Grid - DN | NT
Peters Green 2 (South Mimms) MTA | Offtake | PGSMOF | National Grid - NTS | National Grid - DN | NT
Peters Green 2 (South Mimms) MTB | Offtake | PGSMOF | National Grid - NTS | National Grid - DN | NT
Peters Green MTA | Offtake | PGRNOF | National Grid - NTS | National Grid - DN | NT
Peters Green MTB | Offtake | PGRNOF | National Grid - NTS | National Grid - DN | NT
Pickering MTA | Offtake | PICKOF | National Grid - NTS | Northern Gas Networks - DN | NE
Pitcairngreen | Offtake | PITCOF | National Grid - NTS | Scotia Gas - DN | SC
Pitcairngreen MRA | Offtake | PITCOF | National Grid - NTS | Scotia Gas - DN | SC
Pitcairngreen MRB | Offtake | PITCOF | National Grid - NTS | Scotia Gas - DN | SC
Pucklechurch MTA | Offtake | PUCKOF | National Grid - NTS | Wales & West Utilities - DN | SW
Rawcliffe | Offtake | RAWCOF | National Grid - NTS | Northern Gas Networks - DN | NE
Rawcliffe MRA | Offtake | RAWCOF | National Grid - NTS | Northern Gas Networks - DN | NE
Rawcliffe MRB | Offtake | RAWCOF | National Grid - NTS | Northern Gas Networks - DN | NE
Ross WM MTA | Offtake | ROSSOF | National Grid - NTS | National Grid - DN | WM
Ross-On-Wye | Offtake | ROSWOF | National Grid - NTS | Wales & West Utilities - DN | SW
Ross-On-Wye MRA | Offtake | ROSWOF | National Grid - NTS | Wales & West Utilities - DN | SW
Ross-On-Wye MRB | Offtake | ROSWOF | National Grid - NTS | Wales & West Utilities - DN | SW
Roudham Heath MTA | Offtake | ROUDOF | National Grid - NTS | National Grid - DN | EA
Royston | Offtake | ROYSOF | National Grid - NTS | National Grid - DN | EA
Royston MRA | Offtake | ROYSOF | National Grid - NTS | National Grid - DN | EA
Royston MRB | Offtake | ROYSOF | National Grid - NTS | National Grid - DN | EA
Rugby MTA | Offtake | RUGBOF | National Grid - NTS | National Grid - DN | WM
Saltwick 1 | Offtake | SALTOF | National Grid - NTS | Northern Gas Networks - DN | NO
Samlesbury MTA | Offtake | SAMLOF | National Grid - NTS | National Grid - DN | NW
Seabank MTA | Offtake | SEABOF | National Grid - NTS | Wales & West Utilities - DN | SW
Shorne MTA | Offtake | SHOROF | National Grid - NTS | Scotia Gas - DN | SE
Shustoke MTA | Offtake | SHUSOF | National Grid - NTS | National Grid - DN | WM
Silk Willoughby | Offtake | SILKOF | National Grid - NTS | National Grid - DN | EM
Silk Willoughby MRA | Offtake | SILKOF | National Grid - NTS | National Grid - DN | EM
Silk Willoughby MRB | Offtake | SILKOF | National Grid - NTS | National Grid - DN | EM
Soutra MTA | Offtake | SOUTOF | National Grid - NTS | Scotia Gas - DN | SC
St Fergus | Offtake | FGOTOF | National Grid - NTS | Scotia Gas - DN | SC
St Fergus MTA | Offtake | FGOTOF | National Grid - NTS | Scotia Gas - DN | SC
St Fergus MTB | Offtake | FGOTOF | National Grid - NTS | Scotia Gas - DN | SC
Stranraer | Offtake | ZSMFOF & ZSMIOF | National Grid - NTS | Scotia Gas - DN | SC
Stranraer | Offtake | ZSMFOF & ZSMIOF | National Grid - NTS | Scotia Gas - DN | SC
Stranraer | Offtake | ZSMFOF & ZSMIOF | National Grid - NTS | Scotia Gas - DN | SC
Stratford | Offtake | STRAOF | National Grid - NTS | National Grid - DN | WM
Stratford MRA | Offtake | STRAOF | National Grid - NTS | National Grid - DN | WM
Stratford MRB | Offtake | STRAOF | National Grid - NTS | National Grid - DN | WM
Sutton Bridge | Offtake | SUTNOF | National Grid - NTS | National Grid - DN | EM
Sutton Bridge MRA | Offtake | SUTNOF | National Grid - NTS | National Grid - DN | EM
Sutton Bridge MRB | Offtake | SUTNOF | National Grid - NTS | National Grid - DN | EM
Tatsfield MTA | Offtake | TATSOF | National Grid - NTS | Scotia Gas - DN | SE
Thornton Curtis MTA | Offtake | CURTOF | National Grid - NTS | National Grid - DN | EM
Thrintoft MTA | Offtake | THRNOF | National Grid - NTS | Northern Gas Networks - DN | NO
Tow Law | Offtake | TOWLOF | National Grid - NTS | Northern Gas Networks - DN | NO
Tow Law MRA | Offtake | TOWLOF | National Grid - NTS | Northern Gas Networks - DN | NO
Tow Law MRB | Offtake | TOWLOF | National Grid - NTS | Northern Gas Networks - DN | NO
Towton MTA | Offtake | TOWTOF | National Grid - NTS | Northern Gas Networks - DN | NE
Tur Langton MTA | Offtake | TURLOF | National Grid - NTS | National Grid - DN | EM
Walesby | Offtake | WSBYOF | National Grid - NTS | National Grid - DN | EM
Walesby MRA | Offtake | WSBYOF | National Grid - NTS | National Grid - DN | EM
Walesby MRB | Offtake | WSBYOF | National Grid - NTS | National Grid - DN | EM
Warburton MTA | Offtake | WARBOF | National Grid - NTS | National Grid - DN | NW
West Winch MTA | Offtake | WINCOF | National Grid - NTS | National Grid - DN | EA
Weston Point MTB | Offtake | WESTOF | National Grid - NTS | National Grid - DN | NW
Wetheral MTA | Offtake | WETHOF | National Grid - NTS | Northern Gas Networks - DN | NO
Whitwell | Offtake | WHITOF | National Grid - NTS | National Grid - DN | EA
Whitwell MTA | Offtake | WHITOF | National Grid - NTS | National Grid - DN | EA
Whitwell MTB | Offtake | WHITOF | National Grid - NTS | National Grid - DN | EA
Winkfield 2 MTB | Offtake | WNKSOF | National Grid - NTS | Scotia Gas - DN | SO
Winkfield MTA | Offtake | WINKOF | National Grid - NTS | Scotia Gas - DN | SE
Winkfield NT MTC | Offtake | WINTOF | National Grid - NTS | National Grid - DN | NT
xxxxxxxx | Offtake | XXXXOF | National Grid - NTS | yyyyy | ZZ
Yelverton MTB | Offtake | YELVOF | National Grid - NTS | National Grid - DN | EA
Systematic Bias | Over/Under Indicator | Error Magnitude |  | Error Status
Yes | Over | High | >= 50 GWh | Error Notified
No | Under | Low | < 30 GWh | MER in Compilation
|  | Medium | >= 30, < 50 GWh | SMER in Compilation
MER Published
SMER Published
Awaiting First Available Invoice
Invoiced
Closed / No Rec Required

## Sheet1
NW |  | WN |  | NO |  | SO |  | SC
AUDLEY (CREWE) MTC | AUDNOF | MAELOR | MAELOF | BISHOP AUKLAND MTA | BISHOF | BRAISHFIELD A MTA | BRAAOF | ABERDEEN MTA | ABEROF
BLACKROD | BLACOF | MAELOR MTA | MAELOF | COLDSTREAM MTA | COLDOF | BRAISHFIELD B MTB | BRABOF | ARMADALE MTA | ARMAOF
BLACKROD MTA | BLACOF | MAELOR MTB | MAELOF | CORBRIDGE | CORBOF | HARDWICK | HARDOF | BALGRAY MTA | BALGOF
BLACKROD MTB | BLACOF | WS |  | CORBRIDGE MRA | CORBOF | IPSDEN MTA | IPDNOF | BATHGATE | BATHOF
ECCLESTONE MTA | ECCLOF | DOWLAIS | DOWLOF | CORBRIDGE MRB | CORBOF | IPSDEN B | IPDBOF | BATHGATE | BATHOF
HOLMES CHAPEL MTA | HOLMOF | DOWLAIS MTA | DOWLOF | COWPEN BEWLEY MTA | COWPOF | IPSDEN B MTC | IPDBOF | BATHGATE | BATHOF
LUPTON MTA | LUPTOF | DOWLAIS MTB | DOWLOF | ELTON MTA | ELTNOF | IPSDEN B MTC | IPDBOF | BROXBURN MTA | BROXOF
MALPAS MRA | MALPOF | DYFFRYN CLADACH MTA | DYFNOF | GUYZANCE | GUYZOF | MAPPOWDER MTA | MAPPOF | CARESTON MRA | CAREOF
MICKLE TRAFFORD MTA | MICKOF | GILWERN MTA | GILWOF | GUYZANCE MRA | GUYZOF | WINKFIELD 2 MTB | WNKSOF | DRUM MTA | DRUMOF
PARTINGTON MTA | PART OF | SW |  | GUYZANCE MRB | GUYZOF | SE |  | GLENMAVIS | GLENOF
SAMLESBURY MTA | SAMLOF | AYLESBEARE MTA | AYLEOF | HUMBLETON | HUMBOF | FARNINGHAM MTA | FARNOF | GLENMAVIS MTA | GLENOF
WARBURTON MTA | WARBOF | CIRENCESTER MRB | CIRNOF | HUMBLETON MRA | HUMBOF | SHORNE MTA | SHOROF | GLENMAVIS MTC | GLENOF
WESTON POINT MTB | WESTOF | EASTON GREY MTA | EGRYOF | HUMBLETON MRB | HUMBOF | TATSFIELD MTA | TATSOF | HUME | HUMEOF
EM |  | EVESHAM | EVESOF | KELD MRA | KELDOF | WINKFIELD MTA | WINKOF | HUME MRA | HUMEOF
ALREWAS EM MTD | ALREOF | EVESHAM MTA | EVESOF | LITTLE BURDON MTA | LBUROF |  |  | HUME MRB | HUMEOF
BLABY MTA | BLABOF | EVESHAM MTB | EVESOF | MELKINTHORPE MRA | MELKOF |  |  | KINKNOCKIE | KINKOF
BLYBOROUGH MTA | BLYBOF | FIDDINGTON MTA | FIDDOF | SALTWICK 1 | SALTOF |  |  | KINKNOCKIE MRA | KINKOF
CALDECOTT | CALDOF | ILCHESTER MTA | ILCHOF | THRINTOFT MTA | THRNOF |  |  | KINKNOCKIE MRB | KINKOF
CALDECOTT MTA | CALDOF | KENN | KENNOF | TOW LAW | TOWLOF |  |  | LANGHOLM MRA | LANGOF
CALDECOTT MRB | CALDOF | KENN MRA | KENNOF | TOW LAW MRA | TOWLOF |  |  | LOCKERBIE MTA | LOCKOF
CALDECOTT USM | CALDOF | KENN MRB | KENNOF | TOW LAW MRB | TOWLOF |  |  | NETHER HOWCLEUGH | NETHOF
DROINTON | DRTNOF | LITTLETON DREW MRA | LTDWOF | WETHERAL MTA | WETHOF |  |  | NETHER HOWCLEUGH MRA | NETHOF
DROINTON UMA | DRTNOF | PUCKLECHURCH MTA | PUCKOF | NE |  |  |  | NETHER HOWCLEUGH MRB | NETHOF
DRIONTON UMB | DRTNOF | ROSS-ON-WYE | ROSWOF | ASSELBY 7B MRA | ASSLOF |  |  | PITCAIRNGREEN | PITCOF
GOSBERTON MTA | GOSBOF | ROSS-ON-WYE MRA | ROSWOF | ASSELBY 7B MRB | ASSLOF |  |  | PITCAIRNGREEN MRA | PITCOF
KIRKSTEAD | KIRKOF | ROSS-ON-WYE MRB | ROSWOF | ASSELBY 38B MRC | ASSLOF |  |  | PITCAIRNGREEN MRB | PITCOF
KIRKSTEAD MRA | KIRKOF | SEABANK MTA | SEABOF | ASSELBY 38B MRD | ASSLOF |  |  | SOUTRA MTA | SOUTOF
KIRKSTEAD MRB | KIRKOF |  |  | BALDERSBY | BALDOF |  |  | ST FERGUS | FGOTOF
MARKET HARBOROUGH MTA | MKHBOF |  |  | BALDERSBY MRA | BALDOF |  |  | ST FERGUS MTA | FGOTOF
SILK WILLOUGHBY | SILKOF |  |  | BALDERSBY MRB | BALDOF |  |  | ST FERGUS MTB | FGOTOF
SILK WILLOUGHBY MRA | SILKOF |  |  | BURLEY BANK MTA | BURLOF |  |  | STRANRAER | ZSMFOF & ZSMIOF
SILK WILLOUGHBY MRB | SILKOF |  |  | GANSTEAD MTA | GANSOF |  |  | STRANRAER | ZSMFOF & ZSMIOF
SUTTON BRIDGE | SUTNOF |  |  | PANNAL MTC | PANLOF |  |  | STRANRAER | ZSMFOF & ZSMIOF
SUTTON BRIDGE MRA | SUTNOF |  |  | PAULL | PAULOF
SUTTON BRIDGE MRB | SUTNOF |  |  | PAULL MTA | PAULOF
THORNTON CURTIS MTA | CURTOF |  |  | PAULL MTB | PAULOF
TUR LANGTON MTA | TURLOF |  |  | PICKERING MTA | PICKOF
WALESBY | WSBYOF |  |  | RAWCLIFFE | RAWCOF
WALESBY MRA | WSBYOF |  |  | RAWCLIFFE MRA | RAWCOF
WALESBY MRB | WSBYOF |  |  | RAWCLIFFE MRB | RAWCOF
WM |  |  |  | TOWTON MTA | TOWTOF
ALREWAS WM | ALRWOF
ALREWAS WM MTA | ALRWOF
ALREWAS WM MTB | ALRWOF
ASPLEY MTA | ASPYOF
AUDLEY (DUNKIRK) | AUDWOF
AUDLEY (DUNKIRK) MTD | AUDWOF
AUDLEY (DUNKIRK) MTE | AUDWOF
AUSTREY MTA | AUSTOF
LEAMINGTON | LEAMOF
LEAMINGTON MRA | LEAMOF
LEAMINGTON MRB | LEAMOF
LOWER QUINTON | LOWQOF
LOWER QUINTON UMA | LOWQOF
LOWER QUINTON UMB | LOWQOF
MILWICH MTA | MILWOF
ROSS WM MTA | ROSSOF
RUGBY MTA | RUGBOF
SHUSTOKE MTA | SHUSOF
STRATFORD | STRAOF
STRATFORD MRA | STRAOF
STRATFORD MRB | STRAOF
NT
HORNDON B MTA | HORNOF
LUXBOROUGH LANE | LUXBOF
LUXBOROUGH LANE MTA | LUXBOF
LUXBOROUGH LANE MTB | LUXBOF
PETERS GREEN | PGRNOF
PETERS GREEN MTA | PGRNOF
PETERS GREEN MTB | PGRNOF
PETERS GREEN 2 (SOUTH MIMMS) | PGSMOF
PETERS GREEN 2 (SOUTH MIMMS) MTA | PGSMOF
PETERS GREEN 2 (SOUTH MIMMS) MTB | PGSMOF
WINKFIELD NT MTC | WINTOF
EA
BACTON MRD | BADSOF
BRISLEY | BRISOF
BRISLEY MRA | BRISOF
BRISLEY MRB | BRISOF
GREAT WILBRAHAM MTA | GWILOF
MATCHING GREEN MTA | MTCHOF
PETERBOROUGH EYE | PEYEOF
PETERBOROUGH EYE MTA | PEYEOF
PETERBOROUGH EYE MTB | PEYEOF
ROUDHAM HEATH MTA | ROUDOF
ROYSTON | ROYSOF
ROYSTON MRA | ROYSOF
ROYSTON MRB | ROYSOF
WEST WINCH MTA | WINCOF
WHITWELL | WHITOF
WHITWELL MTA | WHITOF
WHITWELL MTB | WHITOF
YELVERTON MTA | YELVOF

## Extract for JO Database
Report ID | Ref | Description | Reason | Latest Update | Anticipated Production | First Notified | Discovered | Started | Corrected | Offtake | Av Flow Rates | Volume | Quantity | Significance | Bias | Over/Under | Error Status
31032009 | 0 | Intermittent fault with Pressure Transmitter | Identified by Operations Engineer | 2009-03-31 | 2009-05-15 | 2009-03-31 | 2008-04-29 | 39291 | 39640 | Gilwern MTA | 2.183 | 3.25 | 35.7 | Medium | Yes | Under | Error Notified