## Slide 1: UNC 0849R: Hydrogen Blending: Commercial framework review and amendments
Review Group Seven
Tuesday 30th April
National Gas Transmission |

## Slide 2: Agenda
09:30 – 09:35 Welcome and agenda
09:35 – 10:00 Review Actions
10:00 – 10:30 Hydrogen Producer Requirements
10:30 – 11:00 Biomethane Model Learnings
11:00- 11:20 Break
11:20 – 12:30 Phase 2A Update
12:30 – 13:20 Development of Workgroup Report
13:20 – 13:30 AOB, Next Steps
Notes: To Do
Check if any changes last time to assumptions.
Cross check issues list with KPMG outputs (areas of change) highlight any additional points not included.
Get KPMG slides off them.

## Slide 3: Actions and Issues List
Issues and Actions Tracker- 0849R
Notes: Highlight actions with an update/ require discussion
Run through all issues

## Slide 4: Actions
Action 1 from Tracker: Progressive Energy Hydrogen Acceptability Study- will this be published? –
Megan to give verbal update.
In regards to blends across IP’s from EU, NG have submitted evidence to DESNZ for NTS blending, within this evidence we have requested a decision to strategically support up to 2% blends in order to align with Europe. Outputs of study and industry feedback has suggested that 2% blends should be acceptable for most direct connects with minimal to no operational/ safety changes.
Action 0701: Hydeploy and FutureGrid Report Update- expected publication date?
Hydeploy- Update from GDN’s?
Futuregrid- All blend testing now complete, report is being written up. Aiming to share evidence with HSE end of April and publish close down report end of May.
Action 0703: Requirement for deblending?
Once blending safety/ operability evidence is submitted, requirement for deblending to be reviewed.
Action 0801: UNC interactions with OAD and IGTAD. All UNC documents included in scope of Phase 1 and 2.
Action 0806: NTS blending infrastructure. Blending Infrastructure for the NTS | ENA Innovation Portal (energynetworks.org).

## Slide 5: Hydrogen Producer Requirements
Blending Delivery Model Considerations:
Blending connection locations (free market)
Firm capacity vs interruptible
1) Minimum change to arrangements, quicker and easier to deliver – but the network operator has curtailment rights.
2) More significant change, including development of gas distribution entry products along with commercially firm entry rights.
UK Hydrogen Production Map- Blending.docx
HAR1, NZHF (strands 1 & 2) and CCUS Track 1 clusters – majority of projects are aiming to be operational by 2025/2026.
Will blending service be required straight away or will demand out way supply initially?
If blending required in 2025/2026, exemptions may be required prior to full GSMR change (target date end of 2026).

## Slide 6
Market Principle | Scope | Least Change approach | Optimised approach
Connections | Connection offers – a ‘free market’ approach whilst optimising system flows | Mirror biomethane model for connections and capacity allocation Minimal changes required with Entry Points and connection offers made on first-come, first-served basis Additional ‘blending transportation charge’ may be required | Bespoke connections and capacity allocation processes for hydrogen injection points Optimise blending flows to reduce curtailment risk and prioritise larger hydrogen plants Additional ‘blending transportation charge’ Charges related to new hydrogen connections and capacity
Capacity | Capacity Allocation process – shippers obtaining capacity to inject hydrogen-blends |  | 
Charging | Network charging – new charge required for transportation of hydrogen-blended gas? |  | 
Biomethane Connections Process- what similarities and differences exist?

## Slide 7: Phase 1 and 2A Update
Industry Views on Engagement Approach
Notes: Highlight actions with an update/ require discussion
Run through all issues

## Slide 8: Phase 1: Summary of our approach
1
Policy
The Government’s high-level strategic decision and supporting detail on how blending should be implemented.
2
Safety Evidence
The completion of the safety trials by (HyDeploy / FutureGrid) and subsequent assessment of the evidence and decision by the Health and Safety Executive (HSE).
3
Market Frameworks
The design of the blending ‘delivery model’ plan to support commercial-scale blending, and the changes require to network licenses, codes (UNC), and supporting agreements to achieve this.
4
Operational Readiness
The operational changes required to safely deliver a blend-ready network, including procedures updates, staff training, and system upgrades.
What we did
Pillars
5
Project Pipeline
The pipeline (location & size) of early-stage hydrogen projects with ambitions to blend, informing the geographic focus of operational implementation and the delivery model design.
Five pillars of activity were identified that collectively will allow Britain’s network to become hydrogen blend-ready. In Phase 1, we conducted a review of activities required across each pillar, and mapped the timelines, roles and responsibilities, and sequencing of these activities, to produce a detailed transformation plan.
Review of DESNZ minded-to positions (Aug-23) to inform high-level scope of our assessment
Review of Strategic Decision in Dec-23, and integration of updated timelines and process into delivery plan
Workshops held to understand safety trials progress and review process
Review of previous comparable GS(M)R change processes to inform mapping of process and timelines
Detailed review of all network codes (UNC) and licenses to identify where changes required to deliver blending
Design of timetable for achieving final blending delivery model, with input from DESNZ and Ofgem
Literature review of blending delivery models (incl. 0849R working group outputs) to map potential delivery options
Workshops with all Gas Networks to map operational functions and review those impacted by blending
Review of resource requirements for operational readiness activities and est. timelines for implementation
Mapped all existing HAR1 applications and other known pipeline projects
Review of government funding round timelines against blending timeline and integrate into delivery plan
Notes: Share a high-level summary of the outputs of the project’s “planning” phase including a breakdown of the outputs from each of the five workstream pillars

## Slide 9: Phase 1: Key findings and Phase 2 activity
 | Key findings | Next Steps
Safety Evidence | HyDeploy evidence review and GS(M)R legislative timeline is driving critical path to networks being ‘blend ready’ Based on previous comparable legislative processes (e.g. Wobbe index changes), initial outlined plan has changes coming into force from Q4-26 (following a 1-yr industry notice period) Potential for NTS timeline to catch up with LDZ if safety assessment process can be streamlined having been completed once already for LDZ | Focus at start of Phase 2A will be collective buy-in on timeline from DESNZ, Ofgem and HSE HSE to conduct safety assessment and issue initial minded-to position prior to consultation
Market Frameworks | A set of decisions are required on the final ‘blending delivery model’, which should be consulted on with industry, prior to the translation of these into formal UNC and license changes These changes were categorised into the following categories, which will guide the Phase 2 working groups structure: Capacity Allocation, Connections, Trading and Balancing, and Network Charging Gas quality Measurement, Monitoring and System Operations Network Communications and Coordination The process for deciding on the final delivery model needs to be collaborative and involve input from wider industry (and Government / Ofgem), whilst also moving at pace. | Agreement of up-front ‘blending delivery principles’ with DESNZ / Ofgem to guide decision-making process Establishment of Phase 2 working groups to conduct options assessments and recommend solutions Establish stakeholder engagement structures for input into emerging delivery model
Operational Readiness | Detailed action plans need developing and delivering in phase 2 in parallel to market frameworks changes (some of this may need to be at risk). Plans will need to be responsive to any changes to assumptions arising from HSE Safety Assessment, and emerging final ‘Blending Delivery Model’ to guide scope of actions required | Develop operational implementation requirements to inform decisions on delivery model Begin developing detailed operational action plans for delivery phase
Project Pipeline | More detailed understanding of potential blending pipeline required to target resources of initial operational readiness activities Lack of certainty on blending policy and commercial frameworks limiting producers’ ability to commit to blending projects | Engage with pipeline to identify priority projects / areas for implementation and collaborate on technical studies / design
The key findings from Phase 1, and plan for delivery in Phase 2 are summarised below. ‘Policy’ is excluded from the table below as whilst an important driver of the overall process, this is Government-led with limited further input required by the networks following the strategic decision in December 2023.

## Slide 10: Phase-2 working groups structure
Working Group | Scope | Example range of options | 
 |  | Least Change | Optimisation
Capacity, Connection and Charging | Connection offers – a ‘free market’ approach whilst optimising system flows Capacity Allocation process – shippers obtaining capacity to inject hydrogen-blends Network charging – new charge required for transportation of hydrogen-blended gas? | Mirror biomethane model for connections and capacity allocation Minimal changes required with Entry Points and connection offers made on first-come, first-served basis Additional ‘blending transportation charge’ may be required | Bespoke connections and capacity allocation processes for hydrogen injection points Optimise blending flows to reduce curtailment risk and prioritise larger hydrogen plants Additional ‘blending transportation charge’ Charges related to new hydrogen connections and capacity
Trading and Balancing | Nominations process - how hydrogen-blended gas reaches the system Curtailment of hydrogen-blended nominated gas due to gas quality (a ‘no fault’ curtailment) | Minimal changes to ‘Input Nominations’ with NGT responsible for accepting or rejecting No special protection for hydrogen gas shippers from curtailment risk | Bespoke nominations process for H2-blended gas with accommodations for gas quality and hydrogen capacity Potential new charging arrangement in the event of a ‘no fault curtailment’
Measurement, Monitoring and System Operations | System entry conditions – changes to account for gas properties Measurement – hydrogen injection facilities’ measurement procedures Curtailment rights – physical movement of hydrogen-blended gas | No changes to system boundary definitions and additional monitoring only at new hydrogen entry points Exemptions-based approach | No change to system boundary definitions Expanded definition of ‘Commingling facilities’ to enable these at LDZ Additional monitoring infrastructure to improve gas quality forecasts
Communications and Coordination | Information flows from NTS to LDZ in relation to hydrogen-blended gas | Data on hydrogen content of gas to be recorded and shared at NTS-LDZ offtakes | Enhanced communication between control centres to allow optimisation of connections and capacity offers

## Slide 11: Blending Delivery Model Design / Governance Overview
Gas Strategy Group
Engagement
Working Groups
Working Groups
Programme Manager
Technical specialists (e.g. for operational delivery)
Gas market experts (incl. lawyers)
External stakeholders (e.g. 0849R working group)
Working papers
Group | Role
Gas Strategy Group | Sign-off recommendations from working groups at stage gates Resolve any issues escalated by working groups
Working Groups | Review and approve framework for deciding between options Review options and assess / score against decision making framework Provide recommendations to GSG on shortlist / final delivery model based on options assessment
Programme Manager | Prepare workpapers and decision papers for network working groups, and summary versions for GSG Coordinate process for determining delivery principles, and design framework for assessing options Secretariat / PMO support for overall programme
Government & Ofgem | Provide overall policy direction, including views on acceptability of decision making principles, framework, and emerging positions
Industry / SMEs | Provide evidence / input into workpapers for options analysis Consult on viability / acceptability of emerging positions
Stage gate approvals and escalated issues
Recommendations and escalations
Evidence gathering
SMEs
Key stakeholder roles and responsibilities

## Slide 12: Blending Delivery Model process and governance
Develop Blending Design Principles
Description
Stage
Output
Q1 2024
Delivery Model Recommendation
Q2 – Q3 24
Finalisation of Delivery Model
Q3 – Q4 24
Implementation
2025 onwards
Following a final policy decision, Gas Networks work with Ofgem to develop ‘Blending Delivery Principles’
Draft workgroup's ToR, governance and approvals process for determining final Blending Model:
Workgroups established and delivery body initiates PMO structures and regular meetings rhythm
Workgroups produce recommendations for final Delivery Model guided by Blending Design Principles:
Engagement on emerging positions throughout with Ofgem and industry (e:g: 0849R working group):
Develop operational readiness action plan based on HyDeploy evidence:
Formal industry consultation on the Final Blending Model design published by Ofgem
Refinement of proposals and final Blending Delivery Model
Restart UNC Working Group (0849R) to propose modification for UNC, GS(M)R + Network License changes:
Initiate operational readiness action plan incl submission of updated Safety Cases:
Blending Delivery Principles + governance outline
Ofgem to sign-off on delivery principles and appoint delivery body
Recommendation on Blending Delivery Model + Operational Action Plan
Ofgem to give initial view on acceptability
Finalised Delivery Model and suite of license/code changes
Amendments to GS(M)R, Licenses, and UNC, and delivery of operational action plan
Ofgem sign-off on final delivery model, for translation into Licenses, UNC, and delivery
Translation of Delivery Model into appropriate legal language for industry licenses and codes
Formal Ofgem approval in line with UNC ‘authority direction’ change procedures

## Slide 13: Questions That We Are Seeking Views On
Phase 2A of the project is yet to commence as final commercial sign off is currently being progressed, therefore any proposals are not yet final. However we are seeking to gain feedback from industry so that considerations can then be reviewed before a final proposal and ToR is completed in preparation for Phase 2A to start.
1. What overarching principles would you recommend that the project team consider when reaching agreement with DESNEZ/Ofgem on the key ‘blending delivery principles’?
2. What are the design principle(s) that your constituency (e.g. shipper, DNO, transmission, producer, IGT) believes should be prioritised when assessing and recommending options for market framework changes?
3. The 0849R workgroup will continue to provide an essential stakeholder engagement link between the project and wider industry. To ensure that the future blending implementation modifications that reach the UNC are effective and well-considered:
a. How would you like 0849R to be used as link between the Phase 2A project and the UNC governance process (e.g. frequency, content etc.), and,
b. What are your views on other industry constituencies (e.g. shippers, producers, interconnectors etc.) having a greater role in the project above and beyond providing views through 0849R?

## Slide 14: Phase-2 working groups structure
Working Group | Scope | Example range of options | 
 |  | Least Change | Optimisation
Capacity, Connection and Charging | Connection offers – a ‘free market’ approach whilst optimising system flows Capacity Allocation process – shippers obtaining capacity to inject hydrogen-blends Network charging – new charge required for transportation of hydrogen-blended gas? | Mirror biomethane model for connections and capacity allocation Minimal changes required with Entry Points and connection offers made on first-come, first-served basis Additional ‘blending transportation charge’ may be required | Bespoke connections and capacity allocation processes for hydrogen injection points Optimise blending flows to reduce curtailment risk and prioritise larger hydrogen plants Additional ‘blending transportation charge’ Charges related to new hydrogen connections and capacity
Trading and Balancing | Nominations process - how hydrogen-blended gas reaches the system Curtailment of hydrogen-blended nominated gas due to gas quality (a ‘no fault’ curtailment) | Minimal changes to ‘Input Nominations’ with NGT responsible for accepting or rejecting No special protection for hydrogen gas shippers from curtailment risk | Bespoke nominations process for H2-blended gas with accommodations for gas quality and hydrogen capacity Potential new charging arrangement in the event of a ‘no fault curtailment’
Measurement, Monitoring and System Operations | System entry conditions – changes to account for gas properties Measurement – hydrogen injection facilities’ measurement procedures Curtailment rights – physical movement of hydrogen-blended gas | No changes to system boundary definitions and additional monitoring only at new hydrogen entry points Exemptions-based approach | No change to system boundary definitions Expanded definition of ‘Commingling facilities’ to enable these at LDZ Additional monitoring infrastructure to improve gas quality forecasts
Communications and Coordination | Information flows from NTS to LDZ in relation to hydrogen-blended gas | Data on hydrogen content of gas to be recorded and shared at NTS-LDZ offtakes | Enhanced communication between control centres to allow optimisation of connections and capacity offers

## Slide 15: 0849R Interim Report
Development of workgroup report
Notes: Highlight actions with an update/ require discussion
Run through all issues

## Slide 16: Thank you

## Slide 17: Appendices

## Slide 18: Assumptions and Parameters
There are still some unknown certainties for hydrogen blending which will be answered through separate pieces of work, therefore, to ensure deliverability of this project, a number of assumptions have been defined:
As the Government are currently set to make a decision in principle for blending into the Distribution Networks by the end of 2023, with a decision for Transmission likely to follow, we assume that changes to GS(M)R for Dx may be implemented before Tx. Having different GS(M)R specifications across networks will therefore need to be considered within this Review Group.
Exemptions to GS(M)R may also be applied on a individual project basis prior to any increase in hydrogen content within the provisions.
Both In-network (commingling facility owned by Gas Transporter) and pre-blend (commingling facility owned by Delivery Facility Operator) connections will be considered within this work.
Hydrogen will be available to blend.
Blending hydrogen onto gas networks may be used for the role of “reserve offtaker”; therefore variability in hydrogen volumes to be injected needs to be considered.
This project will consider onshore networks regulatory frameworks as well as Interconnectors, however we assume that there won’t be any direct changes to EID section of UNC as it’s currently set out.
Other projects will also be concluding on framework principles (e.g. the “Functional Specification project”).
Assume all existing market players and their roles will be included in blending development.
All GB Industrial, Commercial and Domestic users will be assumed to be customers of Hydrogen blend as well as Independent Gas Transporters.
This project is just considering the commercial amendments required, not physical arrangements.
We assume within the project that low levels of blending (C.5%) won’t impact physical capability of the networks (due to higher volumes vs energy).

## Slide 19: Assumptions and Parameters
The aim of this project is to enable the first roll out of hydrogen blend injections in a timely and efficient manner whereby no amendments to Primary legislation (Gas Act 1986) and Secondary legislation (GCOTER) is required. To achieve this, the below parameters for the first phase of blend connections have been suggested:
Within this report we assume that GS(M)R will be updated following a HSE safety review in order to accept volumes of up to 20% hydrogen into the networks.
This project aspires to implement H2 blending by 2026 with least change to existing market framework as possible, it therefore assumes that A CV target will be calculated by the DNO based on a forecast FWACV for the Gas Day and will require to be met at the natural gas/hydrogen gas blend point. The following parameters (a) not exceeding the proposed 20% volume cap in the Transporter’s pipe(s) (b) the available volume of natural gas in the pipe at the hydrogen connection point to blend hydrogen with and (c) the CV of the natural gas to be blended with, will influence the prevailing rate of injection of 100% hydrogen by the hydrogen producer across the gas day. These parameters will ensure compliance with GS(M)R (20% volume parameter) and provide data to mitigate against CV capping (natural gas CV and natural gas flow rate).
A final blending delivery model will need to be agreed before all required changes to UNC and Licence can be concluded. Industry input and engagement on the development of this model will be completed through 0849R.
Do we agree with these assumptions and parameters?
Are there any additional considerations?

## Slide 20: EU Policy
Topic | Articles | Summary | New? | Notes
Gas Quality | Reg - Recital | Adjacent TSOs should remain free to agree on higher or lower hydrogen blending levels at IPs | New | Interpreted as higher or lower than 2%
Gas Quality | Reg - Article 19 - Cross-border coordination of gas quality in the natural gas system | Procedure for solving CB issues related to GQ differences. For blends, the article applies only if H2 <2%. TSOs shall accept blends after the completion of the procedure in Art19. NRAs may jointly decide to maintain the restriction. This decision shall be reviewed every 4 years. | New in the Regulation | Art 19 does not apply to third countries. Before, this obligation was in the INT NC (Art 15). Art 15 can be amended during the INT NC revision to include details from Art. 19 No procedure for H2 > 2%
Gas Quality | Reg - Article 23 - Tasks of the ENTSO for Gas | Gas quality monitoring report by 1st January 2025 on: - new developments on GQ and their forecasts - examples of cases related to GQ differences | New | GQ info from third country may be needed
Gas Quality | Reg - Annex I - GUIDELINES ON TRANSPARENCY | Publication of specification of GQ parameters. At least: GCV, WI and O2 content, and the liability or costs of conversion for network users in case gas is outside these specifications Publish measured values of GCV, WI, H2 blended, methane content and O2 at all relevant points, on a daily basis | Not new, but parameters were added | 

## Slide 21: EU Policy
Flexibility for EU-UK interco ?
Article 52 Regulation indicates that NC and guidelines apply to entry points from and exit points to third countries from 24 months from the date of entry into force of this Regulation.
Article 79 Directive states that EU TSO and third countries TSO are free to conclude technical agreement on issues concerning the operation of interconnectors pipelines, insofar as those agreements are compatible with Union law and relevant decisions of the regulatory authorities of the Member States concerned.
Article 82 Directive outlines the procedure to follow in order to amend, extend, adapt, renew or conclude an agreement on the operation of a transmission line with a third country
The Gas Package requires final approval from the EU Parliament and Commission therefore the regulations will likely be enforced prior to the elections in April/ May this year (National Gas Transmission will continue to monitor this and update accordingly.)
EU Network codes and guidelines should be applied to entry points from and exit points to third countries 24 months after enforcement of the Gas Package. Where divergence is unavoidable, the UK can choose to raise a derogation however this must be raised within 18 months of the Gas Package enforcement. It is not clear yet whether this 18-month window for derogations will be extended for scenarios where the EU network codes/ guidelines are updated after the original enforcement date.